# RFP 6161 Z1

# COST PROPOSAL – TABLE 1

# Deliverables

# CORE TEST ANALYTES

Bidder’s Company Name: __________________________

For each analyte/method listed, the bidder must complete the following columns: Contractors Report Level, Contractors Method Used, Contractor Routine Turnaround Time, Cost per Analyte (EA), and any applicable comments.  Costs quoted shall be firm and fixed, throughout the life of the initial contract term.

**Bidder must complete all fields in Table 1 and submit with the proposal response. Failure to submit a completed Table 1 will result in a rejection of the bidder’s proposal response. Must use an EPA drinking water approved methodology **

Table 1 values are the methods and RLs currently being used. The State will consider EPA-approved alternatives for all tests in Table 1 EXCEPT the bromate method and RL of 1.0 ug/L.

| Analyte | Estimated Annual Usages | DHHS NPHEL Report Level | Contractor Report Level | Method | Contractor Method used | Holding Time | Turn Around | Contractor Routine Turn-around Time | Cost per Analyte (EA) | Contractor or Subcontractor performs test | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Asbestos | 60 | 0.20MFL Required |  | EPA 100.2 |  | 48hr to filtration | 4 weeks |  |  |  |  |
| Bromate | 10 | 1 ug/L Required |  | EPA 317.0 Required |  | 28 days | 2 weeks |  |  |  |  |
| Chlorite | 25 | 10 ug/L |  | EPA 300.0, Rev2.1 |  | 14 days | 10 days |  |  |  |  |
| Dioxin | 40 | 5 pg/L |  | EPA 1613 |  |  | 3 weeks |  |  |  |  |
| TOC | 170 | 0.5 mg/L |  | SM5310-B |  | 28 days | 14 days |  |  |  |  |
| Gross Alpha | 200 | MDC pC/L |  | EPA 900.0 |  | 6 months | 6 weeks |  |  |  |  |
| Radium-226 | 150 | MDC pC/L |  | EPA 903.1 |  | 6 months | 6 weeks |  |  |  |  |
| Radium-228 | 150 | MDC pC/L |  | EPA 904.0 |  | 6 months | 6 weeks |  |  |  |  |
| Uranium Isotopic | 60 | 1.0 pC/L |  | HASL 300 U02 |  | 6 months | 6 weeks |  |  |  |  |
| Endothall | 40 | 9 ug/L |  | 548.1 Rev1.0 |  | 7d collect to extract;14d extract to analysis | 6 weeks |  |  |  |  |

All Isotopic Uranium results must include the total combined uranium activity in pCi/L from the individual uranium isotopes (U-234, U-235, U-238), U-234 and U-238 activities as well as U-234/U238 ratio must be reported so that a unique activity to mass conversion factor can be used to calculate uranium mass concentration in ug/L.  All uranium data must include precision data (e.g. 2 sigma statistic).

Water Quality Tests for a New Well are:  Gross Alpha, Radium-226, Radium-228, Isotopic Uranium, Asbestos, Endothall, Dioxin and TOC on each sample

Estimate 25 New Wells per year.

Total numbers of samples of each method is impossible to predict.  The DHHS NPHEL does most of the routine testing.

The contracted laboratory would provide backup on all routine compliance monitoring and special requests by clients.