# RFP 6161 Z1

# COST PROPOSAL REVISION 1– TABLE 2

# Deliverables

# ADDITIONAL TEST ANALYTES

Bidder’s Company Name: __________________________

For each analyte/method listed the bidder must complete the following columns: Contractors Report Level, Contractors Method Used, Contractor Routine Turnaround Time, Cost per Analyte (EA), and any applicable comments.  Costs quoted shall be firm and fixed, throughout the life of the initial contract term.

**Bidder must complete all fields in Table 2 and submit with the proposal response. Failure to submit a completed Table 2 will result in a rejection of the bidder’s proposal response. Must use an EPA approved methodology **

| Analyte | DHHS NPHEL Report Level | Contractor Report Level | Method | Contractor Method used | Holding Time | Turn Around | Contractor Routine Turnaround Time | Lab Fee | Contractor or Subcontractor performs test | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Alkalinity as CaCO3 | 20 mg/L |  | SM 2320B |  | 14 days | 7 days |  |  |  |  |
| Ammonia (by distillation) | 0.05 mg/L |  | EPA 350.1 Rev2.0 |  | 28 days | 10 days |  |  |  |  |
| Ammonia (by diffusion) | 0.05 mg/L |  | EPA 350.1 Rev2.0 |  | 28 days | 10 days |  |  |  |  |
| Antimony | 0.5 ug/L |  | EPA 200.8 Rev5.4 |  | 6 months | 20 days |  |  |  |  |
| Arsenic | 1 ug/L |  | EPA 200.8 Rev5.4 |  | 6 months | 20 days |  |  |  |  |
| Barium | 0.5 ug/L |  | EPA 200.8 Rev5.4 |  | 6 months | 20 days |  |  |  |  |
| Beryllium | 0.5 ug/L |  | EPA 200.8 Rev5.4 |  | 6 months | 20 days |  |  |  |  |
| Bicarbonate/Carbonate | 5 mg/L |  | SM2320B |  | 14 days | 20 days |  |  |  |  |
| Bismuth | 0.1 mg/L |  | EPA 200.8 Rev5.4 |  | 6 months | 20 days |  |  |  |  |
| BOD/CBOD | 2 mg/L |  | EPA 405.1/SM 5210-B |  | 48 hours | 10 days |  |  |  |  |
| Boron | 0.1 mg/L |  | EPA 200.7 |  |  |  |  |  |  |  |
| Bromide |  |  | EPA 300.1 |  |  | 2 weeks |  |  |  |  |
| Analyte | DHHS NPHEL Report Level | Lab Report Level | Method | Method used | Holding Time | Turn Around | Lab Routine Turnaround Time | Lab Fee | Contractor or Subcontractor performs test | Comments |
| Cadmium | 0.5 ug/L |  | EPA 200.8 Rev5.4 |  | 6 months | 20 days |  |  |  |  |
| Calcium | 0.15 mg/L |  | SM 3111B |  | 6 months | 20 days |  |  |  |  |
| Chloride | 1 mg/L |  | SM 4500-CI-E |  | 28 days | 10 days |  |  |  |  |
| Chromium | 0.5 ug/L |  | EPA 200.8 Rev5.4 |  | 6 months | 20 days |  |  |  |  |
| Cobalt | 0.5 ug/L |  | EPA 200.8 Rev5.4 |  | 6 months | 20 days |  |  |  |  |
| COD | 12 mg/L |  | SM 410.4/Hach 8000 |  | 28 days | 10 days |  |  |  |  |
| Conductivity | 0.1 umho/cm |  | SM 2510B |  | 28 days | 7 days |  |  |  |  |
| Copper | 2.5 ug/L |  | EPA 200.8 Rev5.4 |  | 6 months | 20 days |  |  |  |  |
| Cryptosporidium/Giardia |  |  | EPA1623 or 1623.1 |  | 96 hours | 7 days |  |  |  |  |
| Cyanide, Free | 0.05 mg/L |  | SM 4500CN-F |  | 14 days | 10 days |  |  |  |  |
| Cyanide, Total | 0.01 mg/L |  | SM 4500CN-E |  | 14 days | 10 days |  |  |  |  |
| Fluoride | 0.20 mg/L |  | SM 4500F-C |  | 28 days | 7 days |  |  |  |  |
| Iron, Drinking Water | 50 ug/L |  | SM 3111B |  | 6 months | 20 days |  |  |  |  |
| Lead | 0.5 ug/L |  | EPA 200.8 Rev5.4 |  | 6 months | 20 days |  |  |  |  |
| Magnesium | 0.15 mg/L |  | SM 3111B |  | 6 months | 20 days |  |  |  |  |
| Manganese | 0.5 ug/L |  | EPA 200.8 Rev5.4 |  | 6 months | 20 days |  |  |  |  |
| Mercury, Drinking & Environmental Water | 0.2 ug/L |  | EPA 245.1 Rev3.0; SM 3112B |  | 28 days | 20 days |  |  |  |  |
| Microscopic Particulate Analysis |  |  |  |  | 96 hours | 3 weeks |  |  |  |  |
| Microwave Digestion for Metals | NA |  | SM 3015 |  | 6 months | NA |  |  |  |  |
| Molybdenum | 0.5 ug/L |  | EPA 200.8 Rev5.4 |  | 6 months | 20 days |  |  |  |  |
| Nickel | 0.5 ug/L |  | EPA 200.8 Rev5.4 |  | 6 months | 20 days |  |  |  |  |
| Nitrate/Nitrite | 0.05 mg/L |  | EPA 353.2 Rev2.0 |  | 28 days | 5 days |  |  |  |  |
| pH | NA |  | EPA 150.1 |  | 0.25 hours | 5 days |  |  |  |  |
| Analyte | DHHS NPHEL Report Level | Lab Report Level | Method | Method used | Holding Time | Turn Around | Lab Routine Turnaround Time | Lab Fee | Contractor or Subcontractor performs test | Comments |
| Phosphate-Ortho, as P | 0.02 mg/L |  | EPA 365.1 Rev1.0 |  | 48 hours | 7 days |  |  |  |  |
| Nitrogen-Nitrite | 0.1 mg/L |  | EPA 353.2 Rev2.0 |  | 48 hours | 5 days |  |  |  |  |
| Phosphorus-Total | 0.04 mg/L |  | EPA 365.4 |  | 28 days | 20 days |  |  |  |  |
| Potassium | 0.30 mg/L |  | SM 3111B |  | 6 months | 20 days |  |  |  |  |
| Salinity | 0.1 |  | SM 2520B |  | 28 days | 7 days |  |  |  |  |
| Sample Filtration | NA |  | NA |  | NA | NA |  |  |  |  |
| Selenium | 2.5 ug/L |  | EPA 200.8 Rev5.4 |  | 6 months | 20 days |  |  |  |  |
| Silica | 0.1 mg/L |  | EPA 200.7 |  | 180 days | 10 days |  |  |  |  |
| Silicon | 0.05 mg/L |  | EPA 200.7 |  | 180 days | 10 days |  |  |  |  |
| Silver | 0.5 ug/L |  | EPA 200.8 Rev5.4 |  | 6 months | 20 days |  |  |  |  |
| Sodium | 0.15mg/L |  | SM 3111B |  | 6 months | 20 days |  |  |  |  |
| Strontium | 1 ug/L |  | EPA 200.8 Rev5.4 |  | 6 months | 20 days |  |  |  |  |
| Sulfate | 10 mg/L |  | SM4500 SO4-E |  | 28 days | 7 days |  |  |  |  |
| Sulfide | 0.5 mg/L |  | A4500-S F |  | 7 days | 7 days |  |  |  |  |
| Sulfur, Total | 0.1 mg/L |  | SW6010B |  | 6 months | 14 days |  |  |  |  |
| Surfactants | 1 mg/L |  | A5540C |  | 48 hours | 7 days |  |  |  |  |
| Suspended Sediment Concentration | 5 mg/L |  | ASTM D3977-97 |  | 14 days | 14 days |  |  |  |  |
| Thallium | 0.5 ug/L |  | EPA 200.8 Rev5.4 |  | 6 months | 20 days |  |  |  |  |
| Thorium, Isotopic | 2 pCi/L |  | EPA 907.0 |  | 6 months |  |  |  |  |  |
| Titanium | 0.1 mg/L |  | EPA 200.8 Rev5.4 |  | 6 months | 20 days |  |  |  |  |
| Total Dissolved Solids | 10 mg/L |  | SM 2540C |  | 7 days | 7 days |  |  |  |  |
| Total Hardness | 4 mg/L |  | SM 2340C |  | 6 months | 7 days |  |  |  |  |
| Turbidity | 0.1 NTU |  | EPA 180.1 Rev2.0 |  | 48 hours | NA |  |  |  |  |
| Uranium (Mass) | 0.5 ug/L |  | EPA 200.8 Rev5.4 |  | 6 months | 20 days |  |  |  |  |
| Analyte | DHHS NPHEL Report Level | Lab Report Level | Method | Method used | Holding Time | Turn Around | Lab Routine Turnaround Time | Lab Fee | Contractor or Subcontractor performs test | Comments |
| Vanadium | 0.5 ug/L |  | EPA 200.8 Rev5.4 |  | 6 months | 20 days |  |  |  |  |
| Total Kjeldahl Nitrogen | 0.50 mg/L |  | EPA 351.2 Rev2.0 |  | 28 days | 10 days |  |  |  |  |
| Total Suspended Solids | 5 mg/L |  | EPA 160.2 |  | 7 days | 7 days |  |  |  |  |
| Zinc | 2.5 ug/L |  | EPA 200.8 Rev5.4 |  | 6 months | 20 days |  |  |  |  |
| Radon in Water | 15 pC/L |  | SM 7500-RN |  | 3 days | 6 weeks |  |  |  |  |
| 1,2 Dibromoethane (EDB) | 0.01 ug/L |  | EPA 504.1 Rev1.1 |  | 14 days from collection to extraction, 24 hours extraction to analysis | 14 days |  |  |  |  |
| 1,2 Dibromo-3-Chloropropane (DBCP) | 0.01 ug/L |  |  |  |  |  |  |  |  |  |
| PCB-1016 Aroclor | 0.1 ug/L |  | EPA 505 Rev2.1 |  | 14 days from collection to extraction, 24 hours extraction to analysis | 3 weeks |  |  |  |  |
| PCB-1221 Aroclor | 2 ug/L |  |  |  |  |  |  |  |  |  |
| PCB-1232 Aroclor | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| PCB-1242 Aroclor | 0.3 ug/L |  |  |  |  |  |  |  |  |  |
| PCB-1248 Aroclor | 0.2 ug/L |  |  |  |  |  |  |  |  |  |
| PCB-1254 Aroclor | 0.1 ug/L |  |  |  |  |  |  |  |  |  |
| PCB-1260 Aroclor | 0.2 ug/L |  |  |  |  |  |  |  |  |  |
| Toxaphene | 1 ug/L |  |  |  |  |  |  |  |  |  |
| Analyte | DHHS NPHEL Report Level | Lab Report Level | Method | Method used | Holding Time | Turn Around | Lab Routine Turnaround Time | Lab Fee | Contractor or Subcontractor performs test | Comments |
| 2,4-D | 1 ug/L |  | EPA 515.3 Rev1.0 |  | 14 days from collection to extraction, 14 days extraction to analysis | 20 days |  |  |  |  |
| 2,4,5-TP (Silvex) | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Dalapon | 1 ug/L |  |  |  |  |  |  |  |  |  |
| Dicamba | 1 ug/L |  |  |  |  |  |  |  |  |  |
| Dinoseb | 2 ug/L |  |  |  |  |  |  |  |  |  |
| Pentachlorophenol | 0.2 ug/L |  |  |  |  |  |  |  |  |  |
| Picloram | 3 ug/L |  |  |  |  |  |  |  |  |  |
| Bromodichloromethane | 0.5 ug/L |  | EPA 524.2 Rev4.1 (RL of 0.5 ug/L required for all analytes) |  | 14 days | 10 days |  |  |  |  |
| Bromoform | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Chloroform | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Dibromochloromethane | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| 1,1,1,2-Tetrachloroethane | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| 1,1,1-Trichloroethane | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| 1,1,2,2-Tetrachloroethane | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| 1,1,2-Trichloroethane | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| 1,1-Dichloroethane | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| 1,1-Dichloroethene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| 1,1-Dichloropropene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| 1,2,3-Trichloropropane | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Analyte | DHHS NPHEL Report Level | Lab Report Level | Method | Method used | Holding Time | Turn Around | Lab Routine Turnaround Time | Lab Fee | Contractor or Subcontractor performs test | Comments |
| 1,2,4-Trichlorobenzene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| 1,2,4-Trimethylbenzene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| 1,2,3-Trichlorobenzene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| 1,2-Dibromo-3- Chloropropane (DBCP) | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| 1,2-Dibromoethane | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| 1,2-Dichlorobenzene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| 1,2-Dichloroethane | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| 1,2-Dichloropropane | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| 1,3-Dichloropropane | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| 1,3,5-Trimethylbenzene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| 1,3-Dichlorobenzene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| 1,4-Dichlorobenzene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| 2,2-dichloropropane | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| 2-Chlorotoluene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| 4-Chlorotoluene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Benzene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Bromobenzene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Bromochloromethane | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Bromodichloromethane | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Bromomethane | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Carbon Tetrachloride | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Chlorobenzene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Chloroethane | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Chloromethane | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Cis-1,2-dichloroethene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Analyte | DHHS NPHEL Report Level | Lab Report Level | Method | Method used | Holding Time | Turn Around | Lab Routine Turnaround Time | Lab Fee | Contractor or Subcontractor performs test | Comments |
| Cis-1,3-dichloropropene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Dibromoethane | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Dichlorodifluromethane | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Dichloromethane | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Ethylbenzene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Hexachlorobutadiene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Isopropylbenzene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| M,P-Xylenes | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Methyl-T-butyl ether (MTBE) | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Napththalene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| n-Butylbenzene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| n-Propylbenzene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| O-Xylene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Pisopropyltoluene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Sec-butylbenzene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Styrene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Tert-butylbenzene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Tetrachloroethene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Toluene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Trans-1,2-dichloroethene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Trans-1,3-dichloropropene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Trichloroethene | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Trichlorofluromethane | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Vinyl Chloride | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Analyte | DHHS NPHEL Report Level | Lab Report Level | Method | Method used | Holding Time | Turn Around | Lab Routine Turnaround Time | Lab Fee | Contractor or Subcontractor performs test | Comments |
| Alachlor | 0.1 ug/L |  | EPA 525.2 Rev2.0 |  | 14 days to extraction, 30 days extraction to analysis | 14 days |  |  |  |  |
| Aldrin | 0.1 ug/L |  |  |  |  |  |  |  |  |  |
| Atrazine | 0.08 ug/L |  |  |  |  |  |  |  |  |  |
| Benzo(a)pyrene | 0.06 ug/L |  |  |  |  |  |  |  |  |  |
| Butachlor | 0.1 ug/L |  |  |  |  |  |  |  |  |  |
| Butylate | 0.1 ug/L |  |  |  |  |  |  |  |  |  |
| Chlorpynifos | 0.1 ug/L |  |  |  |  |  |  |  |  |  |
| Cyanazine | 0.15 ug/L |  |  |  |  |  |  |  |  |  |
| Di(2-ethylheyxl)phthalate | 2 ug/L |  |  |  |  |  |  |  |  |  |
| Di(2-ethylhexyl adipate | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Dieldrin | 0.1 ug/L |  |  |  |  |  |  |  |  |  |
| Endrin | 0.1 ug/L |  |  |  |  |  |  |  |  |  |
| Fonofos | 0.1 ug/L |  |  |  |  |  |  |  |  |  |
| Heptachlor | 0.08 ug/L |  |  |  |  |  |  |  |  |  |
| Heptachlor Epoxide | 0.04 ug/L |  |  |  |  |  |  |  |  |  |
| Hexachlorobenzene | 0.1 ug/L |  |  |  |  |  |  |  |  |  |
| Hexachlorocyclopentadiene | 0.1 ug/L |  |  |  |  |  |  |  |  |  |
| Lindane | 0.04 ug/L |  |  |  |  |  |  |  |  |  |
| Methoxychlor | 0.1 ug/L |  |  |  |  |  |  |  |  |  |
| Metolachlor | 0.1 ug/L |  |  |  |  |  |  |  |  |  |
| Metribuzin | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Propachlor | 0.1 ug/L |  |  |  |  |  |  |  |  |  |
| Simazine | 0.1 ug/L |  |  |  |  |  |  |  |  |  |
| Analyte | DHHS NPHEL Report Level | Lab Report Level | Method | Method used | Holding Time | Turn Around | Lab Routine Turnaround Time | Lab Fee | Contractor or Subcontractor performs test | Comments |
| Total Chlordane | 0.3 ug/L |  |  |  |  |  |  |  |  |  |
| Trifluralin | 0.1 ug/L |  |  |  |  |  |  |  |  |  |
| 3-Hydroxy carbofuran | 0.5 ug/L |  | 531.1 Rev3.1 |  | 28 days | 20 days |  |  |  |  |
| Aldicarb | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Aldicarb sulfone | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Aldicarb sulfoxide | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Carbaryl | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Carbofuran | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Methomyl | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Oxamyl | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Glyphosate | 5 ug/L |  | 547 |  | 14 days | 20 days |  |  |  |  |
| Diquat | 1 ug/L |  | 549.2 Rev1.0 |  | 7 days to extract, 21 days to analysis | 20 days |  |  |  |  |
| Paraquat | 1 ug/L |  |  |  |  |  |  |  |  |  |
| BCAA | 1 ug/L |  | 552.2 Rev1.0 |  | 14 days collection to extraction, 7 days extraction to analysis | 20 days |  |  |  |  |
| DBAA | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| DCAA | 1.0 ug/L |  |  |  |  |  |  |  |  |  |
| MBAA | 1.0 ug/L |  |  |  |  |  |  |  |  |  |
| MCAA | 2.0 ug/L |  |  |  |  |  |  |  |  |  |
| TCAA | 0.5 ug/L |  |  |  |  |  |  |  |  |  |
| Perchorate |  |  | EPA 314 |  |  | 2 weeks |  |  |  |  |
| Analyte | DHHS NPHEL Report Level | Lab Report Level | Method | Method used | Holding Time | Turn Around | Lab Routine Turnaround Time | Lab Fee | Contractor or Subcontractor performs test | Comments |
| Oil & Grease Water/Waste Water (HEM & SGT-HEM) | 5 mg/L |  | EPA 1664 |  | 28 days | 4 weeks |  |  |  |  |
| OA-1 Gasoline Range Organics - Water |  |  | OA-1 |  | 14 days | 20 days |  |  |  |  |
| OA-2 Diesel Range Organics - Water |  |  | OA-2 |  | 7 days | 14 days |  |  |  |  |
| Ethylene Glycol | 10 mg/L |  | EPA 8015B |  |  | 14 days | 20 days |  |  |  |
| 8260D Regular List |  |  | EPA 8260D |  |  |  |  |  |  |  |
| 8260D Long List |  |  | EPA 8260D |  |  |  |  |  |  |  |
| EPA 624 |  |  | EPA 624 |  |  |  |  |  |  |  |
| EPA 625 |  |  | EPA 625 |  |  |  |  |  |  |  |

All Isotopic Uranium results must include the total combined uranium activity in pCi/L from the individual uranium isotopes (e.g., U-234, U-235, U-238), U-234 and U-238 activities as well as U-234/U238 ratio need to be reported so that a unique activity to mass conversion factor can be used to calculate uranium mass concentration in ug/L.  All uranium data must include precision data (e.g. 2 sigma statistic).

Water Quality Tests for a New Well are:  Gross Alpha, Radium-226, Radium-228, Isotopic Uranium, Asbestos, Endothall, Dioxin and TOC on each sample

Estimate 25 New Wells per year.

All non-drinking water testing requests would be sent to the contracted laboratory such as EPA 625, RCRA metals, oil and grease, etc.