## CCC-L
CCCL Fire Extinguishers
| Buildings | Type | Size
| Garage East Door | ABC | 10
| Garage North Door | ABC | 10
| A119 west sally port door | ABC | 10
| B 103 in fire box by cm office | ABC | 10
| B107 fire exit door | ABC | 10
| A124 SW Mech Rm | ABC | 10
| C103 in fire box by cm | ABC | 10
| C107 fire exit door | ABC | 10
| D103 in fire box next to CM office | ABC | 10
| D107 fire exit door | ABC | 10
| A129 SE Mech Rom | ABC | 10
| A129 E Mech Room | ABC | 10
| E103 in fire box by cm office | ABC | 10
| E107 fire exit door | ABC | 10
| E101 nrts | ABC | 10
| A149 A staff hall break rm | ABC | 10
| A1 107 W Wing exit to hallway | ABC | 10
| A115 Property storage Rm | ABC | 10
| B123 generator Rm | ABC | 10
| E110 visiting | ABC | 10
| WHU control center desk | ABC | 10
| A100A A unit entrance | ABC | 10
| A100B A unit fire exit | ABC | 10
| B100A B unit entrance | ABC | 10
| B100B B fire exit | ABC | 10
| C100A C unit entrance | ABC | 10
| C100b B unit fire exit | ABC | 10
| C100A C unit entrance | ABC | 10
| C100B C unit fire exit | ABC | 10
| D100A D unit entrance | ABC | 10
| D100B D unit fire exit | ABC | 10
| F128 Kitchen ofc | ABC | 10
| F134 Kitchen ofc | ABC | 10
| F137 Kitchen ofc | K-class | 2.5
| F110A women's dining rm | ABC | 10
| F119A men's dining hall | ABC | 10
| F144A maintenance warehouse | ABC | 10
| F144B Maintenance warehouse | ABC | 10
| F1581A maintenance hallway | ABC | 10
| F152 Maintenance workshop | ABC | 10
| F154A maintenance workshop | ABC | 10
| F156A boiler rm | ABC | 10
| F156B boiler rm | ABC | 10
| Stairwell N mech rm | ABC | 10
| Stairwell S mech rm | ABC | 10
| F154A Spare | ABC | 10
| F154A Spare | ABC | 10
| F154A Spare | ABC | 10
| F154A Spare | ABC | 10
| F154A Spare | ABC | 10
Fire Sprinkler System
| WHU | Wet
| Main BLDG | Dry

## CSI - ADMIN
CSI - ADMIN Fire Extinguishers
| Buildings | Type | Size
| Admin | ABC | 10
| Admin - Office | ABC | 15
| Admin - Office | ABC | 5
| Admin - Office | ABC | 5
| Admin - Office | ABC | 5
| Warehouse- North West loading dock | ABC | 10
| Warehouse - North Garage | ABC | 10
| Warehouse - East door into admin | ABC | 10
| Closed Shed | ABC | 10
| Closed Shed | ABC | 10
| Closed Shed | ABC | 10
| Closed Shed | ABC | 10
| Closed Shed | ABC | 10
| Closed Shed | ABC | 10
| Open Shed | ABC | 10
| Open Shed | ABC | 10
| Forklift | ABC | 5
| Forklift | ABC | 5
| Forklift | ABC | 5
Fire Sprinklers
| All Systems | Wet

## CO
Central Office Fire Extinguishers
| Location | Type | Model
| Directors Conf Rm | ABC | SY1014
| Legal Fire Exit | ABC | SY1014
| Investigators Hallway | ABC | SY1014
| Intel Office | ABC | SY1014
| Conference Rm C | ABC | 10SHISA
| Accounting Entrance | ABC | 5MB6H2002
| Accounting Fire Exit | ABC | 10SHISA
| Acct Mech Room | ABC | 10SHISA
| Purchasing Entrance | ABC | 10MB8H
| Purchasing Fire Exit | ABC | B456
| Health Fire Exit | ABC | 10SHISA
| Health Entrance | ABC | B456
| P. Board Entrance | ABC | A10T
| P. Board Fire Exit | ABC | B456
| Mailroom | ABC | A10T
| HR Sign In Book | ABC | SV0515
| ADA Office | ABC | B456
| IT Entrance | ABC | SY1014
| IT Fire Exit | ABC | A10T
| Engineering Entrance | ABC | A10T
| Eng. Fire Exit | ABC | SY1014
| Clothing Is. Entrance | ABC | 10SHISA
| Records Entrance | ABC | 10MB-8H
| Records Fire Exit | ABC | 10SHISA
| East LL Elevator | ABC | 10SHISA
| East lower hallway | ABC | 10SHISA
| Men's RR LL | ABC | 10SHISA
| West LL Hallway | ABC | AA10S
| Maintenance Entr. | ABC | 10SHISA
| Maint Fire Exit | ABC | 10SHISA
| Maint Elevator | ABC | 10MP
| Breakroom Entrance | ABC | 10MB-8H
| Breakroom Fire Exit | ABC | 5MB6H2002
|  | ABC | 10SHISA
|  | ABC | 10SHISA
|  | ABC | 10SHISA
|  | ABC | 10MB8H
|  | ABC | 10SHISA
| STA100 | ABC | A10T
CO Fire Sprinklers
| All Systems | Wet

## NSP
NSP Fire Extinguishers
| Buildings | Type | Size
| EXTERNAL SHOPS UNIT CUSTODY OFFICE | Buckeye | 10
| EXTERNAL SHOPS UNIT CUSTODY OFFICE | Buckeye | 10
| EXTERNAL SHOPS UNIT CUSTODY OFFICE | Buckeye | 10
| EXTERNAL SHOPS UNIT CUSTODY OFFICE | Amerex | 10
| EXTERNAL SHOPS UNIT TUNNEL | Amerex | 10
| INTERNAL CANTEEN BACK DOOR | Amerex | 10
| INTERNAL CANTEEN FRONT DOOR | Amerex | 10
| TEK SOUTH EXIT | Amerex | 10
| TEK WEST OF OFFICER DESK | Amerex | 10
| TEK WEST END OF BUILDING | Amerex | 10
| TEK WEST END OF BUILDING | Amerex | 10
| TEK EAST EXIT | Buckeye | 10
| BRAILLE GRAVEL PLY AREA | Amerex | 10
| BRAILLE GRAVEL PLY AREA | Buckeye | 10
| BRAILLE EAST WALL | Amerex | 10
| BRAILLE SOUTH WALL | Buckeye | 10
| DINING HALL DINING AREA | Badger | 10
| TEK 2 NORTH EXIT | Buckeye | 10
| TEK 2 MECHANICAL ROOM | Amerex | 10
| TEK 2 SOUTH EXIT | Amerex | 10
| PRODUCTION OFFICE BY FRIDGE | Amerex | 10
| PRODUCTION OFFICE MANAGER'S OFFICE | Buckeye | 10
| METAL SHOP SOUTHEAST CORNER | Amerex | 10
| METAL SHOP WELDING AREA | Buckeye | 10
| METAL SHOP POLISHING AREA | Buckeye | 10
| METAL SHOP INV. CLERK AREA | Amerex | 10
| METAL SHOP CENTER PILLAR EAST SPRAY | Badger | 10
| METAL SHOP SIGN AREA | Buckeye | 10
| METAL SHOP WEST PILLAR SPRAY AREA | Buckeye | 10
| METAL SHOP WEST CENTER PILLAR | Amerex | 10
| PLATE NORTHEAST CORNER | Buckeye | 10
| PLATE TEK II ENTRANCE | Amerex | 10
| PLATE BRAILLE ENTRANCE | Amerex | 10
| PLATE EAST PILLAR | Buckeye | 10
| PLATE EAST CENTER PILLAR | Amerex | 10
| PLATE SUPERVISOR OFFICE | Amerex | 10
| SIGN SHOP GRAPHICS ROOM E.W. | Amerex | 10
| SIGN SHOP SIGN PREP AREA N.W | Amerex | 10
| SIGN SHOP STAFF RESTROOM AREA | Buckeye | 10
| WOOD SHOP TOOL ROOM | Amerex | 10
| WOOD SHOP CENTER PILLAR WEST | Amerex | 10
| WOOD SHOP CENTER PILLAR EAST | Buckeye | 10
| WOOD SHOP EAST EXIT | Buckeye | 10
| WOOD SHOP EAST CENTER PILLAR | Amerex | 10
| UPHOLSTERY SHOP CENTER PILLAR EAST | Buckeye | 10
| UPHOLSTERY SHOP OUTSIDE SUP. OFFICE | Buckeye | 10
| UPHOLSTERY SHOP SPRAY ROOM EXIT | Buckeye | 10
| UPHOLSTERY SHOP SPRAY ROOM ENT. | Amerex | 10
| UPHOLSTERY SHOP PASSENGER DOOR | Amerex | 10
| UPHOLSTERY SHOP CHEMICAL ROOM | Amerex | 10
| UPHOLSTERY SHOP OFFICE | Amerex | 10
10
| LAUNDRY EAST ENTRANCE DOOR | Amerex | 10
| LAUNDRY DOCK DOUBLE DOORS | Amerex | 10
| LAUNDRY FIRE EXIT STAIRS | Amerex | 10
| LAUNDRY DRYERS | Amerex | 10
| LAUNDRY BASEMENT NORTH EXIT | Buckeye | 10
| LAUNDRY BOTTOM OF STAIRWELL | Amerex | 10
| LAUNDRY HOBBY NORTH EXIT | Amerex | 10
| LAUNDRY MECHANICAL ROOM | Amerex | 10
| LAUNDRY STAFF OFFICE | Amerex | 10
| PROPERTY FRONT DOOR | Amerex | 10
| PROPERTY STORAGE AREA | Buckeye | 10
| HU #9 COMMS ROOM | Amerex | 10
| HU #9 CONTROL CENTER | Amerex | 10
| HU #9 CONTROL CENTER | Amerex | 10
| HU #9 SW MECHANICAL ROOM | Amerex | 10
| HU #9 W. MOP CLOSET | Amerex | 10
| HU #9 NW MECHANICAL ROOM | Amerex | 10
| HU #9 CM OFFICE | Amerex | 10
| HU #9 UM OFFICE | Amerex | 10
| HU #9 SE MECHANICAL ROOM | Amerex | 10
| HU #9 NE MECHANICAL ROOM | Amerex | 10
| HU #9 NE MOP CLOSET | Amerex | 10
| HU #8 CONTROL CENTER | Amerex | 10
| HU #8 CONTROL CENTER | Amerex | 10
| HU #8 CONTROL CENTER | Amerex | 10
| HU #7 & #8 MECHANICAL ROOM | Buckeye | 10
| HU #7 CONTROL CENTER | Amerex | 10
| HU #7 CONTROL CENTER | Amerex | 10
| HU #7 CONTROL CENTER | Amerex | 10
| RTC CANTEEN FRONT DOOR | Buckeye | 10
| RTC CUSTODY KEY BOX | Buckeye | 10
| RTC CUSTODY KEY BOX | Amerex | 10
| RTC CUSTODY KEY BOX | Amerex | 10
| RTC CUSTODY KEY BOX | Amerex | 10
| B BAY CASE MGR OFFICE | Amerex | 10
| C BAY CASE MGR OFFICE | Amerex | 10
| RTC KITCHEN TRAY ROOM | Badger | K- Class 6L
| RTC ADM AREA CENTER PILLAR | Buckeye | 10
| RTC BASEMENT MECHANICAL ROOM | Buckeye | 10
| FTO ENTRANCE | Buckeye | 10
| MENTAL HEALTH HALLWAY | Buckeye | 10
| MENTAL HEALTH HALLWAY | Buckeye | 10
| MENTAL HEALTH MECHANICAL ROOM | Buckeye | 10
| SOAP FACTORY MIDDLE FLOOR WEST | Amerex | 10
| SOAP FACTORY MIDDLE FLOOR CENTER | Buckeye | 10
| SOAP FACTORY UPSTAIRS CENTER | Amerex | 10
| SOAP FACTORY UPSTAIRS CENTER | Amerex | 10
| SOAP FACTORY BASEMENT | Buckeye | 10
| RECYCLING NORTH ENTRANCE | Buckeye | 10
| RECYCLING SOUTH ENTRANCE | Amerex | 10
| PFA SHOP CENTER PILLAR | Amerex | 10
| KENNELS ENTRANCE DOOR | Amerex | 10
| INTERNAL BARBERSHOP ENTRANCE DOOR | Badger | 10
| LIBRARY Post South of Entrance | Amerex | 10
| LIBRARY Post South of Entrance | Buckeye | 10
| SCHOOL BACK FIRE DOOR | Buckeye | 10
| SCHOOL FRONT ENTRANCE | Amerex | 10
| HU #5 CONTROL CENTER | Buckeye | 10
| HU #5 CONTROL CENTER | Amerex | 10
| HU #5 MECHANICAL ROOM | Buckeye | 10
| HU #5 UNIT MANAGERS OFFICE | Buckeye | 10
| HU #4 A/C CONTROL CENTER | Amerex | 10
| HU #4 A/C CONTROL CENTER | Buckeye | 10
| HU #4 B/D CONTROL CENTER | Buckeye | 10
| HU #4 B/D CONTROL CENTER | Amerex | 10
| HU #4 MECHANICAL ROOM | Buckeye | 10
| HU #3 A/C CONTROL CENTER | Amerex | 10
| HU #3 A/C CONTROL CENTER | Buckeye | 10
| HU #3 B/D CONTROL CENTER | Amerex | 10
| HU #3 B/D CONTROL CENTER | Amerex | 10
| HU #3 MECHANICAL ROOM | Buckeye | 10
| HU #2 B/D CONTROL CENTER | Buckeye | 10
| HU #2 B/D CONTROL CENTER | Buckeye | 10
| HU #2 A/C CONTROL CENTER | Buckeye | 10
| HU #2 A/C CONTROL CENTER | Buckeye | 10
| HU #2 MECHANICAL ROOM | Amerex | 10
| HU #1 A/C CONTROL CENTER | Buckeye | 10
| HU #1 A/C CONTROL CENTER | Amerex | 10
| HU #1 B/D CONTROL CENTER | Buckeye | 10
| HU #1 B/D CONTROL CENTER | Buckeye | 10
| H.U. #1 MECHANICAL ROOM | Buckeye | 10
| ACTIVITY CENTER ENTRANCE | Amerex | 10
| ACTIVITY CENTER HALLWAY | Amerex | 10
| STORAGE ROOM STORAGE | Ansul | K-Class 6L
| STORAGE ROOM STORAGE | Badger | K-Class 6L
| STORAGE ROOM STORAGE | Badger | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Badger | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Buckeye | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Amerex | 10
| STORAGE ROOM STORAGE | Buckeye | K-Class 6L
| STORAGE ROOM STORAGE | Badger | 10
| CHAPEL ENTRANCE DOORS | Amerex | 10
| CHAPEL ENTRANCE DOORS | Amerex | 10
| CHAPEL SOUTH EXIT DOORS | Amerex | 10
| CHAPEL NORTH EXIT DOORS | Amerex | 10
| GYM OFFICE STAIRWAY MECH ROOM | Amerex | 10
| ADM 2ND FLOOR STAIRWAY MECH ROOM | Buckeye | 10
| ADM 2ND FLOOR DATA ROOM | Badger | 10
| ADM 2ND FLOOR BUSINESS OFFICE | Buckeye | 10
| ADM 2ND FLOOR MECHANICAL ROOM | Buckeye | 10
| EXECUTION ROOM DESK | Buckeye | 10
| ADM 1ST FLOOR RECORDS OFFICE | Buckeye | 10
| ADM 1ST FLOOR HALLWAY (DCC) | Amerex | 10
| FRONT ENT OUTSIDE MECH. ROOM | Buckeye | 10
| FRONT ENT KRONOS ELEV. ROOM | Amerex | 10
| FRONT ENT VENDING ELEV. ROOM | Amerex | 10
| FRONT ENT ELEVATOR ROOM FIRE ESCAPE | Buckeye | 10
| MASTER CONTROLKEY BOX | Buckeye | 10
| MASTER CONTROLKEY BOX | Amerex | 10
| MASTER CONTROL STORAGE | Amerex | 10
| MASTER CONTROL STORAGE | Buckeye | 10
| VISITING ROOM PHO DOOR | Amerex | 10
| LT'S OFFICE WATER FOUNTAIN | Amerex | K-Class 6L
| INTERNAL KITCHEN TRAY ROOM | Badger | 10
| TOWER 10 OBSERVATION AREA | Amerex | 10
| BASE TOWER 10 INSIDE ENT. DOOR | Buckeye | 10
| CLINIC OUTSIDE DENTAL | Amerex | 10
| CLINIC OUTSIDE LAB | Amerex | 10
| HOSP MECH ROOM | Badger | 10
| HOSP INSIDE NURSE STN | Buckeye | 10
| HOSP OUTSIDE NURSE STN | Buckeye | 10
| HOSP FIRE EXIT EVAC. RT. DOOR | Buckeye | 10
| CLINIC COPORAL COPORALS DESK | Buckeye | 10
| TOWER 8 HATCH ENTRANCE | Buckeye | 10
| TOWER 7 SOUTHWEST CRNR | Buckeye | 10
| TOWER 6 SOUTH WALL | Amerex | 10
| TOWER 5 SOUTH WALL | Buckeye | 10
| TOWER 5 BASE | Amerex | 10
| TOWER 4 SOUTH WALL | Buckeye | 10
| TOWER 1 NORTH WALL | Buckeye | 10
| TOWER 2 BASE | Amerex | 10
| TOWER 2 BASE | Amerex | 10
| TOWER 2 OBSERVATION AREA | Buckeye | 10
| TOWER 2 MIDDLE | Buckeye | 10
| TOWER 3 NORTHWEST CRNR | Amerex | 10
| CUP GARAGE SHOVELS/RAKES | Badger | 10
| CUP GARAGE OVERHANG DOORS | Buckeye | 10
| CUP CENTER PILLAR | Amerex | 10
| CUP GENERATOR ROOM | Amerex | 10
| CUP CENTER PILLAR | Buckeye | 10
| CUP CENTER PILLAR | Amerex | 10
| CUP WEST WALL | Amerex | 10
| CUP CENTER SOUTH POLE | Buckeye | 10
| CUP UPSTAIRS ELEC. RM | Buckeye | 10
| HAZARDOUS STORAGE OUTSIDE STEPS | Amerex | 10
| STAFF FITNESS DOUBLE DOORS | Buckeye | 10
| STAFF FITNESS SINGLE DOOR ENTRANCE | Buckeye | 10
| CTR WAREHOUSE MANAGER'S OFFICE | Amerex | 10
| WAREHOUSE 1 ENTRANCE | Buckeye | 10
| WAREHOUSE 1 OVERHANG DOOR | Amereex | 10
| WAREHOUSE 1 CEREAL STORAGE | Amereex | 10
| WAREHOUSE 1 CLOTHING ISSUE OFFICE | Badger | 10
| WAREHOUSE 2 MANAGER'S OFFICE | Amerex | 10
| WAREHOUSE 2 STORAGE CAGES | Badger | 10
| WAREHOUSE 3 FRIDGE | Amerex | 10
| WAREHOUSE 3 DOUBLE CAGES | Buckeye | 10
| WAREHOUSE 2 PEDESTRIAN ENTR. | Amerex | 10
| WAREHOUSE 3 FREEZER DOOR | Badger | 10
| CERT ENT BATHROOMS | Buckeye | 10
| CERT ENT BATHROOMS | Amerex | 10
| CONST MAINT GARAGE WEST DOOR | Buckeye | 10
| CONST MAINT EAST TANK ENTRANCE | Buckeye | 10
| CONST MAINT OFFICE FRONT DOOR | Amerex | 10
CONST MAINT OFFICE SOUTH EXIT
| CONST MAINT WEST PILLAR | Buckeye | 10
| CONST MAINT BOB'S OFFICE | Amerex | 10
| CONST MAINT TOOL ROOM | Amerex | 10
| CONST MAINT CHEMICAL ROOM | Buckeye | 10
| CONST MAINT AUTO WEST ENTRANCE | Buckeye | 10
| CONST MAINT AUTO MGR OFFICE | Buckeye | 10
| CONST MAINT AUTO WASH PAD | Buckeye | 10
| CONST MAINT WELDING SHOP | Buckeye | 10
| CONST MAINT WELDING TRAILER | Ansul Sentry | 10
| CONST MAINT WELDING TRAILER | Ansul Sentry | 10
| CONST MAINT TRASH TRUCK INTERIOR | Amerex | 10
| MAINT CONEX RIGHT CONEX CRATE | Buckeye | 10
| MAINT CONEX LEFT CONEX CRATE | Amerex | 10
| EXTERNAL CHECKPOINT ENTRANCE DOOR | Buckeye | 10
NSP Fires Sprinklers
| All Systems | Wet

## RTC
RTC Fire Extinguishers
| Buildings | Type | Size
| A-1 office (LCC)+C8:C239+C8:C29 | ABC | 10
| Lower Elevator (RTC 1) | ABC | 10
| A-1 Mech. Room (RTC 2) | ABC | 10
| A-2 office | ABC | 10
| A-2 Mech. Room | ABC | 10
| A-unit Control station | ABC | 10
| B-1 office (RTC 2) | ABC | 10
| B-unit Control station | ABC | 10
| B-2 office | ABC | 10
| B-1 Mech. Room | ABC | 10
| B-2 Mech. Room | ABC | 10
| Food Service Office (Old Kitchen) | ABC | 10
| C-1 Mech. Room | ABC | 10
| C-2 Mech. Room | ABC | 10
| C-1 office | ABC | 10
| C - Unit Control station | ABC | 10
| Lieutenant Office | ABC | 10
| C-2 office | ABC | 10
| Mental Health | ABC | 10
| Turnkey (RTC 2) | ABC | 10
| Dispensary (RTC 2 OLD) | ABC | 10
| Dental (RTC 2 Old) | ABC | 10
| School Office | ABC | 10
| Pawws Bldg. | ABC | 10
| Control unit Mech. Rm. | ABC | 10
| D-1 Mech. Room | ABC | 10
| D-2 Mech. Room | ABC | 10
| D-1 Office | ABC | 10
| Pharmacy | ABC | 10
| D unit Control station | ABC | 10
| D-2 office | ABC | 10
| E-2 Office | ABC | 10
| Pharmacy | ABC | 10
| Lower Chiller Rm. (RTC 2) | ABC | 10
| Sally port Garage (RTC 2) | ABC | 10
| E-1 Mech. Rm. | ABC | 10
| E-2 Mech. Rm. | ABC | 10
| Gym. Specialist office(RTC 2) | ABC | 10
| Security office (RTC 2) | ABC | 10
| Inside Tower Mechanic | ABC | 10
| LCC Library | ABC | 10
| Maint. Welding Cart | ABC | 10
| Warehouse Annex Bldg. Upper | ABC | 10
| Ware house Annex Bldg. | ABC | 10
| Warehouse Boiler Room | ABC | 10
| Upper Mech. Elevator (RTC 2) | ABC | 10
| Laundry | ABC | 10
| Laundry | ABC | 10
| Laundry Upper Storage | ABC | 10
| Wood shop Stain area | ABC | 10
| Wood shop Stain room | ABC | 10
| Store LCC Canteen | ABC | 10
| Warehouse Farm shop | ABC | 10
| Warehouse Farm shop | ABC | 10
| Warehouse Farm shop | ABC | 10
| Warehouse Hall Farm Shop | ABC | 10
| Warehouse hall | ABC | 10
| Lower mental offices | ABC | 10
| Kitchen | ABC | 10
| Kitchen | K-Class | 20
| Kitchen | ABC | 10
| DCC (RTC 2) | ABC | 10
| Maint. Tool Room | ABC | 10
| Gym. (RTC 2) MGR. office | ABC | 10
| Capt. Adm. Area (RTC 2) | ABC | 10
| Religious Center(RTC) 2 | ABC | 10
| Tool Room Behind (Old Central Control) | ABC | 10
| Training (RTC 2) | ABC | 10
| Compound Conf. Rm. | ABC | 10
| Custody Office (RTC 2) | ABC | 10
| Central Control (RTC 2) | ABC | 10
| (RTC 2) Hallway Adm. Area | ABC | 10
| Intel | ABC | 10
| Control Unit | ABC | 10
| RTC 2 Armory | ABC | 10
| Maint. Chiller Room | ABC | 10
| (RTC 2) Chiller | ABC | 10
| Maint. Boiler Rm. Office | ABC | 10
| Maint. Boiler Room | ABC | 10
| Maint. Wood Shop | ABC | 10
| Maint. Locksmith | ABC | 10
| Maint. Const. Office | ABC | 10
| GYM (RTC 1) | ABC | 10
| (RTC 1) Law Library | ABC | 10
| (RTC 1) Chemical Storage room | ABC | 10
| Tower #2 | ABC | 10
| Tower #3 | ABC | 10
| Tower #1 | ABC | 10
| Wood Shop Upper Storage | ABC | 10
| Quonset ( Morton Bldg. ) | ABC | 10
| Farm Shop | ABC | 10
| Farm Shop | ABC | 10
| Farm Shop Quonset Bldg. | ABC | 10
| Farm Shop Recycling | ABC | 10
| E-1 Office | ABC | 10
| OLD Records Room (RTC 1) | ABC | 10
| 8&9 Housing unit | ABC | 10
| Seg. Elevator Room (RTC 2) | ABC | 10
| Inside Compound Tower | ABC | 10
| Compound Conf. Room Mech. | ABC | 10
| Central Dining Room (HOOD) | ABC | 10
| Adm Area Main Lobby (RTC 1) | ABC | 10
| Outside Farm Shop Tool Room | ABC | 10
| Main control (RTC 1) | ABC | 10
| Maint / Cert building | ABC | 10
| Sally port (RTC 1) | ABC | 10
| DEC Admissions | ABC | 10
| H.U. #10 | ABC | 10
| H.U. #10 | ABC | 10
| Medical Support (RTC 1) | ABC | 10
| U/Mech. Room | ABC | 10
| U/Mech. Room | ABC | 10
| U/Stairs#2 (RTC1) | ABC | 10
| L/Stairs#2 (RTC 1) | ABC | 10
| Kitchen Sally port Storage | ABC | 10
| Upper Hall Cabinet (RTC1) | ABC | 10
| South Wire Gate | ABC | 10
| 4&5 Housing Units | ABC | 10
| 6&7 Housing Units | ABC | 10
| 2&3 Housing Units | ABC | 10
| Support Services | ABC | 10
| Lower Hall by Elevator DEC | ABC | 10
| Farm Shop | ABC | 10
| Case management | ABC | 10
| L/Mech. Room (RTC 1) | ABC | 10
| L/Mech. Room (RTC 1) | ABC | 10
| L/Stairway #1 | ABC | 10
| U/Stairway #1 | ABC | 10
| Property Under/A-1 | ABC | 10
| Laundry Eye Wash Rm. | ABC | 10
| #1 Housing Unit | ABC | 10
| Wood shop | ABC | 10
| 8&9 Housing Units | ABC | 10
| E-1 Control station | ABC | 10
| Pump House | ABC | 10
| Print Shop | ABC | 10
| Print Shop | ABC | 10
| Print Shop | ABC | 10
| Wood Shop | ABC | 10
| Wood Shop | ABC | 10
| Wood Shop | ABC | 10
| Wood Shop | ABC | 10
| Print Shop | ABC | 10
| Pharmacy | ABC | 10
| Pharmacy | ABC | 10
| Farm shop Gas Area | ABC | 10
| Farm shop Gas Area | ABC | 10
| G-Unit Mezzanine | ABC | 10
| G-Unit Mezzanine | ABC | 10
| G-Unit Control Center | ABC | 10
| G-Unit Mech Room | ABC | 10
| G-Unit Hall | ABC | 10
| G-Unit GA | ABC | 10
| G-Unit GA | ABC | 10
| G-Unit GA | ABC | 10
| G-Unit GA | ABC | 10
| G-Unit GA | ABC | 10
| G-Unit GA | ABC | 10
| G-Unit GB | ABC | 10
| G-Unit GB | ABC | 10
| G-Unit GB | ABC | 10
| G-Unit GB | ABC | 10
| G-Unit GB | ABC | 10
| G-Unit GB | ABC | 10
| F-Unit Mezzanine | ABC | 10
| F-Unit Mezzanine | ABC | 10
| F-Unit Mech Room | ABC | 10
| F-Unit Hall | ABC | 10
| F-Unit Control Center | ABC | 10
| F-Unit FA | ABC | 10
| F-Unit FA | ABC | 10
| F-Unit FA | ABC | 10
| F-Unit FA | ABC | 10
| F-Unit FA | ABC | 10
| F-Unit FA | ABC | 10
| F-Unit FB | ABC | 10
| F-Unit FB | ABC | 10
| F-Unit FB | ABC | 10
| F-Unit FB | ABC | 10
| F-Unit FB | ABC | 10
| F-Unit FB | ABC | 10
| New Kitchen | ABC | 10
| New Kitchen | ABC | 10
| New Kitchen | K-Class | 20
| New Kitchen | K-Class | 20
| New Kitchen | ABC | 10
| Dining Hall 1 | ABC | 10
| Dining Hall 2 | ABC | 10
| Dining Hall 3 | ABC | 10
| H-Unit | ABC | 10
| H-Unit | ABC | 10
| H-Unit | ABC | 10
| H-Unit | ABC | 10
| SNF | ABC | 10
| SNF | ABC | 10
| SNF | ABC | 10
| Clinic | ABC | 10
| Clinic | ABC | 10
| Clinic | ABC | 10
| Clinic IT | Halitron | 5
| Power House | ABC | 10
| Power House | ABC | 10
| Power House IT | Halitron | 5
| CERT Building | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
| Reserve | ABC | 10
RTC Fire Sprinklers
| All Systems | Wet

## CCC-O
CCCO Fire Extinguishers
| Buildings | Type | Size
| Lobby Area | ABC | 10
| Maintenance Shop | ABC | 10
| Grounds Garage | ABC | 5
| 200 Wing Hallway | ABC | 10
| 200/300 Wing Laundry | ABC | 10
| Kitchen | K-class | 6L
| 300 Wing Hallway | ABC | 10
| 400 Wing Hallway | ABC | 10
| 400 Wing Hallway | ABC | 10
| D2 Truck - 19027 | ABC | 2.5
| Van 19607 | ABC | 2.5
| Van 22901 | ABC | 2.5
| Truck 18640 (RC1) | ABC | 5
| Truck 18641 (RC2) | ABC | 5
| Truck 18743 (RC3) | ABC | 5
| Truck 21882 (RC4) | ABC | 5
| Education | ABC | 5
| Education | ABC | 5
| Spare | ABC | 2.5
| Spare | ABC | 2.5
| Spare | ABC | 2.5
| Spare | ABC | 2.5
| Spare | ABC | 2.5
CCCO Fire Sprinklers
| Entire Facility | Wet System

## NCYF
NCYF Fire Extinguishers
| Buildings | Type | Size
Building A | Safety Office #30 A114 | ABC | 5
| Safety Office #31 A114 | ABC | 5
| Admin Hall | ABC | 5
| Spare #2 A114 | ABC | 5
| Spare #15 A114 | ABC | 10
| Spare #4 A114 | ABC | 10
| Spare #32 A114 | ABC | 5
| Safety Office | ABC | 5
| Staff Break Room by A187 | ABC | 10
| Visiting Room | ABC | 10
| Central Control | ABC | 10
| Intake A177 | ABC | 10
| Laundry Hall A176A | ABC | 10
| Maintenance Shop | ABC | 10
| Food Service Office | ABC | 10
| Kitchen | K-Class | 6L
HU1 | HU1-SMU Hall | ABC | 10
| Caseworker Desk B101 | ABC | 10
| Penthouse B112 | ABC | 10
Unit 3 | Caseworker Desk B101 | ABC | 10
| Penthouse C114 | ABC | 10
HU2 | SMU-HU2 Hall D155 | ABC | 10
| Caseworker Desk D101 | ABC | 10
| Penthouse D112 | ABC | 10
E Bldg. | MH Conf Rm E106 | ABC | 10
| Ed. Commons Area | ABC | 10
| Medical Office E154 | ABC | 10
| Education Hall | ABC | 10
| Gym/Music Hall | ABC | 10
Grounds | Dog Kennel | ABC | 10
| Maintenance Shed | ABC | 10
NCYF Fire Sprinklers
| One System | Wet

## OCC
OCC Fire Extinguishers
| Buildings | Type | Size
A BLDG | Hose Cabinet C Personal | ABC | 10
| Admin Area | ABC | 10
| Hose Cabinet/Foyer | ABC | 10
| Central Control | ABC | 10
| Armory | ABC | 10
| Tower | ABC | 10
| Cert Tube | ABC | 10
| Electrical/Telephone Room | FE-36 | 5
Library | Hose Cabinet | ABC | 10
Religion Center | Hose Cabinet | ABC | 10
Medical | Hose Cabinet | ABC | 10
| Hose Cabinet B147 | ABC | 10
| Nurses Office | ABC | 10
Operations | Hose Cabinet | ABC | 5
RHU | Hose Cabinet | ABC | 10
| Pipe Chace | ABC | 10
Education | Hose Cabinet | ABC | 10
Outside MH Office |  | ABC | 5
Electrical Room |  | ABC | 10
Training | South Wall | ABC | 10
| West Wall | ABC | 10
IDC | Break Room E113C | ABC | 10
| Office E112A | ABC | 10
J-3 Unit | A-Wing Lower | ABC | 10
| A-Wing Upper | ABC | 10
| A-Wing Mech Room | ABC | 10
| B-Wing UCM Desk | ABC | 10
| B-Wing Mech Room | ABC | 10
| C-Wing Lower | ABC | 10
| C-Wing Upper | ABC | 10
| C-Wing Mech Room | ABC | 10
J-2 Unit | Rm J219 | ABC | 10
| Control Room | ABC | 10
| Mech Tube | ABC | 10
| Mech Tube | ABC | 5
J-1 Unit | Rm J119 | ABC | 10
| Control Room | ABC | 5
| Mech Tube | ABC | 5
| Mech Tube | ABC | 5
K-Unit | K-157 | ABC | 10
| Control Room | ABC | 5
| Mech Room | ABC | 5
| Mech Room | ABC | 5
Laundry | Office E102 | ABC | 5
| Mech Tube | ABC | 5
Power Plant | By Stops | ABC | 10
| Upstairs Electrical Room | ABC | 10
Maintenance Shed | East Wall | ABC | 10
Wood Shop | FCTC Closet Shop Area | ABC | 10
| East Wall Shop Area | ABC | 10
| South Wall Cage | ABC | 10
| Middle of room - Pillar | ABC | 10
| Finishing Area | ABC | 10
| New CSI West | ABC | 10
| New CSI East 1 | ABC | 10
| New CSI East 2 | ABC | 10
| Door 202 | ABC | 5
Sweat Lodge | Fire Cabinet | ABC | 10
North Gate | Office | ABC | 10
CSI Sewing Bay 1 | Front Exit M100 | ABC | 5
| Rear Exit M100B | ABC | 5
| Bay Door M105C | ABC | 5
| By Sink | ABC | 5
CSI Sewing Bay 2 | Front Exit M110 | ABC | 5
| Rear Exit M110D | ABC | 5
Grounds | Shop | ABC | 10
| Tool Room | ABC | 10
Maintenance | West Wall | ABC | 1
| South Wall | ABC | 10
| Mech Tube | ABC | 5
| Transformer Room | ABC | 10
| Storage Room E121A | ABC | 10
Supply | Hose Cabinet | ABC | 10
Food Service | Kitchen | K-Class | 6L
| Hose Cabinet | ABC | 10
| Electrical Room F120 | ABC | 5
| Office | ABC | 10
Multi-purpose | Cabinet | ABC | 10
Canteen | Store | ABC | 10
Gym | Office | ABC | 10
Safety Closet | No Number | ABC | 5
| No Number | ABC | 5
| No Number | ABC | 5
| No Number | ABC | 10
| No Number | ABC | 6L
OCC Fire Sprinklers
| K-Unit | Wet System
| J-1 | Wet System
| J-2 | Wet System
| J-3 | Wet System
| Power Plant | Wet System
| CSI Woodshop | Wet System

## TSCI
TSCI Fire Extinguishers
| LOCATION | SYSTEM | SIZE
| Gatehouse outside MECH room | Badger | 10
| Gatehouse inside MECH room | Badger | 10
| Gatehouse behind desk | Badger | 10
| FEC-Tunnel (West End) | Badger | 10
| FEC-Tunnel (East End) | Badger | 10
| Elevator MECH room (Lower Level) | Badger | 10
| FEC-Free side Turnkey (by H113) | Amerex | 10
| Key and Tool Control | Badger | 10
| Visiting ELECT Room (SE Corner) | Badger | 10
| FEC-Visiting ( West Hall ) | Badger | 10
| FEC-Visiting ( By CPL Desk) | Badger | 10
| Property/Intake (Behind Desk) | Badger | 10
| Central Control Vestibule | Badger | 10
| SMU Hallway Off Turnkey (H163) | Badger | 10
| FEC-Operations Hallway | Badger | 10
| FEC-Administration Hallway | Badger | 10
| Administration Mech Room | Badger | 10
| FEC-Clinic North Hallway | Amerex | 10
| FEC-Clinic South Hallway | Badger | 10
| Clinic Mech Room (South Hallway) | Badger | 10
| Hospital (Behind Nurses Station) | Amerex | 10
| Medical Mech RM (access from outside) | Badger | 10
| FEC-Religion Entry | Badger | 10
| Yard MECH Rm ( by religion ) | Badger | 10
| Librarian Office (left side of door) | Badger | 10
| FEC-Education East hallway | Badger | 10
| Education MECH Rm (east hallway) | Badger | 10
| FEC-Education West Hallway | Badger | 10
| Education ELECT Rm (west hall) | Badger | 10
| GYM Staff Supply rm | Amerex | 10
| FEC-Gym Office | Amerex | 10
| GYM Upper MECH Rm (thru music room) | Badger | 10
| Kitchen "K" Vent Hood (East) | Kitchen One | 6
| Spare | Badger | 6
| Kitchen Director Office | Badger | 10
| Kitchen Back Door (by trash compactor rm) | Amerex | 10
| Spare | Amerex | 10
| Spare | Badger | 10
| Chem Rm | Amerex | 10
| Clothing Issue | Badger | 10
| Clothing Issue | Badger | 10
| Recreation Bldg. Bathroom | Badger | 10
| Spare | Amerex | 10
| Maintenance West Exit | Badger | 10
| Maintenance South Exit | Amerex | 10
| Maintenance MECH Rm | Badger | 10
| MECH Rm (SE Corner Behind Kitchen) | Badger | 10
| South Vehicle Gate kiosk Office | Badger | 10
| Canteen Back Dock | Badger | 10
| Tower-Upper Floor | Amerex | 10
| Tower Base | Badger | 10
| Tower Mechanic Rm | Amerex | 10
| FEC-CSI Laundry SW Wall (caged area) | Badger | 10
| Doc#5 Door N115a Wood Shop | Badger | 10
| FEC-CSI Laundry North Entry | Amerex | 10
| FEC-CSI Laundry Wash Rm (N Door) | Badger | 10
| FEC-CSI Laundry Wash Rm (S Xray) | Badger | 10
| CSI Laundry Supervisor Office | Badger | 10
| FEC-CSI Woodshop NE Exit/Entry | Amerex | 10
| FEC-CSI Woodshop NW Exit/Entry | Amerex | 10
| FEC-CSI Woodshop SE Overhead Door | Amerex | 10
| FEC-CSI Woodshop SW Caged Area | Amerex | 10
| FEC-CSI Woodshop Far West Wall | Amerex | 10
| CSI N2 Dock 7 | Amerex | 10
| FEC CSI Woodshop | Amerex | 10
| Energy Center North Hall By Office | Badger | 20
| Energy Center North By Fire Pump | Badger | 10
| Energy Center SW Exit/Entry Door | Badger | 20
| Energy Center SE Exit/Entry Door | Badger | 20
| Energy Center Generator Rm (EAST) | Badger | 20
| Energy Center ELECT Rm (EAST) | Badger | 20
| Vehicle Maintenance Upper Mezzanine | Amerex | 10
| Vehicle Maintenance Shop North Door | Badger | 20
| Vehicle Maintenance Shop South Door | Badger | 20
| Spare | Badger | 10
| Vehicle Maintenance Overhead Door | Badger | 10
| Vehicle Maintenance Overhead Door | Amerex | 10
| Spare | Badger | 10
| Warehouse NW Overhead Dock Door | Badger | 10
| Warehouse SW Entry/Exit Door | Amerex | 10
| Warehouse NE Overhead Dock Door | Badger | 10
| Spare | Amerex | 10
| FEC-warehouse (outside chemical Rm) | Amerex | 10
| East Fuel Tank | Amerex | 10
| West Fuel Tank | Amerex | 10
| HU 1 A/B Control center Vestibule | Amerex | 10
| HU 1 A/B Control center Vestibule | Amerex | 10
| HU 1 A/B Control center Vestibule | Amerex | 10
| Gyn recreation Manager Office | Amerex | 5
| HU 1 C/D Control Center Vestibule | Amerex | 10
| HU 1 C/D Control Center Vestibule | Amerex | 10
| FEC-HU GF Staff Hall East | Badger | 10
| FEC-HU 1 SAU Staff Hall | Amerex | 10
| HU 1 C/D Control Center Vestibule | Amerex | 10
| HU 1 E/F Control Center Vestibule | Amerex | 10
| HU 1 E/F Control Center Vestibule | Amerex | 10
| HU 1 E/F Control Center Vestibule | Amerex | 10
| HU 1 Upper MECH Rm | Badger | 10
| HU 1 Upper MECH Rm | Badger | 10
| HU 1 Upper MECH Rm | Badger | 10
| HU 1 Upper MECH Rm | Badger | 10
| HU 1 Upper MECH Rm | Badger | 10
| FEC-HU 2 Lobby Area | Amerex | 10
| HU 2 A/B Control Center Vestibule | Amerex | 10
| HU 2 A/B Control Center Vestibule | Amerex | 10
| HU 2 A/B Control | Badger | 10
| HU 2 C/D Control Center Vestibule | Amerex | 10
| HU 2 C/D Control Center Vestibule | Badger | 10
| HU 2 C/D Control Center Vestibule | Badger | 10
| HU 2 Upper MECH Rm (B Side) | Badger | 10
| FEC-HU3 Lobby Area | Amerex | 10
| HU 3 A/B Control Center Vestibule | Badger | 10
| HU 3 A/B Control Center Vestibule | Badger | 10
| HU 3 A/B Control Center Vestibule | Badger | 10
| HU 3 C/D Control Center Vestibule | Badger | 10
| HU 3 C/D Control Center Vestibule | Badger | 10
| HU 3 C/D Control Center Vestibule | Badger | 10
| HU 3 Upper MECH Rm (B side) | Badger | 10
| SMU Entry/Exit to Walkway MECH Rm | Badger | 10
| FEC-SMU Main Hallway | Badger | 10
| SMU MECH Rm (East Main Hall) | Badger | 10
| SMU Elevator MECH Rm (ABC) | Badger | 10
| SMU ABC Control Center Vestibule | Amerex | 10
| FEC ABC East Hall | Badger | 10
| FEC-SMU East Wall Upper ABC Control | Amerex | 10
| ABC Control | Badger | 10
| Spare | Amerex | 10
| RHU ABC Control | Amerex | 10
| SMU-ABC Control Center Vestibule | Amerex | 10
| 131 SMU ABC Control Center | Badger | 10
| SNU Upper MECH RM (East Door) | Badger | 10
| SMU Upper MECH Rm (SE roof Access) | Badger | 10
| SMU Upper MECH Rm (Center Wall) | Badger | 10
| SMU Upper MECH RM (West Door) | Badger | 10
| Spare | Amerex | 10
| DEF Control | Amerex | 10
| FEC - SMU West Wall Lower DEF Control | Badger | 10
| SMU-DEF Upper Office | Amerex | 10
| SMU-DEF Control Center Vestibule | Amerex | 10
| SMU Elevator MECH Rm (DEF) | Badger | 10
| SMU-DEF Control Center Vestibule | Amerex | 10
| SMU-DEF Lower Office | Buckeye | 10
| SMU-DEF Control Center Vestibule | Badger | 10
| SMU-MECH Rm (DEF-west main Hall) | Badger | 10
| SMU Back Dock | Badger | 10
| CSI Water Rm (pit room) | Badger | 10
| Warehouse South Door | Amerex | 10
| FEC-CSI Woodshop Tool Rm Wall | Amerex | 10
| FEC-CSI Woodshop NW Hall/Breakroom | Amerex | 10
| FEC-CSI Woodshop W wall/by dock doors | Amerex | 10
| FEC-CSI Woodshop S. Wall/Dock 6 | Amerex | 10
| CSI-ME22AM | Amerex | 10
| FEC-CSI Hallway (N2 Addition-Mezzanine) | Amerex | 10
| HU 3 A/B Control Center Vestibule | Badger | 10
| HU 3 A/B Control Center Vestibule | Badger | 10
| HU 3 C/D Control Center Vestibule | Amerex | 10
| HU 3 C/D Control Center Vestibule | Amerex | 10
| HU 2 A/B Control Center Vestibule | Amerex | 10
| HU 2 A/B Control Center Vestibule | Badger | 10
| HU 2 C/D Control Center Vestibule | Badger | 10
| HU 2 C/D Control Center Vestibule | Badger | 10
| HU 1 A/B Control center Vestibule | Amerex | 10
| HU 1 Control Center | Amerex | 10
| HU 1 C/D Control Center Vestibule | Amerex | 10
| HU 1 C/D Control Center Vestibule | Amerex | 10
| HU 1 E/F Control Center | Amerex | 10
| HU 1 E/F Control Center Vestibule | Amerex | 10
| SMU DEF Control | Amerex | 10
| SMU-DEF Control Center Vestibule | Amerex | 10
| Spare | Badger | 10
| SMU-DEF Control Center Vestibule | Amerex | 10
| N3 SE Wall | Amerex | 10
| N3 SE Wall | Amerex | 10
| N3 SE Dock | Amerex | 10
| N3 W Wall | Amerex | 10
| N3 N Wall | Amerex | 10
| N3 NE Wall | Amerex | 10
| Operations Storage | Amerex | 10
| Training | Amerex | 5
| Spares | Amerex | 10
| Spares | Amerex | 10
| Spares | Amerex | 10
| Spares | Amerex | 10
| Spares | Amerex | 10
| Spares | Amerex | 10
| Spares | Amerex | 10
| Spares | Amerex | 10
| ABC Lower Office | Amerex | 10
| HUI SAU Staff Hall | Amerex | 10
| Security Electronics Rm H-113 | Amerex | 10
| RHU | Amerex | 10
| Spare | Strike 1st | 10
| Laundry South Hall | Badger | 10
| Kitchen | Ansul | 6L
| Spare | Ansul | 6L
| CSI Back Dock | Badger | 10
| Spare | Sentry | 5
| South Sewing Wall | Badger | 10
| Spare | Badger | 10
| Spare | Amerex | 10
| Spare | Badger | 6
| Spare | Buckeye | 10
TSCI Fire Sprinklers
| All systems | Wet

## NCCW
NCCW Fire Extinguishers
| Buildings | Type | Size
| A Buildings (7) | ABC | 10
| A Support by break room | ABC | 10
| A Support by Lt office | ABC | 10
| Food Service office | ABC | 10
| Food Service office | K-class | 6L
| Laundry | ABC | 10
| Warehouse | ABC | 10
| A Mechanical | ABC | 10
| B Buildings (4) | ABC | 10
| B Control | ABC | 10
| B Control | ABC | 10
| B Mechanical | ABC | 10
| Nursery Kitchenette | ABC | 10
| C Building (4) | ABC | 10
| Stairwell | ABC | 10
| C Control | ABC | 10
| C Control | ABC | 10
| C Mechanical | ABC | 10
| West Hall (7) | ABC | 10
| Basement Door | ABC | 10
| Basement Hallway | ABC | 10
| School Door | ABC | 10
| Library Cabinet | ABC | 10
| School Hall Cabinet | ABC | 10
| Parenting Cabinet | ABC | 10
| 2nd Floor Door | ABC | 10
| East Hall (7) | ABC | 10
| Canteen staff Door | ABC | 10
| Canteen Mechanical | ABC | 10
| Canteen Back Door | ABC | 10
| 1st Floor Door | ABC | 10
| 1st Floor Hallway | ABC | 10
| 1st Floor Hallway | ABC | 10
| 2nd Floor Door | ABC | 10
| Administration (7) | ABC | 10
| West Admin | ABC | 10
| Central Control | ABC | 10
| Central Admin | ABC | 10
| CC Vestibule | ABC | 10
| Intake | ABC | 10
| East Admin | ABC | 10
| Visiting | ABC | 10
| North Hall (3) | ABC | 10
| A wing storage | ABC | 10
| Basement | ABC | 10
| Control Center | ABC | 10
| Religious Center (1) | ABC | 10
| Office | ABC | 10
| CSI (2) | ABC | 10
| Front Door | ABC | 10
| Data Door | ABC | 10
| Maintenance (5) | ABC | 10
| Maintenance Shop | ABC | 10
| Barn 1st Floor South | ABC | 10
| Barn 1st Floor North | ABC | 10
| Barn 2nd Floor South | ABC | 10
| Barn 2nd Floor North | ABC | 10
| D&E / Medical (3) | ABC | 10
| Medical Hallway | ABC | 10
| D&E Office | ABC | 10
| D&E Front Door | ABC | 10
| Safety office (2) | ABC | 10
| office 1 | ABC | 10
| office 2 | ABC | 10
Total (51)
NCCW Fire Sprinklers
| East Hall | Wet System
| D & E | Wet System
| A Bldg. | Wet System
| C Bldg. | Wet System
| B Bldg. | Wet System
| West Hall | Wet System
| North Hall | Dry System
| Admin Bldg. | Wet System
Sprinkler Gauges
| A Building |  | 2
| B Building |  | 3
| C Building |  | 3
| East Hall |  | 2
| West Hall |  | 4
| North Hall |  | 5
| D&E/ Medical |  | 2
| Administration |  | 2