SOLICITATION ADDENDUM 122702 O3 QUESTIONS AND ANSWERS

# SOLICITATION NUMBER: 122702 O3

Kitchen Hood Stack Cleaning Services

Opening Date: October 28, 2025, 2:00 PM Central Time

#### Questions and Answers

Following are the questions submitted, and answers provided for the above-mentioned solicitation. The questions and answers are to be considered as part of the solicitation. It is the responsibility of bidders to check the State Purchasing Bureau website for all addenda or amendments.

| Question Number | 122702 O3 Section Reference | 122702 O3 Page Number | Question | State Response |
| --- | --- | --- | --- | --- |
| 1. |  |  | Can you provide these data points for each location/system: Number of hoods | Refer to RFP Section V.D and Attachment A Cost Sheet. CCCL: 2 CCCO: 2 NCCW: 1 NCYF: 1 NSP (Internal & External): 1 each OCC: 1 RTC: 1 (with 3 vents) TSCI: 2 WEC: 1 |
| 2. |  |  | Can you provide these data points for each location/system: Length of hood | Length of Kitchen Hoods provided by Facility: CCCL: 9’ x 5’ CCCO: 9.5’ NCCW: 18’ x 6” NCYF: 12’ NSP: 8”x 2” x 11’ 6” and 9’ x 7’4” (Internal). 9’4”x15’, 4’6”x7’8” (External). OCC: 24’ RTC: 16’ (2), 15’6” (1), 14’2’ (1) TSCI: 24.5’ WEC: 12’ |
| 2. |  |  | Can you provide these data points for each location/system: Number of exhaust fan(s) | Number of Kitchen Hood Exhaust Fans provided by Facility: CCCL: 2 CCCO: 1 NCCW: 1 NCYF: 1 NSP: 2 (Internal) OCC: 1 RTC: 4 TSCI: 2 WEC: 1 |
| 4. |  |  | Can you provide these data points for each location/system: Is roof access permitted? | Yes. Refer to RFP Section V.3.i. |
| 5. |  |  | Can you provide these data points for each location/system: Does the fan have a hinge kit? | Kitchen Hood Fans with Hinge Kits provided by Facility: CCCL: Yes CCCO: Yes NCCW: Unknown NCYF: No NSP (Internal & External): Unknown OCC: No RTC: Yes TSCI: Yes WEC: No |
| 6. |  |  | Can you provide these data points for each location/system: Does the fan have a tension cable? | Kitchen Hood Fans with Tension Wire provided by Facility: CCCL: No CCCO: Yes NCCW: No NCYF: No NSP (Internal & External): Unknown OCC: No RTC: No TSCI: No WEC: No |
| 7. |  |  | Can you provide these data points for each location/system: Feet of horizontal ducting (if any) | Kitchen Hood Horizontal Ducting measurements provided by Facility: CCCL: 2’ x 4’ CCCO: None NCCW: 10’ NCYF: None NSP (Internal & External): Unknown OCC: Unknown RTC: None TSCI: None WEC: None |
| 8. |  |  | Can you provide these data points for each location/system: Number of accessible access panels | Number of Access Panels available to Kitchen Hoods provided by Facility: CCCL: 2 CCCO: 2 NCCW: All NCYF: All NSP: Internal-5, 4; External- 16, 5 OCC: 14 RTC: 32 TSCI: 2 WEC: 1 |
| 9. |  |  | Can you provide these data points for each location/system: Feet of vertical ducting | Kitchen Hood Vertical Ducting measurements provided by Facility: CCCL: 10’ CCCO: 25’ NCCW: 10’ NCYF: 10-15’ NSP: Internal-15’; External-25’ OCC: Unknown RTC: 38’ TSCI: 10’ Each WEC: 12’ |
| 10. |  |  | Can you provide these data points for each location/system: Is all ducting currently accessible? | Yes. Refer to RFP Sections V.A. & V.3.g |
| 11. |  |  | Have all the systems been cleaned on a regular basis or will a deep clean be needed to get to NFPA 96 standards? | CCCL & WEC Kitchen Hood cleanings have been conducted on an annual basis. CCCO, NCCW, NCYF, NSP (Internal & External), OCC, RTC (formerly LCC), & TSCI Kitchen Hood cleanings have been conducted on a semi-annual basis. |

This addendum will be incorporated into the solicitation.