# INVITATION TO BID

Number 5987-OF

The State of Nebraska (State), Department of Administrative Services (DAS), Materiel Division, State Purchasing Bureau (SPB), is issuing this Invitation to Bid (ITB) for a commodity contract, ITB Number 5987 OF for the purpose of selecting a qualified Bidder to provide **Sequential XRF Spectrometer Equipment with External Water Recirculating System for Nebraska Department of Transportation (NDOT) Materials and Research Division.** Specifications can be found in **Section VI. Invitation to Bid Technical Specifications**. The resulting contract may not be an exclusive contract as the State reserves the right to contract for the same or similar goods from other sources now or in the future.

The term of the contract will be five (5) years commencing upon execution of the contracts by the State and the Bidder. The Contract includes the option to renew for five (5) additional one (1) year periods upon mutual agreement of the Parties. The State reserves the right to extend the period of this contract beyond the termination date when mutually agreeable to the Parties.

**INFORMATION PERTINENT TO THIS INVITATION TO BID CAN BE FOUND ON THE INTERNET AT:** <http://das.nebraska.gov/materiel/purchasing.html>.

**IMPORTANT NOTICE**: Pursuant to Neb. Rev. Stat. § 84-602.04, State contracts in effect as of January 1, 2014, and contracts entered into thereafter, must be posted to a public website. The resulting contract, the ITB, and the successful Bidder’s bid or response will be posted to a public website managed by DAS, which can be found at:

<https://statecontracts.nebraska.gov/>

In addition and in furtherance of the State’s public records statute (Neb. Rev. Stat. § 84-712 et seq.) all bids or responses received regarding this ITB will be posted to the SPB website.

These postings will include the entire bid or response. Bidders must request that proprietary information be excluded from the posting. The Bidder must identify the proprietary information, mark the proprietary information according to state law, and submit the proprietary information in a separate container or envelope marked conspicuously using an indelible method with the words "PROPRIETARY INFORMATION". The Bidder must submit a **detailed written document showing** that the release of the proprietary information would give a business advantage to named business competitor(s) and explain how the named business competitor(s) will gain an actual business advantage by disclosure of information. The mere assertion that information is proprietary or that a speculative business advantage might be gained is not sufficient. (See Attorney General Opinion No. 92068, April 27, 1992) **THE BIDDER MAY NOT ASSERT THAT THE ENTIRE BID OR RESPONSE IS PROPRIETARY. COST WILL NOT BE CONSIDERED PROPRIETARY AND IS A PUBLIC RECORD IN THE STATE OF NEBRASKA.** The State will then determine, in its discretion, if the interests served by nondisclosure outweighs any public purpose served by disclosure. (See Neb. Rev. Stat. § 84-712.05(3)) The Bidder will be notified of the agency's decision. Absent a State determination that information is proprietary, the State will consider all information a public record subject to release regardless of any assertion that the information is proprietary.

If the agency determines it is required to release proprietary information, the Bidder will be informed. It will be the Bidder's responsibility to defend the Bidder's asserted interest in non-disclosure.

To facilitate such public postings, with the exception of proprietary information, the State of Nebraska reserves a royalty-free, nonexclusive, and irrevocable right to copy, reproduce, publish, post to a website, or otherwise use any contract, bid, or response to this ITB for any purpose, and to authorize others to use the documents. Any individual or entity awarded a contract, or who submits a bid or response to this ITB, specifically waives any copyright or other protection the contract, bid, or response to the ITB may have; and, acknowledges that they have the ability and authority to enter into such waiver. This reservation and waiver is a prerequisite for submitting a bid or response to this ITB, and award of a contract. Failure to agree to the reservation and waiver will result in the bid or response to the ITB being found non-responsive and rejected.

**Any entity awarded a contract or submitting a bid or response to the ITB agrees not to sue, file a claim, or make a demand of any kind, and will indemnify and hold harmless the State and its employees, volunteers, agents, and its elected and appointed officials from and against any and all claims, liens, demands, damages, liability, actions, causes of action, losses, judgments, costs, and expenses of every nature, including investigation costs and expenses, settlement costs, and attorney fees and expenses, sustained or asserted against the State, arising out of, resulting from, or attributable to the posting of the contract or the bids and responses to the ITB, awards, and other documents.**

# TABLE OF CONTENTS

[INVITATION TO BID i](#_Toc532297508)

[TABLE OF CONTENTS ii](#_Toc532297509)

[GLOSSARY OF TERMS iv](#_Toc532297510)

[I. PROCUREMENT PROCEDURE 1](#_Toc532297511)

[A. GENERAL INFORMATION 1](#_Toc532297512)

[B. PROCURING OFFICE AND COMMUNICATION WITH STATE STAFF AND EVALUATORS 1](#_Toc532297513)

[C. COMMUNICATION WITH STATE STAFF 1](#_Toc532297514)

[D. SCHEDULE OF EVENTS 1](#_Toc532297515)

[E. WRITTEN QUESTIONS AND ANSWERS 2](#_Toc532297516)

[F. RECYCLING (§ 81-15,159(d)(2)) 2](#_Toc532297517)

[G. SECRETARY OF STATE/TAX COMMISSIONER REGISTRATION REQUIREMENTS (Statutory) 2](#_Toc532297518)

[H. ETHICS IN PUBLIC CONTRACTING 2](#_Toc532297519)

[I. SPECIFICATIONS 3](#_Toc532297520)

[J. SAMPLES 3](#_Toc532297521)

[K. BID PREPARATION COSTS 3](#_Toc532297522)

[L. DISCOUNTS 3](#_Toc532297523)

[M. PRICES 3](#_Toc532297524)

[N. DEVIATIONS FROM THE INVITATION TO BID 3](#_Toc532297525)

[O. ALTERNATE/EQUIVALENT BIDS 3](#_Toc532297526)

[P. LUMP SUM OR ‘ALL OR NONE’ BIDS 3](#_Toc532297527)

[Q. BID REQUIREMENTS 4](#_Toc532297528)

[R. FAILURE TO COMPLY WITH INVITATION TO BID 4](#_Toc532297529)

[S. SUBMISSION OF BIDS 4](#_Toc532297530)

[T. EMAIL SUBMISSIONS 4](#_Toc532297531)

[U. BID CORRECTIONS 4](#_Toc532297532)

[V. LATE BIDS 5](#_Toc532297533)

[W. BID OPENING 5](#_Toc532297534)

[X. BID TABULATIONS 5](#_Toc532297535)

[Y. BEST AND FINAL OFFER 5](#_Toc532297536)

[Z. REFERENCE AND CREDIT CHECKS 5](#_Toc532297537)

[AA. REJECTION OF BIDS 5](#_Toc532297538)

[BB. RESIDENT BIDDER 5](#_Toc532297539)

[CC. AWARD 5](#_Toc532297540)

[II. TERMS AND CONDITIONS 7](#_Toc532297541)

[A. GENERAL 7](#_Toc532297542)

[B. NOTIFICATION 8](#_Toc532297543)

[C. NOTICE (POC) 8](#_Toc532297544)

[D. GOVERNING LAW 8](#_Toc532297545)

[E. BEGINNING OF WORK 8](#_Toc532297546)

[F. CHANGE ORDERS OR SUBSTITUTIONS 8](#_Toc532297547)

[G. BREACH 9](#_Toc532297548)

[H. NON-WAIVER OF BREACH 9](#_Toc532297549)

[I. SEVERABILITY 9](#_Toc532297550)

[J. INDEMNIFICATION 10](#_Toc532297551)

[K. ATTORNEY'S FEES 10](#_Toc532297552)

[L. ASSIGNMENT, SALE, OR MERGER 11](#_Toc532297553)

[M. CONTRACTING WITH OTHER POLITICAL SUB-DIVISIONS OF THE STATE OR ANOTHER STATE 11](#_Toc532297554)

[N. FORCE MAJEURE 11](#_Toc532297555)

[O. CONFIDENTIALITY 12](#_Toc532297556)

[P. EARLY TERMINATION 12](#_Toc532297557)

[Q. CONTRACT CLOSEOUT 13](#_Toc532297558)

[III. CONTRACTOR DUTIES 14](#_Toc532297559)

[A. INDEPENDENT CONTRACTOR / OBLIGATIONS 14](#_Toc532297560)

[B. EMPLOYEE WORK ELIGIBILITY STATUS 14](#_Toc532297561)

[C. COMPLIANCE WITH CIVIL RIGHTS LAWS AND EQUAL OPPORTUNITY EMPLOYMENT / NONDISCRIMINATION (Statutory) 15](#_Toc532297562)

[D. COOPERATION WITH OTHER CONTRACTORS 15](#_Toc532297563)

[E. PERMITS, REGULATIONS, LAWS 15](#_Toc532297564)

[F. OWNERSHIP OF INFORMATION AND DATA / DELIVERABLES 16](#_Toc532297565)

[G. NOTICE OF POTENTIAL CONTRACTOR BREACH 16](#_Toc532297566)

[H. ANTITRUST 16](#_Toc532297567)

[I. CONFLICT OF INTEREST 16](#_Toc532297568)

[J. STATE PROPERTY 17](#_Toc532297569)

[K. SITE RULES AND REGULATIONS 17](#_Toc532297570)

[L. ADVERTISING 17](#_Toc532297571)

[M. NEBRASKA TECHNOLOGY ACCESS STANDARDS (Statutory) 17](#_Toc532297572)

[N. DISASTER RECOVERY/BACK UP PLAN 18](#_Toc532297573)

[O. DRUG POLICY 18](#_Toc532297574)

[IV. PAYMENT 19](#_Toc532297575)

[A. PROHIBITION AGAINST ADVANCE PAYMENT 19](#_Toc532297576)

[B. TAXES 19](#_Toc532297577)

[C. INVOICES 19](#_Toc532297578)

[D. INSPECTION AND APPROVAL 19](#_Toc532297579)

[E. PAYMENT (Statutory) 20](#_Toc532297580)

[F. LATE PAYMENT (Statutory) 20](#_Toc532297581)

[G. SUBJECT TO FUNDING / FUNDING OUT CLAUSE FOR LOSS OF APPROPRIATIONS (Statutory) 20](#_Toc532297582)

[H. RIGHT TO AUDIT (Statutory) 20](#_Toc532297583)

[V. SCOPE OF WORK 21](#_Toc532297584)

[A. SCOPE 21](#_Toc532297585)

[B. AMENDMENT 21](#_Toc532297586)

[C. REVISIONS 21](#_Toc532297587)

[VI. INVITATION TO BID - TECHNICAL SPECIFICATIONS 22](#_Toc532297588)

[A. BIDDER INSTRUCTIONS 22](#_Toc532297589)

[B. NON-COMPLIANCE STATEMENT 22](#_Toc532297590)

[**C.** **SEQUENTIAL XRF SPECTROMETER EQUIPMENT** 22](#_Toc532297591)

[**D.** **RADIATION SAFETY** 23](#_Toc532297592)

[**E.** **X-RAY SYSTEM:** 23](#_Toc532297593)

[**F.** **COMPUTER SYSTEM AND SOFTWARE** 25](#_Toc532297594)

[G. INSTALLATION AND TRAINING 26](#_Toc532297595)

[H. SYSTEM WARRANTY: 26](#_Toc532297596)

[I. TECHNICAL SUPPORT: 27](#_Toc532297597)

[J. PREVENTATIVE MAINTENANCE SERVICE PLAN: 27](#_Toc532297598)

[K. SERVICE CALLS: 27](#_Toc532297599)

[L. METHOD DEVELOPMENT: 28](#_Toc532297600)

[M. TRADE-IN: 28](#_Toc532297601)

[N. REMOVAL OF EXISTING XRF SPECTROMETER EQUIPMENT: 28](#_Toc532297602)

[O. ANNUAL USAGE, ESTIMATED 29](#_Toc532297603)

[P. DELIVERY ARO 29](#_Toc532297604)

[Q. PACKAGING 30](#_Toc532297605)

[R. ORDERS 30](#_Toc532297606)

[S. QUALITY 30](#_Toc532297607)

[**T.** **CORE LIST AND CATALOG/NON-CORE: PRICES** 31](#_Toc532297608)

[**U.** **CORE LIST and CATALOG/NON-CORE: CORE LIST PRICING** 32](#_Toc532297609)

[**V.** **CORE LIST AND CATALOG/NON-CORE: CATALOG/NON-CORE PRICING/PERCENTAGES** 32](#_Toc532297610)

[**W.** **CORE LIST and CATALOG/NON-CORE: ADDITIONAL PRICE LISTS AND CATALOGS** 33](#_Toc532297611)

[**X.** **CORE LIST and CATALOG/NON-CORE: USAGE REPORTS** 33](#_Toc532297612)

[Y. GRAY MARKET PRODUCTS PROHIBITION 34](#_Toc532297613)

[Z. AUTHORIZED DEALER & WARRANTY 34](#_Toc532297614)

[AA. WARRANTY 34](#_Toc532297615)

[BB. SUBSTITUTIONS 35](#_Toc532297616)

[CC. SECRETARY OF STATE REGISTRATION REQUIREMENTS 36](#_Toc532297617)

[Form A Bidder Contact Sheet 37](#_Toc532297618)

# GLOSSARY OF TERMS

**AASHTO:** American Association of State Highway and Transportation Officials.

Acceptance Test Procedure: Benchmarks and other performance criteria, developed by the State or other sources of testing standards, for measuring the effectiveness of products or goods and the means used for testing such performance.

Addendum: Something to be added or deleted to an existing document; a supplement.

After Receipt of Order (ARO): After Receipt of Order

Agency: Any state agency, board, or commission other than the University of Nebraska, the Nebraska State colleges, the courts, the Legislature, or any other office or agency established by the Constitution of Nebraska.

Agent/Representative: A person authorized to act on behalf of another.

Amend: To alter or change by adding, subtracting, or substituting.

Amendment: A written correction or alteration to a document.

Appropriation: Legislative authorization to expend public funds for a specific purpose. Money set apart for a specific use.

**ASTM**: American Society for Testing and Materials

Award: All purchases, leases, or contracts which are based on competitive bids will be awarded according to the provisions in the ITB. The State reserves the right to reject any or all bids, wholly or in part, or to award to multiple Bidders in whole or in part. The State reserves the right to waive any deviations or errors that are not material, do not invalidate the legitimacy of the bid, and do not improve the Bidder’s competitive position. All awards will be made in a manner deemed in the best interest of the State.

**Best and Final Offer (BAFO)**: In a competitive bid, the final offer submitted which contains the bidder’s (vendor’s) most favorable terms for price.

Bid/Proposal: The offer submitted by a vendor in a response to written solicitation.

Bid Bond: An insurance agreement, accompanied by a monetary commitment, by which a third party (the surety) accepts liability and guarantees that the vendor will not withdraw the bid.

Bidder: A vendor who submits an offer bid in response to a written solicitation.

Business: Any corporation, partnership, individual, sole proprietorship, joint-stock company, joint venture, or any other private legal entity.

Business Day: Any weekday, except State-recognized holidays.

Calendar Day: Every day shown on the calendar including Saturdays, Sundays, and State/Federal holidays.

Cancellation: To call off or revoke a purchase order without expectation of conducting or performing it at a later time.

Central Processing Unit (CPU): Any computer or computer system that is used by the State to store, process, or retrieve data or perform other functions using Operating Systems and applications software.

Change Order: Document that provides amendments to an executed purchase order.

Collusion: An agreement or cooperation between two or more persons or entities to accomplish a fraudulent, deceitful, or unlawful purpose.

Commodities: Any equipment, material, supply or goods; anything movable or tangible that is provided or sold.

Commodities Description: Detailed descriptions of the items to be purchased; may include information necessary to obtain the desired quality, type, color, size, shape, or special characteristics necessary to perform the work intended to produce the desired results.

Competition: The effort or action of two or more commercial interests to obtain the same business from third parties.

Confidential Information: Unless otherwise defined below, “Confidential Information” shall also mean proprietary trade secrets, academic and scientific research work which is in progress and unpublished, and other information which if released would give advantage to business competitors and serve no public purpose (see Neb. Rev. Stat. §84-712.05(3)). In accordance with Nebraska Attorney General Opinions 92068 and 97033, proof that information is proprietary requires identification of specific, named competitor(s) who would be advantaged by release of the information and the specific advantage the competitor(s) would receive.

Contract: An agreement between two or more parties creating obligations that are enforceable or otherwise recognizable at law; the writing that sets forth such an agreement.

Contract Administration: The management of the contract which includes and is not limited to contract signing, contract amendments and any necessary legal actions.

Contract Management: The management of day to day activities at the agency which includes and is not limited to ensuring deliverables are received, specifications are met, handling meetings and making payments to the Contractor.

Contract Period: The duration of the contract.

Contractor: Any individual or entity having a contract or awarded purchase order to furnish commodities or goods.

Cooperative Purchasing: The combining of requirements of two or more political entities to obtain advantages of volume purchases, reduction in administrative expenses or other public benefits.

Copyright: A property right in an original work of authorship fixed in any tangible medium of expression, giving the holder the exclusive right to reproduce, adapt and distribute the work.

**Core List:** Identifies the most commonly purchased items from contractor.

Critical Program Error: Any Program Error, whether or not known to the State, which prohibits or significantly impairs use of the Licensed Software as set forth in the documentation and intended in the contract.

Customer Service: The process of ensuring customer satisfaction by providing assistance and advice on those products or goods provided by a Contractor.

Default: The omission or failure to perform a contractual duty.

Deviation: Any proposed change(s) or alteration(s) to either the terms and conditions or deliverables within the scope of the written solicitation or contract.

Evaluation: The process of examining an offer after opening to determine the vendor’s responsibility, responsiveness to requirements, and to ascertain other characteristics of the offer that relate to determination of the successful award.

Evaluation Committee: Committee(s) appointed by the requesting agency that advises and assists the procuring office in the evaluation of bids/s (offers made in response to written solicitations).

Extension: Continuance of a contract for a specified duration upon the agreement of the parties beyond the original Contract Period. Not to be confused with “Renewal Period”.

Free on Board (F.O.B.) Destination: The delivery charges are included in the quoted price and prepaid by the vendor. Vendor is responsible for all claims associated with damages during delivery of product.

Free on Board (F.O.B.) Point of Origin: The delivery charges are not included in the quoted price and are the responsibility of the agency. Agency is responsible for all claims associated with damages during delivery of product.

Foreign Corporation: A foreign corporation that was organized and chartered under the laws of another state, government, or country.

Installation Date: The date when the procedures described in “Installation by Contractor“, and “Installation by State”, as found in the ITB, ITB (written solicitation) or contract are completed.

Invalid Bid: i.e., a fax or email response for a term contract.

Invitation to Bid (ITB): A written solicitation utilized for obtaining competitive offers.

Late Bid: An offer received after the Opening Date and Time.

Licensed Software Documentation: The user manuals and any other materials in any form or medium customarily provided by the Contractor to the users of the Licensed Software which will provide the State with sufficient information to operate, diagnose, and maintain the Licensed Software properly, safely, and efficiently.

Mandatory/Must: Required, compulsory, or obligatory.

May: Discretionary, permitted; used to express possibility.

Module (see System): A collection of routines and data structures that perform a specific function of software.

Must: See Shall/Will/Must.

**NA:** Not Applicable.

National Institute for Governmental Purchasing (NIGP): National Institute of Governmental Purchasing – Source used for assignment of universal commodity codes to goods and goods.

**NDOT:** Nebraska Department of Transportation.

Non-Core List: Identifies additional items available from contractor not listed as part of the Core-List.

Open Market Purchase: Authorization may be given to an agency to purchase items above direct purchase authority due to the unique nature, price, quantity, location of the using agency, or time limitations by the AS Materiel Division, State Purchasing Bureau.

Opening Date and Time: Specified date and time for the public opening of received, labeled, and sealed formal bids.

Operating System: The control program in a computer that provides the interface to the computer hardware and peripheral devices, and the usage and allocation of memory resources, processor resources, input/output resources, and security resources.

Outsourcing: The contracting out of a business process which an organization may have previously performed internally or has a new need for, to an independent organization from which the process is purchased back.

Payroll & Financial Center (PFC): Electronic procurement system of record.

Performance Bond: An insurance agreement, accompanied by a monetary commitment, by which a third party (the surety) accepts liability and guarantees that the Contractor fulfills any and all obligations under the contract.

Platform: A specific hardware and Operating System combination that is different from other hardware and Operating System combinations to the extent that a different version of the Licensed Software product is required to execute properly in the environment established by such hardware and Operating System combination.

Point of Contact (POC): The person designated to receive communications and to communicate

Pre-Bid/Pre-Proposal Conference: A meeting scheduled for the purpose of clarifying a written solicitation and related expectations.

Product: Something that is distributed commercially for use or consumption and that is usually (1) tangible personal property, (2) the result of fabrication or processing, and (3) an item that has passed through a chain of commercial distribution before ultimate use or consumption.

Program Error: Code in Licensed Software which produces unintended results or actions, or which produces results or actions other than those described in the specifications. A program error includes, without limitation, any Critical Program Error.

Program Set: The group of programs and products, including the Licensed Software specified in the ITB, plus any additional programs and products licensed by the State under the contract for use by the State.

Project: The total scheme, program, or method worked out for the accomplishment of an objective, including all documentation, commodities, and goods to be provided under the contract.

Proposal: See Bid.

Proprietary Information: Proprietary information is defined as trade secrets, academic and scientific research work which is in progress and unpublished, and other information which if released would give advantage to business competitors and service no public purpose (see Neb. Rev. Stat. § 84-712.05(3)). In accordance with Attorney General Opinions 92068 and 97033, proof that information is proprietary requires identification of specific named competitor(s) advantaged by release of the information and the demonstrated advantage the named competitor(s) would gain by the release of information.

Protest/Grievance: A complaint about a governmental action or decision related to an ITB or resultant contract, brought by a vendor who has timely submitted a bid response in connection with the award in question, to AS Materiel Division or another designated agency with the intention of achieving a remedial result.

Public Bid Opening: The process of opening correctly submitted offers at the time and place specified in the written solicitation and in the presence of anyone who wished to attend.

Recommended Hardware Configuration: The data processing hardware (including all terminals, auxiliary storage, communication, and other peripheral devices) to the extent utilized by the State as recommended by the Contractor.

Release Date: The date of public release of the written solicitation to seek offers

Renewal Period: Optional contract periods subsequent to the original Contract Period for a specified duration with previously agreed to terms and conditions. Not to be confused with Extension.

Request for Information (RFI): A general invitation to vendors requesting information for a potential future solicitation. The RFI is typically used as a research and information gathering tool for preparation of a solicitation.

Responsible Bidder: A Bidder who has the capability in all respects to perform fully and lawfully all requirements with integrity and reliability to assure good faith performance.

Responsive Bidder: A Bidder who has submitted a bid which conforms to all requirements of the solicitation document.

Shall/Will/Must: An order/command; mandatory.

Should: Expected; suggested, but not necessarily mandatory.

Software License: Legal instrument with or without printed material that governs the use or redistribution of licensed software.

Sole Source – Commodity: When an item is available from only one source due to the unique nature of the requirement, its supplier, or market conditions.

Sole Source – Service: A service of such a unique nature that the vendor selected is clearly and justifiably the only practical source to provide the service. Determination that the vendor selected is justifiably the sole source is based on either the uniqueness of the service or sole availability at the location required.

Specifications: The detailed statement, especially of the measurements, quality, materials, and functional characteristics, or other items to be provided under a contract.

**Statutory:** These clauses are controlled by state law and are not subject to negotiation.

**Subcontractor:** Individual or entity with whom the contractor enters a contract to perform a portion of the work awarded to the contractor.

System (see Module): Any collection or aggregation of two (2) or more Modules that is designed to function, or is represented by the Contractor as functioning or being capable of functioning, as an entity.

**TBA:** To Be Announced

Termination: Occurs when the contract expires or either party, pursuant to a power created by agreement or law puts an end to the contract prior to the stated expiration date. All obligations which are still executory on both sides are discharged but any right based on prior breach or performance survives.

**Third-Party:** Any person or entity, including but not limited to fiduciaries, shareholders, owners, officers, managers, employees, legally disinterested persons, and sub-contractors or agents, and their employees. It shall not include any entity or person who is an interested Party to the contract or agreement.

Trade Secret: Information, including, but not limited to, a drawing, formula, pattern, compilation, program, device, method, technique, code, or process that (a) derives independent economic value, actual or potential, from not being known to, and not being ascertainable by proper means by, other persons who can obtain economic value from its disclosure or use; and (b) is the subject of efforts that are reasonable under the circumstances to maintain its secrecy (see Neb. Rev. Stat. §87-502(4)).

Trademark: A word, phrase, logo, or other graphic symbol used by a manufacturer or vendor to distinguish its product from those of others, registered with the U.S. Patent and Trademark Office.

Upgrade: Any change that improves or alters the basic function of a product of service.

Vendor: An individual or entity lawfully conducting business in the State, or licensed to do so, who seeks to provide goods or goods under the terms of a written solicitation.

Vendor Performance Report: A report issued to the Contractor by SPB when products or goods delivered or performed fail to meet the terms of the purchase order, contract, and/or specifications, as reported to SPB by the agency. The SPB shall contact the Contractor regarding any such report. The vendor performance report will become a part of the permanent record for the Contractor. The State may require vendor to cure. Two such reports may be cause for immediate termination.

Will: See Shall/Will/Must.

Work Day: See Business Day.

1. PROCUREMENT PROCEDURE
   1. GENERAL INFORMATION

The ITB is designed to solicit bids from qualified Bidders who will be responsible for providing **Sequential XRF Spectrometer Equipment with External Water Recirculating System for Nebraska Department of Transportation (NDOT) Materials and Research Division** at a competitive and reasonable cost. A detailed description can be found in Section VI. – Invitation to Bid Technical Specifications.

Bids shall conform to all instructions, conditions, and requirements included in the ITB. Prospective Bidders are expected to carefully examine all documents, schedules, and requirements in this ITB, and respond to each requirement in the format prescribed. Bids may be found non-responsive if they do not conform to the ITB.

* 1. PROCURING OFFICE AND COMMUNICATION WITH STATE STAFF AND EVALUATORS

Procurement responsibilities related to this ITB reside with the SPB. The point of contact (POC) for the procurement is as follows:

Name: René A. Botts

Agency: State Purchasing Bureau

Address: 1526 K Street, Suite 130

Lincoln, NE 68508

Telephone: 402-471-6500

E-Mail: [as.materielpurchasing@nebraska.gov](mailto:as.materielpurchasing@nebraska.gov)

* 1. COMMUNICATION WITH STATE STAFF

From the date the ITB is issued until the Intent to Award is issued communication from the Bidder is limited to communication with the State Purchasing Bureau (SPB). Only SPB is empowered to make binding statements regarding this ITB. SPB will issue any clarifications or opinions regarding this ITB in writing. Only SPB can modify the ITB, answer questions, render opinions, and only the SPB can award a contract. Bidders shall not have any communication with, or attempt to communicate or influence any evaluator involved in this ITB. After the intent to award is issued the Bidder may communicate with individuals the State has designated as responsible for negotiating the contract on behalf of the State.

The following exceptions to these restrictions are permitted:

* + 1. Contact made pursuant to pre-existing contracts or obligations;
    2. Contact required by the schedule of events or an event scheduled later by the SPB; and
    3. Contact required for negotiation and execution of the final contract.

Violation of these conditions may be cause to reject a Bidder’s bid and/or withdraw an Intent to Award, or terminate a contract if the State determines there has been a violation of these procurement procedures.

* 1. SCHEDULE OF EVENTS

The State expects to adhere to the procurement schedule shown below, but all dates are approximate and subject to change.

| ACTIVITY | | DATE/TIME |
| --- | --- | --- |
| 1. 1 | Release ITB | December 11, 2018 |
|  | Last day to submit written questions | December 19, 2018 |
| 1. 1 | State responds to written questions through ITB “Addendum” and/or “Amendment” to be posted to the Internet at:  <http://das.nebraska.gov/materiel/purchasing.html> | December 21, 2018 |
| 1. 1 | Bid opening  Location: State Purchasing Bureau  1526 K Street, Suite 130  Lincoln, NE 68508 | January 10, 2019  2:00 PM  Central Time |
| 1. 1 | Review for conformance of mandatory requirements | TBA |
| 1. 1 | Evaluation period | TBA |
| 1. 1 | Post “Letter of Intent to Award” to Internet at: <http://das.nebraska.gov/materiel/purchasing.html> | TBA |
| 1. 1 | Contract finalization period | TBA |
| 1. 1 | Contract award | TBA |
| 1. 2 | Contractor start date | TBA |

* 1. WRITTEN QUESTIONS AND ANSWERS

Questions regarding the meaning or interpretation of any ITB provision must be submitted in writing to the SPB and clearly marked “ITB Number 5987 OF; **XRF Spectrometer Equipment with External Water Recirculating System for Nebraska Department of Transportation (NDOT) Materials and Research Division** Questions”. SPB is not obligated to respond to questions that are received late per the Schedule of Events.

Bidders should present, as questions, any assumptions upon which the Bidder's bid is or might be developed. Bids will be evaluated without consideration of any known or unknown assumptions of a Bidder. The contract will not incorporate any known or unknown assumptions of a Bidder.

It is preferred that questions be sent via e-mail to [as.materielpurchasing@nebraska.gov](mailto:as.materielpurchasing@nebraska.gov), but may be delivered by hand or by U.S. Mail. It is recommended that Bidders submit questions using the following format.

|  |  |  |
| --- | --- | --- |
| ITB Section Reference | ITB Page Number | Question |
|  |  |  |

Written answers will be posted at <http://das.nebraska.gov/materiel/purchasing.html> per the Schedule of Events.

* 1. RECYCLING (§ 81-15,159(d)(2))

Preference will be given to items which are manufactured or produced from recycled material or which can be readily reused or recycled after their normal use. Preference will also be given to purchases of corn-based biodegradable plastics and road deicers if available and suitable. No preference shall be given if such preference would result in the purchase of products, materials, or supplies that are of inadequate quality or of substantially higher cost.

* 1. SECRETARY OF STATE/TAX COMMISSIONER REGISTRATION REQUIREMENTS (Statutory)

All Bidders must be authorized to transact business in the State and comply with all Nebraska Secretary of State Registration requirements. The Bidder who is the recipient of an Intent to Award will be required to certify that it has complied and produce a true and correct copy of its current (within ninety (90) calendar days of the intent to award) Certificate or Letter of Good Standing, or in the case of a sole proprietorship, provide written documentation of sole proprietorship and the United States Citizenship Attestation Form, available on the DAS website at <http://das.nebraska.gov/materiel/purchasing.html>. This must be accomplished prior to execution of the contract.

* 1. ETHICS IN PUBLIC CONTRACTING

The State reserves the right to reject bids, withdraw an intent to award or award, or terminate a contract if a Bidder commits or has committed ethical violations, which include, but are not limited to:

* + 1. Offering or giving, directly or indirectly, a bribe, fee, commission, compensation, gift, gratuity, or anything of value to any person or entity in an attempt to influence the bidding process;
    2. Utilize the services of lobbyists, attorneys, political activists, or consultants to influence or subvert the bidding process;
    3. Being considered for, presently being, or becoming debarred, suspended, ineligible, or excluded from contracting with any state or federal entity:
    4. Submitting a bid on behalf of another party or entity;
    5. Collude with any person or entity to influence the bidding process, submit sham bids, preclude bidding, fix pricing or costs, create an unfair advantage, subvert the bid, or prejudice the State,

The Bidder shall include this clause in any subcontract entered into for the exclusive purpose of performing this contract.

Bidder shall have an affirmative duty to report any violations of this clause by the Bidder throughout the bidding process, and throughout the term of this contract for the successful Bidder and their subcontractors.

* 1. SPECIFICATIONS

Any manufacturer’s names, trade names, brand names, information and/or catalog numbers listed in a specification are for reference and not intended to limit competition, but will be used as the standard by which equivalent material offered will be judged. The Materiel Administrator will be the sole judge of equivalency. The Bidder may offer any brands which meets or exceeds the specification. When a specific product is required, the ITB will so state. Any item bid is to be the latest current model under standard production at the time of order. No used or refurbished equipment will be accepted, unless otherwise stated.

* 1. SAMPLES

When requested, samples shall be furnished at the Bidder’s expense prior to the opening of the bid, unless otherwise specified. Each sample must be labeled clearly and identify the Bidder’s name, the ITB number and the item number. Samples submitted must be representative of the commodities or equipment which would be delivered if awarded the bid. The State reserves the right to request samples even though this may not have been set forth in the ITB. Samples not destroyed in testing will be returned at Bidder’s expense, if requested, or will be donated to a public institution.

* 1. BID PREPARATION COSTS

The State shall not incur any liability for any costs incurred by Bidders in replying to this ITB, including any activity related to bidding on this ITB.

* 1. DISCOUNTS

Prices quoted shall be inclusive of ALL trade discounts. Cash discount terms of less than thirty (30) days will not be considered as part of the bid. Cash discount periods will be computed from the date of receipt of a properly executed claim voucher or the date of completion of delivery of all items in a satisfactory condition, whichever is later.

* 1. PRICES

All prices, costs, and terms and conditions outlined in the bid shall remain fixed and valid commencing on the opening date of the bid until award of the contract or the ITB is cancelled. Prices quoted on the ITB form or Cost Sheet shall remain fixed for one (1) year of the contract period.  Any request for a price increase subsequent to the one (1) year must be submitted in writing to the SPB for approval, and be accompanied by documentation justifying the price increase. These documents include, but are not limited to: 1) invoices for physical components of contracted item(s) Further documentation may be required by the State to justify the increase. The State reserves the right to deny any requested price increase. No price increases are to be billed to any State Agencies prior to written amendment of the contract by the parties.

The State reserves the right to deny any requested price increase. No price increases are to be billed to any State Agencies prior to written amendment of the contract by the parties.

* 1. DEVIATIONS FROM THE INVITATION TO BID

The requirements contained in the ITB (Sections II. through VI.) become a part of the terms and conditions of the contract resulting from this ITB. Any deviations from the ITB in Section II. through VI. must be clearly defined by the Bidder in its bid and, if accepted by the State, will become part of the contract. Any specifically defined deviations must not be in conflict with the basic nature of the ITB, mandatory requirements, or applicable state or federal laws or statutes. “Deviation”, for the purposes of this ITB, means any proposed changes or alterations to either the contractual language or deliverables within the scope of this ITB. The State discourages deviations and reserves the right to reject proposed deviations.

* 1. ALTERNATE/EQUIVALENT BIDS

Bidder may offer bids which are at variance from the express specifications of the ITB. The State reserves the right to consider and accept such bids if, in the judgment of the Materiel Administrator, the bid will result in goods and/or services equivalent to or better than those which would be supplied in the original bid specifications. Bidders must indicate on the ITB the manufacturer’s name, number and shall submit with their bid, sketches, descriptive literature and/or complete specifications. Reference to literature submitted with a previous bid will not satisfy this provision. Bids which do not comply with these requirements are subject to rejection. In the absence of any stated deviation or exception, the bid will be accepted as in strict compliance with all terms, conditions and specification, and the Bidder shall be held liable therefore.

* 1. LUMP SUM OR ‘ALL OR NONE’ BIDS

The State reserves the right to purchase item-by-item, by groups or as a total when the State may benefit by so doing. Bidders may submit a bid on an “all or none” or “lump sum” basis, but should also submit a bid on an item-by-item basis. The term “all or none” means a conditional bid which requires the purchase of all items on which bids are offered and Bidder declines to accept award on individual items; a “lump sum” bid is one in which the Bidder offers a lower price than the sum of the individual bids if all items are purchased, but agrees to deliver individual items at the prices quoted.

* 1. BID REQUIREMENTS

The bids will first be examined to determine if all requirements listed below have been addressed and whether further evaluation is warranted. Bids not meeting the requirements may be rejected as non-responsive. The requirements are:

* + 1. Original Commodity ITB form signed using an indelible method (electronic signatures are not acceptable);
    2. Clarity and responsiveness of the bid;
    3. Completed Sections II. through VI. ;
    4. Completed ITB Form or State’s Bid Sheet.
  1. FAILURE TO COMPLY WITH INVITATION TO BID

Violation of the terms and conditions contained in this ITB or any resultant contract, at any time before or after the award, shall be grounds for action by the State which may include, but is not limited to, the following:

* + 1. Rejection of a Bidder’s bid;
    2. Withdrawal of the Intent to Award;
    3. Withdrawal of the Award;
    4. Termination of the resulting contract;
    5. Legal action; or,
    6. Suspension of the Bidder from further bidding with the State for the period of time relative to the seriousness of the violation, such period to be within the sole discretion of the State.
  1. SUBMISSION OF BIDS

**\*\*\*\*\*\*\*\*ALL BIDS MUST BE SUBMITTED IN A SEALED ENVELOPE OR CONTAINER!\*\*\*\*\*\*\*\***

Only one (1) original bid shall be submitted. Each bid should be in a separate envelope or container. Bid responses should include the completed Form A, “Bidder Contact Sheet”. Bids must reference the ITB number and be sent to the specified address. Please note that the address label should appear as specified below, on the face of each container or Bidder’s bid response packet. The ITB number must be included in all correspondence.

Name: René A. Botts

Agency: State Purchasing Bureau

Address: 1526 K Street, Suite 130

Lincoln, NE 68508

Telephone: 402-471-6500

E-Mail: [as.materielpurchasing@nebraska.gov](mailto:as.materielpurchasing@nebraska.gov)

If a recipient phone number is required for delivery purposes, 402-471-6500 should be used.

Emphasis should be concentrated on conformance to the ITB instructions, responsiveness to requirements, completeness, and clarity of content. If the Bidder’s bid is presented in such a fashion that makes evaluation difficult or overly time consuming the State reserves the right to reject the bid as non-conforming.

Sealed bids must be received in the State Purchasing Bureau by the date and time of the bid opening per the Schedule of Events. No late bids will be accepted.

It is the responsibility of the bidder to check the website for all information relevant to this solicitation to include addenda and/or amendments issued prior to the opening date. Website address is as follows: <http://das.nebraska.gov/materiel/purchasing.html>

By signing the “ITB” form, the Bidder guarantees compliance with the provisions stated in this ITB.

* 1. EMAIL SUBMISSIONS

The SPB will not accept bids by email except for one-time purchases under $50,000.00. .

* 1. BID CORRECTIONS

A bidder may correct a mistake in a bid prior to the time of opening by giving written notice to the State of intent to withdraw the bid for modification or to withdraw the bid completely. Changes in a bid after opening are acceptable only if the change is made to correct a minor error that does not affect price, quantity, quality, delivery, or contractual conditions. In case of a mathematical error in extension of price, unit price shall govern.

* 1. LATE BIDS

Bids received after the time and date of the bid opening will be considered late bids. Late bids will be returned unopened, if requested by the Bidder and at Bidder's expense. The State is not responsible for bids that are late or lost regardless of cause or fault.

* 1. BID OPENING

Anyone may attend the opening.  It is considered a public opening.  The Buyer will read the names of the respondents.  Depending upon the complexity of the bid, the buyer may read the bids aloud or allow bids be available for viewing by the public during the bid opening.  Once the bid opening has concluded, the bids will not be available for viewing until the Intent to Award has been posted.  An initial bid tabulation will be posted to the website as soon as feasible. Information identified as proprietary by the submitting vendor, in accordance with the RFP/ITB and state statute, will not be posted. If the state determines submitted information should not be withheld, in accordance with the [Public Records Act](https://ago.nebraska.gov/public_records/statutes), or if ordered to release any withheld information, said information may then be released. The submitting bidder will be notified of the release and it shall be the obligation of the submitting bidder to take further action, if it believes the information should not be released.

* 1. BID TABULATIONS

Bid tabulations are available on the website at: [**http://www.das.state.ne.us/materiel/purchasing/bidtabs.htm**](http://www.das.state.ne.us/materiel/purchasing/bidtabs.htm).

* 1. BEST AND FINAL OFFER

The State reserves the right to request Best and Final Offers. However, a Bidder should provide its best offer in its original bid. Bidders should not expect that the State will request a best and final offer.

* 1. REFERENCE AND CREDIT CHECKS

The State reserves the right to conduct and consider reference and credit checks. Reference or credit checks may be grounds to reject a bid, or withdraw an intent to award or award of a contract. The State reserves the right to use third parties to conduct reference and credit checks.

* 1. REJECTION OF BIDS

The State reserves the right to reject any or all bids, wholly or in part, in the best interest of the State.

* 1. RESIDENT BIDDER

Pursuant to Neb. Rev. Stat. §§ 73-101.01 through 73-101.02, a Resident Bidder shall be allowed a preference against a Non-resident Bidder from a state which gives or requires a preference to Bidders from that state. The preference shall be equal to the preference given or required by the state of the Nonresident Bidders. Where the lowest responsible bid from a resident Bidder is equal in all respects to one from a nonresident Bidder from a state which has no preference law, the resident Bidder shall be awarded the contract. The provision of this preference shall not apply to any contract for any project upon which federal funds would be withheld because of the provisions of this preference.

* 1. AWARD

All purchases, leases, or contracts which are based on competitive bids will be awarded according to the provisions in the ITB. The State reserves the right to reject any or all bids, in whole or in part, or to award to multiple Bidders in whole or in part, and at its discretion, may withdraw or amend the ITB at any time. The State reserves the right to waive any deviations or errors that are not material, do not invalidate the legitimacy of the bid, and do not improve the Bidder’s competitive position. All awards will be made in a manner deemed in the best interest of the State. The ITB does not commit the State to award a contract. If, in the opinion of the State, revisions or amendments will require substantive changes in bids, the bid opening date may be extended.

By submitting a bid in response to this ITB, the Bidder grants to the State the right to contact or arrange a visit in person with any or all of the Bidder’s clients.

Once the Intent to Award decision has been made, an Intent to Award will be posted to the Internet at:

<http://das.nebraska.gov/materiel/purchasing.html>

The protest procedure is available on the Internet at:

<http://das.nebraska.gov/materiel/purchase_bureau/docs/vendors/protest/ProtestGrievanceProcedureForVendors%20(2).pdf>

Any protests must be filed by a vendor within ten (10) business days after the Intent to Award is posted to the Internet.

The State reserves the right to award contracts in a manner, and utilizing methods, selected in the State's best interest and discretion. The State may waive informalities or irregularities in bids if the waiver is in the best interest of the State and such waiver does not prejudice other Bidders in the State's discretion. After evaluation of the bids, the State may take, in the State's discretion, one or more of the following actions:

Accept or reject a portion of or all of a bid;

Accept or reject all bids;

Withdraw the ITB;

Elect to rebid the ITB;

Award single lines or multiple lines to one or more Bidders; or,

Award one or more complete contracts.

The State reserves the right to make awards that are in the best interest of the State. The State may consider, but is not limited to, one (1) or more of the following award criteria:

Price;

Location;

Quality;

Delivery time; and,

State contract management requirements and/or costs.

2. TERMS AND CONDITIONS

**Bidders should complete Section II. through VI. as part of their bid**. Bidder is expected to read the Terms and Conditions and must initial either accept, reject, or reject and provide alternative language for each clause. The Bidder should also provide an explanation of why the Bidder rejected the clause or rejected the clause and provided alternate language using ‘Track Changes’. Upon request an electronic copy of the bid with ‘Track Changes’ must be submitted in an editable Word format. By signing the ITB Bidder is agreeing to be legally bound by all the accepted terms and conditions, and any proposed alternative terms and conditions submitted with the bid. The State reserves the right to negotiate rejected or proposed alternative language. If the State and Bidder fail to agree on the final Terms and Conditions, the State reserves the right to reject the bid. The State is soliciting bids in response to the ITB.  The State reserves the right to reject bids that attempt to substitute the Bidder’s commercial contracts and/or documents for this ITB.

The Bidder should submit with their bid any license, user agreement, service level agreement, or similar documents that the Bidder wants incorporated in the Contract. Upon notice of Intent to Award, the Bidder must submit a copy of these documents in an editable Word format. The State will not consider incorporation of any document not submitted with the Bidder’s bid. These documents shall be subject to negotiation and will be incorporated as addendums if agreed to by the Parties.

If a conflict or ambiguity arises after the addendums have been negotiated and agreed to, the addendums shall be interpreted as follows:

* + 1. If only one (1) Party’s document has a particular clause then that clause shall control;
    2. If both Party’s documents have a similar clause, but the clauses do not conflict, the clauses shall be read together;
    3. If both Party’s documents have a similar clause, but the clauses conflict, the State’s clause shall control.
  1. GENERAL

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

The contract resulting from this ITB shall incorporate the following documents:

* + 1. Invitation to Bid and Addenda;
    2. Amendments to the ITB;
    3. Questions and Answers;
    4. Contractor’s bid (ITB);
    5. Award;
    6. The executed Contract and any Addenda; and,
    7. Amendments to the Contract

These documents constitute the entirety of the contract.

Unless otherwise specifically stated in a future contract amendment, in case of any conflict between the incorporated documents, the documents shall govern in the following order of preference with number one (1) receiving preference over all other documents and with each lower numbered document having preference over any higher numbered document: 1) Amendment to the executed Contract with the most recent dated amendment having the highest priority, 2) executed Contract and any attached Addenda, 3) Amendments to ITB and any Questions and Answers, 4) the original ITB document and any Addenda, and 5) the Contractor’s submitted Bid.

Any ambiguity or conflict in the contract discovered after its execution, not otherwise addressed herein, shall be resolved in accordance with the rules of contract interpretation as established in the State.

* 1. NOTIFICATION

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

* 1. NOTICE (POC)

The State reserves the right to appoint a Buyer's Representative to manage [or assist the Buyer in managing] the contract on behalf of the State. The Buyer's Representative will be appointed in writing, and the appointment document will specify the extent of the Buyer's Representative authority and responsibilities. If a Buyer's Representative is appointed, the Contractor will be provided a copy of the appointment document, and is expected to cooperate accordingly with the Buyer's Representative. The Buyer's Representative has no authority to bind the State to a contract, amendment, addendum, or other change or addition to the contract.

* 1. GOVERNING LAW

Notwithstanding any other provision of this contract, or any amendment or addendum(s) entered into contemporaneously or at a later time, the parties understand and agree that, (1) the State of Nebraska is a sovereign state and its authority to contract is therefore subject to limitation by the State’s Constitution, statutes, common law, and regulation; (2) this contract will be interpreted and enforced under the laws of the State of Nebraska; (3) any action to enforce the provisions of this agreement must be brought in the State of Nebraska per state law; (4) the person signing this contract on behalf of the State of Nebraska does not have the authority to waive the State's sovereign immunity, statutes, common law, or regulations; (5) the indemnity, limitation of liability, remedy, and other similar provisions of the final contract, if any, are entered into subject to the State's Constitution, statutes, common law, regulations, and sovereign immunity; and, (6) all terms and conditions of the final contract, including but not limited to the clauses concerning third-party use, licenses, warranties, limitations of liability, governing law and venue, usage verification, indemnity, liability, remedy or other similar provisions of the final contract are entered into specifically subject to the State's Constitution, statutes, common law, regulations, and sovereign immunity.

The Parties must comply with all applicable local, state and federal laws, ordinances, rules, orders, and regulations.

* 1. BEGINNING OF WORK

The Contractor shall not commence any billable work until a valid contract has been fully executed by the State and the successful Contractor. The Contractor will be notified in writing when work may begin.

* 1. CHANGE ORDERS OR SUBSTITUTIONS

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

The State and the Contractor, upon the written agreement, may make changes to the contract within the general scope of the ITB. Changes may involve specifications, the quantity of work, or such other items as the State may find necessary or desirable. Corrections of any deliverable, service, or work required pursuant to the contract shall not be deemed a change. The Contractor may not claim forfeiture of the contract by reasons of such changes.

The State or Contractor may prepare a written description of the work required due to the change and the Contractor shall prepare an itemized cost sheet for the change. Changes in work and the amount of compensation to be paid to the Contractor shall be determined in accordance with applicable unit prices if any, a pro-rated value, or through negotiations. The State shall not incur a price increase for changes that should have been included in the Contractor’s bid, were foreseeable, or result from difficulties with or failure of the Contractor’s bid or performance.

No change shall be implemented by the Contractor until approved by the State, and the Contract is amended to reflect the change and associated costs, if any. If there is a dispute regarding the cost, but both parties agree that immediate implementation is necessary, the change may be implemented, and cost negotiations may continue with both Parties retaining all remedies under the contract and law.

Vendor will not substitute any item that has been awarded without prior written approval of SPB.

* 1. BREACH

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

Either Party may terminate the contract, in whole or in part, if the other Party breaches its duty to perform its obligations under the contract in a timely and proper manner. Termination requires written notice of default and a thirty (30) calendar day (or longer at the non-breaching Party’s discretion considering the gravity and nature of the default) cure period. Said notice shall be delivered by Certified Mail, Return Receipt Requested, or in person with proof of delivery. Allowing time to cure a failure or breach of contract does not waive the right to immediately terminate the contract for the same or different contract breach which may occur at a different time.

In case of breach by the Contractor, the State may, without unreasonable delay, make a good faith effort to make a reasonable purchase or contract to purchased goods in substitution of those due from the contractor. The State may recover from the Contractor as damages the difference between the costs of covering the breach. Notwithstanding any clause to the contrary, the State may also recover the contract price together with any incidental or consequential damages defined in UCC Section 2-715, but less expenses saved in consequence of Contractor’s breach.

The State’s failure to make payment shall not be a breach, and the Contractor shall retain all available statutory remedies. (See Indemnity - Self-Insurance and Payment)

* 1. NON-WAIVER OF BREACH

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

The acceptance of late performance with or without objection or reservation by a Party shall not waive any rights of the Party nor constitute a waiver of the requirement of timely performance of any obligations remaining to be performed.

* 1. SEVERABILITY

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

If any term or condition of the contract is declared by a court of competent jurisdiction to be illegal or in conflict with any law, the validity of the remaining terms and conditions shall not be affected, and the rights and obligations of the parties shall be construed and enforced as if the contract did not contain the provision held to be invalid or illegal.

* 1. INDEMNIFICATION

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Accept (Initial) |  | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |  |

* + 1. **GENERAL**

The Contractor agrees to defend, indemnify, and hold harmless the State and its employees, volunteers, agents, and its elected and appointed officials (“the indemnified parties”) from and against any and all claims, liens, demands, damages, liability, actions, causes of action, losses, judgments, costs, and expenses of every nature, including investigation costs and expenses, settlement costs, and attorney fees and expenses (“the claims”), sustained or asserted against the State for personal injury, death, or property loss or damage, arising out of, resulting from, or attributable to the willful misconduct, negligence, error, or omission of the Contractor, its employees, Subcontractors, consultants, representatives, and agents, resulting from this contract, except to the extent such Contractor liability is attenuated by any action of the State which directly and proximately contributed to the claims.

* + 1. **INTELLECTUAL PROPERTY**

The Contractor agrees it will, at its sole cost and expense, defend, indemnify, and hold harmless the indemnified parties from and against any and all claims, to the extent such claims arise out of, result from, or are attributable to, the actual or alleged infringement or misappropriation of any patent, copyright, trade secret, trademark, or confidential information of any third party by the Contractor or its employees, Subcontractors, consultants, representatives, and agents; provided, however, the State gives the Contractor prompt notice in writing of the claim. The Contractor may not settle any infringement claim that will affect the State’s use of the Licensed Software without the State’s prior written consent, which consent may be withheld for any reason.

If a judgment or settlement is obtained or reasonably anticipated against the State’s use of any intellectual property for which the Contractor has indemnified the State, the Contractor shall, at the Contractor’s sole cost and expense, promptly modify the item or items which were determined to be infringing, acquire a license or licenses on the State’s behalf to provide the necessary rights to the State to eliminate the infringement, or provide the State with a non-infringing substitute that provides the State the same functionality. At the State’s election, the actual or anticipated judgment may be treated as a breach of warranty by the Contractor, and the State may receive the remedies provided under this ITB.

* + 1. **PERSONNEL**

The Contractor shall, at its expense, indemnify and hold harmless the indemnified parties from and against any claim with respect to withholding taxes, worker’s compensation, employee benefits, or any other claim, demand, liability, damage, or loss of any nature relating to any of the personnel, including subcontractor’s and their employees, provided by the Contractor.

* + 1. **SELF-INSURANCE (Statutory)**

The State is self-insured for any loss and purchases excess insurance coverage pursuant to Neb. Rev. Stat. § 81-8,239.01 (Reissue 2008). If there is a presumed loss under the provisions of this agreement, Contractor may file a claim with the Office of Risk Management pursuant to Neb. Rev. Stat. §81-8,829 through 81-8,306 for review by the State Claims Board. The State retains all rights and immunities under the State Miscellaneous (Section 81-8,294), Tort (Section 81-8,209), and Contract Claim Acts (Section 81-8,302), as outlined in Neb. Rev. Stat. § 81-8,209 et seq. and under any other provisions of law and accepts liability under this agreement to the extent provided by law.

* 1. ATTORNEY'S FEES

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

In the event of any litigation, appeal, or other legal action to enforce any provision of the contract, the Parties agree to pay all expenses of such action, as permitted by law and if order by the court, including attorney's fees and costs, if the other party prevails.

* 1. ASSIGNMENT, SALE, OR MERGER

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

Either party may assign the contract upon mutual written agreement of the other party. Such agreement shall not be unreasonably withheld.

The Contractor retains the right to enter into a sale, merger, acquisition, internal reorganization, or similar transaction involving Contractor’s business. Contractor agrees to cooperate with the State in executing amendments to the contract to allow for the transaction. If a third party or entity is involved in the transaction, the Contractor will remain responsible for performance of the contract until such time as the person or entity involved in the transaction agrees in writing to be contractually bound by this contract and perform all obligations of the contract.

* 1. CONTRACTING WITH OTHER POLITICAL SUB-DIVISIONS OF THE STATE OR ANOTHER STATE

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

The Contractor may, but shall not be required to, allow agencies, as defined in Neb. Rev. Stat. §81-145, to use this contract. The terms and conditions, including price, of the contract may not be amended. The State shall not be contractually obligated or liable for any contract entered into pursuant to this clause.

The Contractor may, but shall not be required to, allow other states, agencies or divisions of other states, or political subdivisions of other states to use this contract. The terms and conditions, including price, of this contract shall apply to any such contract, but may be amended upon mutual consent of the Parties. The State of Nebraska shall not be contractually or otherwise obligated or liable under any contract entered into pursuant to this clause. The State shall be notified if a contract is executed based upon this contract.

* 1. FORCE MAJEURE

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

Neither party shall be liable for any costs or damages, or for default resulting from its inability to perform any of its obligations under the contract due to a natural or manmade event outside the control and not the fault of the affected party (“Force Majeure Event”). The Party so affected shall immediately make a written request for relief to the other party, and shall have the burden of proof to justify the request. The other Party may granted the relief requested; relief may not be unreasonably withheld. Labor disputes with the impacted party’s own employees will not be considered a Force Majeure Event.

* 1. CONFIDENTIALITY

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Accept (Initial) |  | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |  |

All materials and information provided by the Parties or acquired by a Party on behalf of the other Party shall be regarded as confidential information. All materials and information provided or acquired shall be handled in accordance with federal and state law, and ethical standards. Should said confidentiality be breached by a Party, the Party shall notify the other Party immediately of said breach and take immediate corrective action.

It is incumbent upon the Parties to inform their officers and employees of the penalties for improper disclosure imposed by the Privacy Act of 1974, 5 U.S.C. 552a. Specifically, 5 U.S.C. 552a (i)(1), which is made applicable by 5 U.S.C. 552a (m)(1), provides that any officer or employee, who by virtue of his/her employment or official position has possession of or access to agency records which contain individually identifiable information, the disclosure of which is prohibited by the Privacy Act or regulations established thereunder, and who knowing that disclosure of the specific material is prohibited, willfully discloses the material in any manner to any person or agency not entitled to receive it, shall be guilty of a misdemeanor and fined not more than $5,000.

* 1. EARLY TERMINATION

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

The contract may be terminated as follows:

* + 1. The State and the Contractor, by mutual written agreement, may terminate the contract at any time.
    2. The State, at its sole discretion, may terminate the contract for any reason upon thirty (30) calendar day’s written notice to the Contractor. Such termination shall not relieve the Contractor of warranty or other service obligations incurred under the terms of the contract. In the event of termination the Contractor shall be entitled to payment, determined on a pro rata basis, for products or services satisfactorily performed or provided.
    3. The State may terminate the contract immediately for the following reasons:
       1. if directed to do so by statute;
       2. Contractor has made an assignment for the benefit of creditors, has admitted in writing its inability to pay debts as they mature, or has ceased operating in the normal course of business;
       3. a trustee or receiver of the Contractor or of any substantial part of the Contractor’s assets has been appointed by a court;
       4. fraud, misappropriation, embezzlement, malfeasance, misfeasance, or illegal conduct pertaining to performance under the contract by its Contractor, its employees, officers, directors, or shareholders;
       5. an involuntary proceeding has been commenced by any party against the Contractor under any one of the chapters of Title 11 of the United States Code and (i) the proceeding has been pending for at least sixty (60) calendar days; or (ii) the Contractor has consented, either expressly or by operation of law, to the entry of an order for relief; or (iii) the Contractor has been decreed or adjudged a debtor;
       6. a voluntary petition has been filed by the Contractor under any of the chapters of Title 11 of the United States Code;
       7. Contractor intentionally discloses confidential information;
       8. Contractor has or announces it will discontinue support of the deliverable; and,
       9. In the event funding is no longer available.
  1. CONTRACT CLOSEOUT

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

Upon termination of the contract for any reason the Contractor shall within thirty (30) days, unless stated otherwise herein:

* + 1. Transfer all completed or partially completed deliverables to the State;
    2. Transfer ownership and title to all completed or partially completed deliverables to the State;
    3. Return to the State all information and data, unless the Contractor is permitted to keep the information or data by contract or rule of law. Contractor may retain one copy of any information or data as required to comply with applicable work product documentation standards or as are automatically retained in the course of Contractor’s routine back up procedures;
    4. Cooperate with any successor contactor, person or entity in the assumption of any or all of the obligations of this contract;
    5. Cooperate with any successor contactor, person or entity with the transfer of information or data related to this contract;
    6. Return or vacate any state owned real or personal property;

Nothing in this Section should be construed to require the Contractor to surrender intellectual property, real or person property, or information or data owned by the Contractor for which the State has no legal claim.

1. CONTRACTOR DUTIES
   1. INDEPENDENT CONTRACTOR / OBLIGATIONS

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

It is agreed that the Contractor is an independent contractor and that nothing contained herein is intended or should be construed as creating or establishing a relationship of employment, agency, or a partnership.

The Contractor is solely responsible for fulfilling the contract. The Contractor or the Contractor’s representative shall be the sole point of contact regarding all contractual matters.

The Contractor shall secure, at its own expense, all personnel required to perform the services under the contract. The personnel the Contractor uses to fulfill the contract shall have no contractual or other legal relationship with the State; they shall not be considered employees of the State and shall not be entitled to any compensation, rights or benefits from the State, including but not limited to, tenure rights, medical and hospital care, sick and vacation leave, severance pay, or retirement benefits.

By-name personnel commitments made in the Contractor's bid shall not be changed without the prior written approval of the State. Replacement of these personnel, if approved by the State, shall be with personnel of equal or greater ability and qualifications.

The Contractor warrants that all persons assigned to the project shall be employees of the Contractor or a Subcontractor, and shall be fully qualified to perform the work required herein. Personnel employed by the Contractor or a subcontractor to fulfill the terms of the contract shall remain under the sole direction and control of the Contractor or the subcontractor respectively.

With respect to its employees, the Contractor agrees to be solely responsible for the following:

* + 1. Any and all pay, benefits, and employment taxes and/or other payroll withholding;
    2. Any and all vehicles used by the Contractor’s employees, including all insurance required by state law;
    3. Damages incurred by Contractor’s employees within the scope of their duties under the contract;
    4. Maintaining Workers’ Compensation and health insurance that complies with state and federal law and submitting any reports on such insurance to the extent required by governing law;
    5. Determining the hours to be worked and the duties to be performed by the Contractor’s employees; and,
    6. All claims on behalf of any person arising out of employment or alleged employment (including without limit claims of discrimination alleged against the Contractor, its officers, agents, or subcontractors or subcontractor’s employees).

If the Contractor intends to utilize any subcontractor, the Subcontractor's level of effort, tasks, and time allocation must be clearly defined in the Contractor's bid. The Contractor shall agree that it will not utilize any Subcontractors not specifically included in its bid in the performance of the contract without the prior written authorization of the State.

The State reserves the right to require the Contractor to reassign or remove from the project any Contractor or Subcontractor employee.

Contractor shall insure that the terms and conditions contained in any contract with a sub-contractor does not conflict with the terms and conditions of this contract.

The Contractor shall include a similar provision, for the protection of the State, in the contract with any Subcontractor engaged to perform work on this contract.

* 1. EMPLOYEE WORK ELIGIBILITY STATUS

The Contractor is required and hereby agrees to use a federal immigration verification system to determine the work eligibility status of employees physically performing work within the State. A federal immigration verification system means the electronic verification of the work authorization program authorized by the Illegal Immigration Reform and Immigrant Responsibility Act of 1996, 8 U.S.C. 1324a, known as the E-Verify Program, or an equivalent federal program designated by the United States Department of Homeland Security or other federal agency authorized to verify the work eligibility status of an employee.

If the Contractor is an individual or sole proprietorship, the following applies:

* + 1. The Contractor must complete the United States Citizenship Attestation Form, available on the DAS website at <http://das.nebraska.gov/materiel/purchasing.html>

The completed United States Attestation Form should be submitted with the ITB response.

* + 1. If the Contractor indicates on such attestation form that he or she is a qualified alien, the Contractor agrees to provide the U.S. Citizenship and Immigration Services documentation required to verify the Contractor’s lawful presence in the United States using the Systematic Alien Verification for Entitlements (SAVE) Program.

* + 1. The Contractor understands and agrees that lawful presence in the United States is required and the Contractor may be disqualified or the contract terminated if such lawful presence cannot be verified as required by Neb. Rev. Stat. § 4-108.
  1. COMPLIANCE WITH CIVIL RIGHTS LAWS AND EQUAL OPPORTUNITY EMPLOYMENT / NONDISCRIMINATION (Statutory)

The Contractor shall comply with all applicable local, state, and federal statutes and regulations regarding civil rights laws and equal opportunity employment. The Nebraska Fair Employment Practice Act prohibits Contractors of the State, and their Subcontractors, from discriminating against any employee or applicant for employment, with respect to hire, tenure, terms, conditions, compensation, or privileges of employment because of race, color, religion, sex, disability, marital status, or national origin (Neb. Rev. Stat. §48-1101 through 48-1125). The Contractor guarantees compliance with the Nebraska Fair Employment Practice Act, and breach of this provision shall be regarded as a material breach of contract. The Contractor shall insert a similar provision in all Subcontracts for goods or services to be covered by any contract resulting from this ITB.

* 1. COOPERATION WITH OTHER CONTRACTORS

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

Contractor may be required to work with or in close proximity to other contractors or individuals that may be working on the same or different projects. The Contractor shall agree to cooperate with such other contractors or individuals, and shall not commit or permit any act which may interfere with the performance of work by any other contractor or individual. Contractor is not required to compromise Contractor’s intellectual property or proprietary information unless expressly required to do so by this contract.

* 1. PERMITS, REGULATIONS, LAWS

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

The contract price shall include the cost of all royalties, licenses, permits, and approvals, whether arising from patents, trademarks, copyrights or otherwise, that are in any way involved in the contract. The Contractor shall obtain and pay for all royalties, licenses, and permits, and approvals necessary for the performance of the contract. The Contractor must guarantee that it has the full legal right to the materials, supplies, equipment, software, and other items used to execute this contract.

* 1. OWNERSHIP OF INFORMATION AND DATA / DELIVERABLES

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

The State shall have the unlimited right to publish, duplicate, use, and disclose all information and data developed or obtained by the Contractor on behalf of the State pursuant to this contract.

* 1. NOTICE OF POTENTIAL CONTRACTOR BREACH

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

If Contractor breaches the contract or anticipates breaching the contract the Contractor shall immediately give written notice to the State. The notice shall explain the breach or potential breach, and may include a request for a waiver of the breach if so desired. The State may, at its discretion, temporarily or permanently waive the breach. By granting a temporary waiver, the State does not forfeit any rights or remedies to which the State is entitled by law or equity, or pursuant to the provisions of the contract. Failure to give immediate notice, however, may be grounds for denial of any request for a waiver of a breach.

* 1. ANTITRUST

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

The Contractor hereby assigns to the State any and all claims for overcharges as to goods and/or services provided in connection with this contract resulting from antitrust violations which arise under antitrust laws of the United States and the antitrust laws of the State.

* 1. CONFLICT OF INTEREST

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

By submitting a bid, Contractor certifies that there does not now exist a relationship between the Contractor and any person or entity which is or gives the appearance of a conflict of interest related to this ITB or project.

The Contractor certifies that it shall not take any action or acquire any interest, either directly or indirectly, which will conflict in any manner or degree with the delivery of its goods hereunder or which creates an actual or an appearance of conflict of interest.

The Contractor certifies that it will not employ any individual known by Contractor to have a conflict of interest.

The Parties shall not knowingly, for a period of two years after execution of the contract, recruit or employ any employee or agent of the other Party who has worked on the ITB or project, or who had any influence on decisions affecting the ITB or project.

* 1. STATE PROPERTY

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

The Contractor shall be responsible for the proper care and custody of any State-owned property which is furnished for the Contractor's use during the performance of the contract. The Contractor shall reimburse the State for any loss or damage of such property; normal wear and tear is expected.

* 1. SITE RULES AND REGULATIONS

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

The Contractor shall use its best efforts to ensure that its employees, agents, and Subcontractors comply with site rules and regulations while on State premises. If the Contractor must perform on-site work outside of the daily operational hours set forth by the State, it must make arrangements with the State to ensure access to the facility and the equipment has been arranged. No additional payment will be made by the State on the basis of lack of access, unless the State fails to provide access as agreed to in writing between the State and the Contractor.

* 1. ADVERTISING

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

The Contractor agrees not to refer to the contract award in advertising in such a manner as to state or imply that the company or its goods are endorsed or preferred by the State. Any publicity releases pertaining to the project shall not be issued without prior written approval from the State.

* 1. NEBRASKA TECHNOLOGY ACCESS STANDARDS (Statutory)

Contractor shall review the Nebraska Technology Access Standards, found at <http://nitc.nebraska.gov/standards/2-201.html> and ensure that products and/or goods provided under the contract are in compliance or will comply with the applicable standards to the greatest degree possible. In the event such standards change during the Contractor’s performance, the State may create an amendment to the contract to request the contract comply with the changed standard at a cost mutually acceptable to the parties.

* 1. DISASTER RECOVERY/BACK UP PLAN

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

The Contractor shall have a disaster recovery and back-up plan, of which a copy should be provided upon request to the State, which includes, but is not limited to equipment, personnel, facilities, and transportation, in order to continue delivery of goods as specified under the specifications in the contract in the event of a disaster.

* 1. DRUG POLICY

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

Contractor certifies it maintains a drug free work place environment to ensure worker safety and workplace integrity. Contractor agrees to provide a copy of its drug free workplace policy at any time upon request by the State.

1. PAYMENT
   1. PROHIBITION AGAINST ADVANCE PAYMENT

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Accept (Initial) |  | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |  |

Payments shall not be made until contractual deliverable(s) are received and accepted by the State.

* 1. TAXES

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

The State is not required to pay taxes and assumes no such liability as a result of this solicitation. The Contractor may request a copy of the Nebraska Department of Revenue, Nebraska Resale or Exempt Sale Certificate for Sales Tax Exemption, Form 13 for their records. Any property tax payable on the Contractor's equipment which may be installed in a state-owned facility is the responsibility of the Contractor.

* 1. INVOICES

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

Invoices for payments must be submitted by the Contractor to the NDOT Materials and Research Division requesting the services with sufficient detail to support payment. Invoices must reference the purchase order number. The terms and conditions included in the Contractor’s invoice shall be deemed to be solely for the convenience of the parties. No terms or conditions of any such invoice shall be binding upon the State, and no action by the State, including without limitation the payment of any such invoice in whole or in part, shall be construed as binding or estopping the State with respect to any such term or condition, unless the invoice term or condition has been previously agreed to by the State as an amendment to the contract.

* 1. INSPECTION AND APPROVAL

|  |  |  |  |
| --- | --- | --- | --- |
| Accept (Initial) | Reject (Initial) | Reject & Provide Alternative within ITB Response (Initial) | NOTES/COMMENTS: |
|  |  |  |  |

Final inspection and approval of all work required under the contract shall be performed by the designated State officials.

The State and/or its authorized representatives shall have the right to enter any premises where the Contractor or Subcontractor duties under the contract are being performed, and to inspect, monitor or otherwise evaluate the work being performed. All inspections and evaluations shall be at reasonable times and in a manner that will not unreasonably delay work.

If a simple inspection of the goods would reveal nonconformity, notice of nonconformity should be provided to the vendor as soon as reasonably practical, but not to exceed thirty (30) days from receipt of goods. This includes visual inspection of product to ensure packaging is not damaged, dented or compromised.

* 1. PAYMENT (Statutory)

State will render payment to Contractor when the terms and conditions of the contract and specifications have been satisfactorily completed on the part of the Contractor as solely determined by the State. (Neb. Rev. Stat. Section 73-506(1)).  The State may require the Contractor to accept payment by electronic means such as ACH deposit. In no event shall the State be responsible or liable to pay for any services provided by the Contractor prior to the Effective Date of the contract, and the Contractor hereby waives any claim or cause of action for any such services.

* 1. LATE PAYMENT (Statutory)

The Contractor may charge the responsible agency interest for late payment in compliance with the State of Nebraska Prompt Payment Act (See Neb. Rev. Stat. §§ 81-2401 through 81-2408).

* 1. SUBJECT TO FUNDING / FUNDING OUT CLAUSE FOR LOSS OF APPROPRIATIONS (Statutory)

The State’s obligation to pay amounts due on the Contract for a fiscal years following the current fiscal year is contingent upon legislative appropriation of funds. Should said funds not be appropriated, the State may terminate the contract with respect to those payments for the fiscal year(s) for which such funds are not appropriated. The State will give the Contractor written notice thirty (30) calendar days prior to the effective date of termination. All obligations of the State to make payments after the termination date will cease. The Contractor shall be entitled to receive just and equitable compensation for any authorized work which has been satisfactorily completed as of the termination date. In no event shall the Contractor be paid for a loss of anticipated profit.

* 1. RIGHT TO AUDIT (Statutory)

The State shall have the right to audit the Contractor’s performance of this contract upon a thirty (30) day written notice. Contractor shall utilize generally accepted accounting principles, and shall maintain the accounting records, and other records and information relevant to the contract (Information) to enable the State to audit the contract. (Neb. Rev. Stat. §84-304 et seq.) The State may audit and the Contractor shall maintain the information during the term of the contract and for a period of five (5) years after the completion of this contract or until all issues or litigation are resolved, whichever is later. The Contractor shall make the Information available to the State at Contractor’s place of business or a location acceptable to both Parties during normal business hours. If this is not practical or the Contractor so elects, the Contractor may provide electronic or paper copies of the Information. The State reserves the right to examine, make copies of, and take notes on any Information relevant to this contract, regardless of the form or the Information, how it is stored, or who possesses the Information. In no circumstances will contractor be required to create or maintain documents not kept in the ordinary course of contractor’s business operations, nor will contractor be required to disclose any information, including but not limited to product cost data, which is confidential or proprietary to contractor.

The Parties shall pay their own costs of the audit unless the audit finds a previously undisclosed overpayment by the State. If a previously undisclosed overpayment exceeds three percent (3%) of the total contract billings, or if fraud, material misrepresentations, or non-performance is discovered on the part of the Contractor, the Contractor shall reimburse the State for the total costs of the audit. Overpayments and audit costs owed to the State shall be paid within ninety (90) days of written notice of the claim. The Contractor agrees to correct any material weaknesses or condition found as a result of the audit.

1. SCOPE OF WORK

The Bidder must provide the following information in response to this ITB.

* 1. SCOPE

It is the intent of this bid invitation to establish a contract to supply **Sequential XRF Spectrometer Equipment with External Water Recirculating System** per the attached specifications from date of award for a period of five (5) years with the option to renew for an additional five (5) one (1) year periods when mutually agreeable to the vendor and the State. The State reserves the right to extend the period of this contract beyond the end date when mutually agreeable to the vendor and the State.

Complete specifications, manufacturer’s current descriptive literature and/or advertising data sheets with cuts or photographs must be included with the bid for the IDENTICAL items proposed. Any information necessary to show compliance with these specifications not given on the manufacturer’s descriptive literature and/or advertising data sheets must be supplied in writing on or attached to the bid document. If manufacturer’s information necessary to show compliance with these specifications is not attached to the bid document, the Bidder may be required to submit requested information within three (3) business days of a written request. Failure to submit requested descriptive literature or advertising data sheets may be grounds to reject the bid.

* 1. AMENDMENT

This Contract may be amended in writing, within scope, upon the agreement of both parties.

* 1. REVISIONS

In the event any product is discontinued or replaced upon mutual consent during the contract period, the State reserves the right to amend this contract to include the alternate product at the same price.

1. INVITATION TO BID - TECHNICAL SPECIFICATIONS
   1. BIDDER INSTRUCTIONS

Bidder must respond to each of the following statements. Specifications listed are minimum conditions that must be met in order for a Bidder to qualify for the award.

“YES” response means the Bidder guarantees they can meet this condition.

“NO” response means the Bidder cannot meet this condition and will not be considered.

“NO & PROVIDE ALTERNATIVE” responses should be used only with a narrative response in the NOTES/COMMENTS section explaining in detail any deviation from the Bidder’s ability to meet the condition, and an explanation of how this would be determined to be an acceptable alternative to meeting the condition. Alternatives must be detailed in such a way that allows such deviations to be fully evaluated. The State shall determine at its sole discretion whether or not the Bidder’s alternative is an acceptable alternative.

* 1. NON-COMPLIANCE STATEMENT

|  |  |  |  |
| --- | --- | --- | --- |
| YES | NO | NO & PROVIDE ALTERNATIVE |  |
|  |  |  | * + 1. Read these specifications carefully. Any and all exceptions to these specifications must be written on or attached to quotation request. Any noncompliance may void your quotation. Non-compliance to any single specification can void your quotation. |
|  |  |  | * + 1. It is the responsibility of Bidders to obtain information and clarifications as provided below. The State is not responsible for any erroneous or incomplete understandings or wrongful interpretations of this ITB by any Bidder. |
|  |  |  | * + 1. No interpretation related to the meaning of bid specifications or other pre-bid documents will be made orally to any Bidder by the State. Any ITB interpretation must be put in writing and faxed by the Bidder to: the State Purchasing Bureau, Fax (402) 471-2089 or e-mailed to AS Materiel Purchasing [as.materielpurchasing@nebraska.gov](mailto:as.materielpurchasing@nebraska.gov) by the last day to submit written questions that is specified in the Schedule of Events. (Inquiries received after the last day to submit written questions may not be addressed). |
| **NOTES/COMMENTS:** | | | |

* 1. **SEQUENTIAL XRF SPECTROMETER EQUIPMENT**

|  |  |  |  |
| --- | --- | --- | --- |
| **YES** | **NO** | **NO & PROVIDE ALTERNATIVE** |  |
|  |  |  | * + 1. Equipment bid shall be new and the latest current models in production as of the date of the ITB and be of proven performance. |
|  |  |  | * + 1. Equipment shall be under standard design, complete as regularly advertised and marketed. |
|  |  |  | * + 1. Equipment shall be delivered fully operational, complete with all necessary parts, specified accessories, tools, and special features, whether or not they may be specifically mentioned below. |
|  |  |  | * + 1. Used, demonstrator, prototype, or discontinued equipment is not acceptable. |
| **NOTES/COMMENTS:** | | | |

* 1. **RADIATION SAFETY**

|  |  |  |  |
| --- | --- | --- | --- |
| **YES** | **NO** | **NO & PROVIDE ALTERNATIVE** |  |
|  |  |  | * + 1. The Spectrometer must conform to all applicable state and federal radiation regulations. Current regulations may be obtained from the links: * <http://dhhs.ne.gov/Pages/reg_t180.aspx> * <https://www.nrc.gov/about-nrc/radiation.html> |
|  |  |  | * + 1. The manufacturer must provide a lamp that will indicate when the x-ray tube is energized. It shall be of a “fail-safe” design in which the power to the x-ray tube will be shut down if the lamp fails to operate. |
|  |  |  | * + 1. The manufacturer must provide an emergency shut down system to protect the operator and the spectrometer in the event of a power failure or any unsafe condition. |
| **NOTES/COMMENTS:** | | | |

* 1. **X-RAY SYSTEM:**

|  |  |  |  |
| --- | --- | --- | --- |
| **YES** | **NO** | **NO & PROVIDE ALTERNATIVE** |  |
|  |  |  | * + 1. The bidder shall provide full and detailed specification(s), literature, and brochures describing the X-Ray Fluorescence Spectrometer as bid with the Invitation to Bid. |
|  |  |  | * + 1. The spectrometer shall be in a temperature controlled sealed cabinet. |
|  |  |  | * + 1. The spectrometer shall be equipped with castors to allow movement and access. |
|  |  |  | * + 1. The x-ray tube shall be an end-window design with a rhodium anode. |
|  |  |  | * + 1. The x-ray tube shall be positioned below the sample. |
|  |  |  | * + 1. The beryllium window thickness of the x-ray tube shall be 50 microns or less. |
|  |  |  | * + 1. The x-ray generator shall be of solid state high frequency design. |
|  |  |  | * + 1. The x-ray system power shall be at least 2 kW. |
|  |  |  | * + 1. The x-ray system shall require an external water cooling system. |
|  |  |  | * + 1. The output voltage shall be at least 60 kV and output current shall be at least 120 mA. |
|  |  |  | * + 1. The goniometer shall provide angular accuracy (θ and 2θ) of at least ± 0.01o on LiF crystals and angular reproducibility (θ and 2θ) of at least ± 0.0002o. |
|  |  |  | * + 1. The goniometer θ and 2θ axes shall have independent control. |
|  |  |  | * + 1. The goniometer components shall be fully enclosed in a temperature controlled vacuum environment. |
|  |  |  | * + 1. The spectrometer shall be equipped with at least two collimators: one for high resolution and one for high sensitivity. |
|  |  |  | * + 1. The instrument shall be equipped with collimator masks with the ability to automatically switch to at least three different aperture openings appropriately selected to correspond with the applications stated in F.9. |
|  |  |  | * + 1. The spectrometer shall be equipped with at least four primary beam filters selected to optimize analyses as stated in F.9. One shall be a beryllium filter to protect the tube during analysis. |
|  |  |  | * + 1. An automatic crystal changer, with a minimum of 8 crystal positions, shall be included with the system. |
|  |  |  | * + 1. A pre-mounted LiF 200 crystal, optimized for analyzing elements from potassium to uranium, shall be provided. |
|  |  |  | * + 1. A pre-mounted PET crystal, optimized for analyzing elements from aluminum to chlorine, shall be provided. |
|  |  |  | * + 1. A pre-mounted synthetic multilayer crystal, optimized for analyzing elements from oxygen to magnesium, shall be provided. |
|  |  |  | * + 1. A pre-mounted, curved Ge crystal, optimized for analyzing elements phosphorous, sulfur, and chlorine, shall be provided. |
|  |  |  | * + 1. A pre-mounted LiF 220 crystal, optimized for analyzing elements for vanadium to uranium, shall be provided. |
|  |  |  | * + 1. A pre-mounted crystal, optimized for analyzing high concentrations of aluminum and silicon, shall be provided. |
|  |  |  | * + 1. A pre-mounted synthetic multilayer crystal or detector with greater sensitivity for analyzing potassium to uranium, shall be provided. |
|  |  |  | * + 1. The x-ray spectrometer shall be equipped with a flow proportional detector with linearity of at least 2000 kcps and a scintillation detector with linearity of at least 1500 kcps. |
|  |  |  | * + 1. The detectors shall have a combined angular range of at least 8 to 148 degrees. |
|  |  |  | * + 1. All detectors shall be in vacuum. |
|  |  |  | * + 1. The temperature of the spectrometer environment shall be controlled to at least ±0.5oC within the temperature setting. |
|  |  |  | * + 1. The instrument shall be able to operate under vacuum or helium. A helium flushing system for the analysis of liquids and loose powders shall be included. |
|  |  |  | * + 1. A vacuum pump compatible with the system shall be included. |
|  |  |  | * + 1. Accessories for connecting P-10 gas and helium gas to the spectrometer shall be provided. |
|  |  |  | * + 1. The spectrometer shall be equipped with a sample changer capable of holding at least 48 samples for automatic remote loading. |
|  |  |  | * + 1. A minimum of 30 sample holders shall be provided that are capable of holding 40 mm pressed pellets, 40 mm fused beads, and film cups for liquid and powder samples. Guides and spring loaded holders shall also be provided for each sample holder for stabilizing odd-shaped samples. |
|  |  |  | * + 1. Drift monitors and QC standards for ASTM C114 cement analysis shall be included. |
| **NOTES/COMMENTS:** | | | |

* 1. **COMPUTER SYSTEM AND SOFTWARE**

|  |  |  |  |
| --- | --- | --- | --- |
| **YES** | **NO** | **NO & PROVIDE ALTERNATIVE** |  |
|  |  |  | * + 1. The contractor shall provide within seven (7) business days of contract award the type of minimum computer requirements needed to successfully operate the Sequential XRF Spectrometer Equipment. |
|  |  |  | * + 1. The contractor shall provide within seven (7) business days of contract award the type of minimum computer requirements needed to access the State of Nebraska’s network. |
|  |  |  | * + 1. The software shall have functionality to export data for replication purposes. It shall ideally connect to a standard or enterprise edition SQL server 2016 or above database. |
|  |  |  | * + 1. The software shall support spectrometer operation and data handling under Windows 10 x64. |
|  |  |  | * + 1. The contractor shall guarantee software updates throughout the functional life of the product in order to interface with Windows OS and/or Microsoft package upgrades. |
|  |  |  | * + 1. After equipment and computer installation, any software licensing, upgrades and update costs shall be included, at no additional cost to NDOT during the initial warranty period as defined in Section Z.3. |
|  |  |  | * + 1. The Contractor shall ensure any licenses, upgrades and updates of the Spectrometer Software will be made available as a Catalog/Non-Core item (see Section U.5) by the manufacturer throughout the functional life of the product. This includes new versions released that would correct any functionality problems and/or that would add or upgrade operational features. |
|  |  |  | * + 1. The software shall be able to manage analysis setup selection, parameter selection, simple routine measurement and procedures for reporting and printing results. |
|  |  |  | * + 1. The software shall have the capabilities for qualitative and quantitative analysis. It shall allow calibration, drift correction, and re-calibration. The calibration of the spectrometer must meet the ASTM C114 requirements for cement testing. It shall have the capability to accurately and precisely measure TiO2 in traffic paint according to ASTM D4764, phosphorus in binders according to ASTM D6443, heavy metals in glass beads according to AASHTO TP106, calcium carbonate according to ASTM C25, and distinguish SO3 from S2- in cement according to ASTM C114. |
|  |  |  | * + 1. The software shall have the capability to add Agency-defined fields to assist in interfacing with other Agency systems. |
|  |  |  | * + 1. The software shall allow for editing of sample identification information after analysis. |
|  |  |  | * + 1. The software shall have password protection so that unauthorized personnel will not have access to instrument operation. |
|  |  |  | * + 1. The spectrometer shall be calibrated for standard-less analysis by drift monitors included as part of the package software. |
|  |  |  | * + 1. The software shall provide automatic standard-less analysis for a wide variety of sample materials, including solids, liquids, loose powders, and thin films/foils. All samples shall be analyzed by a single calibrated measuring program. |
|  |  |  | * + 1. The equipment shall be capable of printing from a network printer or a direct-attached printer. |
| **NOTES/COMMENTS:** | | | |

* 1. INSTALLATION AND TRAINING

|  |  |  |  |
| --- | --- | --- | --- |
| YES | NO | NO & PROVIDE ALTERNATIVE |  |
|  |  |  | * + 1. Complete on-site installation and instrumentation start-up of the spectrometer by a contractor certified service engineer will be included in the bid. |
|  |  |  | * + 1. The contractor shall provide at no additional cost to NDOT, three (3) days of on-site training by a certified service engineer and an applications specialist at the time of installation to give a basic orientation of the instrument. |
|  |  |  | * + 1. During the training, the service engineer and/or the application specialist shall provide on-site calibration of the spectrometer to meet ASTM C114 certification requirements with fused bead and pressed pellet preparations as well as accuracy and precision verification of the standard-less analysis by drift monitors included in the standard-less XRF software package. |
|  |  |  | * + 1. Upon completion of installation, and at no additional cost to NDOT, the service engineer and/or the application specialist shall, within 30 days, also provide on-site or remote assistance for the calibration of the following: Limestone (CaCO3) and Hydrated Lime (ASTM C25), TiO2 in Traffic Paint (ASTM D4764), SO3 and S2- (ASTM C114), Phosphorus in Bituminous Binders (ASTM D6443), and aggregates high in Aluminum and Silicon. |
|  |  |  | * + 1. During the training, and at no additional cost to NDOT, the service engineer and/or application specialist shall set up the instrument for the primary application, including method set-up and validation, and demonstrate various features directly related to the primary applications. |
| **NOTES/COMMENTS:** | | | |

* 1. SYSTEM WARRANTY:

|  |  |  |  |
| --- | --- | --- | --- |
| YES | NO | NO & PROVIDE ALTERNATIVE |  |
|  |  |  | * + 1. A minimum of one (1) year warranty after the date of installation is required. This shall cover all parts, labor, travel, and living expenses. |
|  |  |  | * + 1. The x-ray tube shall come with a minimum warranty of two (2) years without hours or proration limitations. This warranty must also apply to all purchased replacement tubes during the contract term. |
| **NOTES/COMMENTS:** | | | |

* 1. TECHNICAL SUPPORT:

|  |  |  |  |
| --- | --- | --- | --- |
| YES | NO | NO & PROVIDE ALTERNATIVE |  |
|  |  |  | * + 1. Hardware and software for remote diagnostics shall be provided for service and support throughout the life of the contract. |
|  |  |  | * + 1. Operation and safety manuals for the spectrometer and software shall be included. |
|  |  |  | * + 1. Troubleshooting, diagnostics, performance checks, and application technical support by telephone or through remote access shall be provided during regular working hours at no additional charge to NDOT. |
|  |  |  | * + 1. Requests for technical support shall be answered within at least a twenty-four hour (24) period from placement of request. |
| **NOTES/COMMENTS:** | | | |

* 1. PREVENTATIVE MAINTENANCE SERVICE PLAN:

|  |  |  |  |
| --- | --- | --- | --- |
| YES | NO | NO & PROVIDE ALTERNATIVE |  |
|  |  |  | * + 1. The contractor shall provide as a Core item (see Section U.5.) an annual flat-rate preventative maintenance plan. This must include all expenses of travel, mileage, food, lodging, parking, fuel, labor, and next day preventative maintenance parts kit shipping costs/delivery fees. |
|  |  |  | * + 1. The preventative maintenance shall include cleaning, all work performed with a preventative maintenance parts kit, verification the equipment is in safe working order, minor repairs, if needed, and performing testing for the presence of radiation outside the spectrometer. |
|  |  |  | * + 1. Upon completion of a preventative maintenance service, the contractor shall provide, at no additional cost to NDOT, an inclusive service report and certification detailing all work/repairs conducted to document the equipment is in safe working order. |
| **NOTES/COMMENTS:** | | | |

* 1. SERVICE CALLS:

|  |  |  |  |
| --- | --- | --- | --- |
| YES | NO | NO & PROVIDE ALTERNATIVE |  |
|  |  |  | * + 1. The contractor shall provide as a Core Item (see Section U.5.) an hourly rate for service calls during normal working hours (Monday through Friday, 8:00 AM to 5:00 pm) not covered by any purchased service plans. This rate shall include all expenses (travel, mileage, food, lodging, parking, fuel, labor, next day service parts shipping costs/delivery fees) associated with the service call. |
|  |  |  | * + 1. The contractor shall provide as a Core Item (see Section U.5.) an hourly rate for service calls during weekend and holiday hours not covered by any purchased service plans. This rate shall include all expenses (travel, mileage, food, lodging, parking, fuel, labor, next day service parts shipping costs/delivery fees) associated with the service call. |
|  |  |  | * + 1. For service calls worked greater than eight (8) hours in a work day, not covered by a purchased service plan, the awarded bid hourly rate for service calls will be applied. No overtime rates will be applied. See Section K.1. and K.2. |
|  |  |  | * + 1. Any contractor service calls completed in under four (4) hours, NDOT will apply the service call hourly rate of only four (4) hours. |
|  |  |  | * + 1. Upon completion of a service call, the contractor shall provide, at no additional cost to NDOT, an inclusive service report and certification detailing all work/repairs conducted to document the equipment is in safe working order. |
|  |  |  | * + 1. If it is determined a service call is required, the response time shall be three (3) business days or less. |
| **NOTES/COMMENTS:** | | | |

* 1. METHOD DEVELOPMENT:

|  |  |  |  |
| --- | --- | --- | --- |
| YES | NO | NO & PROVIDE ALTERNATIVE |  |
|  |  |  | * + 1. The contractor shall provide at least up to forty (40) hours of remote and/or on-site method development assistance at no additional cost to NDOT for each new analysis NDOT requires. Method development would include assistance in selecting standards, sample preparation recommendations, software parameters set-up, calibration, and/or any other services the contractor chooses to provide. |
|  |  |  | * + 1. The contractor may provide an hourly rate for remote method development assistance that exceeds forty (40) hours and is not covered by any purchased service plans. |
|  |  |  | * + 1. The contractor may provide an hourly rate for on-site method development assistance that exceeds forty (40) hours and is not covered by any purchased service plans. This rate shall include all expenses (travel, mileage, food, lodging, parking, fuel, labor) associated with the method development rate. |
| **NOTES/COMMENTS:** | | | |

* 1. TRADE-IN:

|  |  |  |  |
| --- | --- | --- | --- |
| YES | NO | NO & PROVIDE ALTERNATIVE |  |
|  |  |  | * + 1. Is there a trade-in option available for Sequential XRF Spectrometer and External Water Recirculating System? |
| **NOTES/COMMENTS:** | | | |

* 1. REMOVAL OF EXISTING XRF SPECTROMETER EQUIPMENT:

|  |  |  |  |
| --- | --- | --- | --- |
| YES | NO | NO & PROVIDE ALTERNATIVE |  |
|  |  |  | * + 1. The contractor shall de-commission and take possession of the existing spectrometer (Bruker S4 Pioneer) and the External Water Recirculating System within ten (10) business days. |
|  |  |  | * + 1. If trade-in option is not available, Section N.1. will not apply to this Invitation to Bid. |
| **NOTES/COMMENTS:** | | | |

* 1. ANNUAL USAGE, ESTIMATED

|  |  |  |  |
| --- | --- | --- | --- |
| YES | NO | NO & PROVIDE ALTERNATIVE |  |
|  |  |  | * + 1. Annual usage figures provided are estimates and are not to be construed as either a minimum or maximum purchase quantity. The orders shall be for the actual quantities of each item ordered by or for any agency during the life of the contract. Vendor shall not impose minimum order requirements. |
| **NOTES/COMMENTS:** | | | |

* 1. DELIVERY ARO

|  |  |  |  |
| --- | --- | --- | --- |
| YES | NO | NO & PROVIDE ALTERNATIVE |  |
|  |  |  | * + 1. Delivery shall be within 120 days after receipt of order.     A successful Bidder will maintain sufficient inventory to process and deliver within twenty (20) calendar days ARO for Non-Core catalog items. There will be no minimum order requirements for all Core/ Non-Core items. |
|  |  |  | * + 1. At the time of delivery, a designated State employee will sign the “invoice/packing slip.” This signature will only indicate that the order has been received and that the items actually delivered agree with the delivery invoice. This signature does not indicate all items were received in good condition and/or that there is not possible hidden damage. |
|  |  |  | * + 1. The bid price shall include the delivery/shipping charges FOB destination of the X-Ray Fluorescence Spectrometer System. |
|  |  |  | * + 1. All Deliveries are to be FOB destination to NDOT location specified on the purchase order or as directed by NDOT at the time of purchase in accordance with this Invitation to Bid. |
|  |  |  | * + 1. Contractor shall be responsible for the shipping cost of returning and replacing defective and/or damaged products received. |
|  |  |  | * + 1. Deliveries must be clearly marked with the purchase order number. |
|  |  |  | * + 1. Deliveries shall be made during normal working hours between the hours of 8:00 A.M. and 5:00 P.M., Monday through Friday (excluding State holidays and / or as otherwise directed). |
|  |  |  | * + 1. If an emergency exists, delivery may be made through prior arrangements with receiving personnel. |
|  |  |  | * + 1. If delays in delivery are anticipated, the Contractor will immediately notify the NDOT Materials and Research Division of the expected delivery date.   Nebraska Department of Roads  Materials and Research Division  Chemistry Laboratory  1400 Hwy. 2  Lincoln, NE 68502  Phone – 402-479-4874 |
|  |  |  | * + 1. The order may be canceled if the delivery time is unsatisfactory, and the State may procure item(s) from other sources and the Contractor will be held responsible for any/all excess cost. |
| **NOTES/COMMENTS:** | | | |

* 1. PACKAGING

|  |  |  |  |
| --- | --- | --- | --- |
| YES | NO | NO & PROVIDE ALTERNATIVE |  |
|  |  |  | * + 1. Cartons are to be clearly marked with size, weight, color, quantity, and the purchase order number. Cartons must be of suitable size and of sufficient strength to protect the contents during shipping, handling and storage. |
| **NOTES/COMMENTS:** | | | |

* 1. ORDERS

|  |  |  |  |
| --- | --- | --- | --- |
| YES | NO | NO & PROVIDE ALTERNATIVE |  |
|  |  |  | * + 1. Orders will be placed either by, phone, fax, e-mail or Internet (if available and not to the exclusion of the other methods). |
|  |  |  | * + 1. All orders must reference a purchase order number and the purchase order number must be referenced on the packing slip, and invoice. |
|  |  |  | * + 1. Invoices are to be sent to the “Invoice to” address on the purchase order. |
| **NOTES/COMMENTS:** | | | |

* 1. QUALITY

|  |  |  |  |
| --- | --- | --- | --- |
| YES | NO | NO & PROVIDE ALTERNATIVE |  |
|  |  |  | * + 1. Product quality must meet specifications and be consistent for the term of the contract. |
|  |  |  | * + 1. A guarantee of satisfactory performance by the supplier and meeting delivery dates are considered to be an integral part of the purchase contract resulting from this bid invitation. |
|  |  |  | * + 1. All materials must be of first quality, under standard production by the manufacturer and be of standard design, complete as regularly advertised and marketed and be of proven performance. |
|  |  |  | * + 1. Products are to be fully guaranteed and may be returned for full credit or replacement (at the State’s option) for any reason during the initial warranty period with no additional charges for shipping or restocking. |
| **NOTES/COMMENTS:** | | | |

* 1. **CORE LIST AND CATALOG/NON-CORE: PRICES**

|  |  |  |  |
| --- | --- | --- | --- |
| **YES** | **NO** | **NO & PROVIDE ALTERNATIVE** |  |
|  |  |  | * + 1. Core List prices quoted shall be net, including transportation and delivery charges fully prepaid by the vendor, FOB Destination to the ordering state facility/agency. Core List pricing is to remain firm for the initial one (1) year of the contract. |
|  |  |  | * + 1. Any request for increased pricing must be submitted in writing to the SPB a minimum of thirty (30) days prior to proposed effective date of increase and be accompanied by any/all supporting documentation such as a notification letter from the manufacturer indicating the percentage of increase. The supporting information must clearly establish the increase is for all customers, not to the State alone. Further documentation may be required by the State, to authenticate the increase (such as manufacturer invoices).   **Failure to supply any requested supporting documentation may be grounds to cancel the contract.** |
|  |  |  | * + 1. Catalog/Non-Core item purchases shall be net, including transportation and delivery charges fully prepaid by the vendor, FOB Destination to the ordering state facility/agency. |
|  |  |  | * + 1. Discount bid off of manufacturer’s suggested list price shall remain fixed for the duration of the contract. |
|  |  |  | * + 1. During the life of the contract, there may be new manufacturer’s list price schedules published. In the event this occurs, it will be necessary for the Contractor to supply the SPB and any requesting agencies with one (1) copy of each as applicable. |
|  |  |  | * + 1. New catalog and/or price list(s) will be incorporated into the contract thirty (30) days after receipt by the SPB. |
|  |  |  | * + 1. Discounts for Catalog/Non-Core items shall be applied to products as presented as Catalog/Non-Core items in the ITB. |
|  |  |  | * + 1. Bidder shall include each manufacturer’s list price schedule to coincide with manufacturers presented as Catalog/Non-Core items in the ITB. |
|  |  |  | * + 1. Prices quoted for products on the Core List and Catalog/Non-Core items shall be inclusive of all costs, to include but not limited to storage, processing and/or delivery throughout the State. Vendor cannot impose any additional service fees. Vendor shall inform the SPB in the event of any unanticipated or overlooked contingency affecting pricing or contract performance. |
|  |  |  | * + 1. NO price increases are to be billed to the State facilities without prior written approval by the SPB.   The State further reserves the right to reject any proposed price increase(s), cancel the contract and re-bid if determined in the best interest of the State. |
|  |  |  | * + 1. It is understood and agreed that in the event of a reduction in the manufacturer's published standard price list for all or any portion of the proposed items, the State will be given full benefit of such decline in price immediately, including any promotional allowances offered to the balance of the trade during the contract period. |
| **NOTES/COMMENTS:** | | | |

* 1. **CORE LIST and CATALOG/NON-CORE: CORE LIST PRICING**

|  |  |  |  |
| --- | --- | --- | --- |
| **YES** | **NO** | **NO & PROVIDE ALTERNATIVE** |  |
|  |  |  | * + 1. Any quantities stated are estimated annual quantities and shall not be construed to be either a minimum or a maximum. The State will not accept substitutions. |
|  |  |  | * + 1. A manufacturer’s model/number has been provided for each item. |
|  |  |  | * + 1. All bid units should match exactly. NOTE: If contractor fails to provide a price on any items, those items for that contractor will be adjusted to the highest quoted price for those items. |
|  |  |  | * + 1. In those cases where items may have more than one brand name, the contractor may bid on either brand. Please indicate which brand was bid. Bidder must complete Core and Non-Core List. Please pay special attention to the unit of measure. |
|  |  |  | * + 1. Core Items have been identified as follows:        1. Sequential XRF Spectrometer Equipment with External Water Recirculating System.        2. Annual Flat Rate Preventative Maintenance Plan.        3. Hourly Rate for Service Calls (Regular Working Hours).        4. Hourly Rate for Service Calls (Weekend/Holiday Hours). |
| **NOTES/COMMENTS:** | | | |

* 1. **CORE LIST AND CATALOG/NON-CORE: CATALOG/NON-CORE PRICING/PERCENTAGES**

|  |  |  |  |
| --- | --- | --- | --- |
| **YES** | **NO** | **NO & PROVIDE ALTERNATIVE** |  |
|  |  |  | * + 1. Prices for Catalog/Non-Core items shall be determined by applying the quoted discount for the item to the manufacturer’s current catalog or price list. The percentage discount for the items shall remain firm for the duration of the contract period. Bidder must clearly state the date of the catalog or price list used and provide a copy of the catalog to the SPB upon request. |
|  |  |  | * + 1. The pricing structure, consisting of all pricing formulas and pertinent information, for all non-core items must be clearly defined and documented for future auditing purposes. |
|  |  |  | * + 1. The percentage discount rate for Catalog/Non-Core items or categories will not decrease during the life of the contract. |
|  |  |  | * + 1. A firm percentage rate must be quoted--a range of percentages will not be considered. |
|  |  |  | * + 1. Catalog/ Non-Core Categories have been identified as follows (excluding core items):  1. XRF Spectrometer Equipment parts & accessories. 2. Service plans. 3. Software, Hardware, and Firmware updates/upgrades. 4. Method Development. 5. Diagnostic, Repair, and Maintenance Training at Contractor Facility. |
| **NOTES/COMMENTS:** | | | |

* 1. **CORE LIST and CATALOG/NON-CORE: ADDITIONAL PRICE LISTS AND CATALOGS**

|  |  |  |  |
| --- | --- | --- | --- |
| **YES** | **NO** | **NO & PROVIDE ALTERNATIVE** |  |
|  |  |  | * + 1. After award of the contract(s), the contractor(s) shall supply additional copies of the current catalog or price list used for this ITB for distribution to any requesting state agency at no charge, within ten (10) business days of request. |
|  |  |  | * + 1. Additional catalogs and/or price lists may be required and shall be provided without charge. |
|  |  |  | * + 1. Any catalog or price list revisions which occur during the duration of the contract shall be provided upon request without charge. |
| **NOTES/COMMENTS:** | | | |

* 1. **CORE LIST and CATALOG/NON-CORE: USAGE REPORTS**

|  |  |  |  |
| --- | --- | --- | --- |
| **YES** | **NO** | **NO & PROVIDE ALTERNATIVE** |  |
|  |  |  | * + 1. Usage reports may be requested by the SPB. The reporting period may be determined based on need and may include the following:        1. Fill rate information for core and non-core items, statewide and by agency to include the number of orders received, orders processed, back orders, and partially filled orders.        2. Usage reports by agency and statewide indicating the numbers of each core item and non-core item sold.        3. Any additional report the SPB may deem necessary. |
| **NOTES/COMMENTS:** | | | |

* 1. GRAY MARKET PRODUCTS PROHIBITION

|  |  |  |  |
| --- | --- | --- | --- |
| YES | NO | NO & PROVIDE ALTERNATIVE |  |
|  |  |  | * + 1. The State will not accept Gray Market Products for this solicitation. Gray Market is defined as the trade of a commodity through distribution channels which, while legal, are unofficial, unauthorized, or unintended by the original manufacturer. Gray Market items are not designed to be sold in a particular market and cannot be supported by the authorized importer because of various reasons. |
| **NOTES/COMMENTS:** | | | |

* 1. AUTHORIZED DEALER & WARRANTY

|  |  |  |  |
| --- | --- | --- | --- |
| YES | NO | NO & PROVIDE ALTERNATIVE |  |
|  |  |  | * + 1. To the extent required by the manufacturer, the Bidder shall be an authorized dealer. |
|  |  |  | * + 1. Bidder may be required to substantiate that he/she is an authorized dealer. Proof, if required, must be submitted to the SPB within three (3) days of the request and prior to the award of any contract. |
|  |  |  | * + 1. The terms of the original manufacturer’s standard warranty shall apply to all equipment acquired from this solicitation for the entire warranty period. |
| **NOTES/COMMENTS:** | | | |

* 1. WARRANTY

|  |  |  |  |
| --- | --- | --- | --- |
| YES | NO | NO & PROVIDE ALTERNATIVE |  |
|  |  |  | * + 1. Contractor must warrant the average life expectancy supplies hereunder to be not less than that stated in the manufacturer’s price list and agree to replace, without cost, all supplies failing to meet this requirement, except where the reduced life is due to conditions beyond the control of the Contractor. |
|  |  |  | * + 1. Defective parts or those damaged in shipment must be replaced by the Contractor at no charge to the State. |
|  |  |  | * + 1. The manufacturer’s standard warranty shall apply and be in effect for at least one (1) year from the date the equipment was placed in service. |
| **NOTES/COMMENTS:** | | | |

* 1. SUBSTITUTIONS

|  |  |  |  |
| --- | --- | --- | --- |
| YES | NO | NO & PROVIDE ALTERNATIVE |  |
|  |  |  | * + 1. Vendor will not substitute any item that has been awarded without prior written approval of SPB. |
| **NOTES/COMMENTS:** | | | |

* 1. SECRETARY OF STATE REGISTRATION REQUIREMENTS

\*\*\*CHOOSE “YES” TO BEST ANSWER ONLY, CHOOSE “NO” FOR REMAINING LINES\*\*\*

|  |  |  |
| --- | --- | --- |
| YES | NO | \*Prior to contract award and/or upon request of SPB, potential award recipient(s) will be asked to certify compliance with Nebraska Secretary of State Registration by providing a true and exact copy of current (dated within 90 days) valid Certificate of Good Standing or Letter of Good Standing. |
|  |  | * + 1. Bidder is a SOLE PROPRIETORSHIP (in which case, no Letter of Good Standing/Certificate of Good Standing is required)   If the Bidder is an Individual or Sole Proprietorship, the following applies:   * + - 1. The Bidder must complete the United States Citizenship Attestation Form, available on the Department of Administrative Services website at <http://das.nebraska.gov/materiel/purchasing.html>   The completed United States Attestation Form should be submitted with the Invitation to Bid response.   * + - 1. If the Bidder indicates on such attestation form that he or she is a qualified alien, the Contractor agrees to provide the U.S. Citizenship and Immigration Services documentation required to verify the Contractor’s lawful presence in the United States using the Systematic Alien Verification for Entitlements (SAVE) Program.      * + - 1. The Bidder understands and agrees that lawful presence in the United States is required and the Contractor may be disqualified or the contract terminated if such lawful presence cannot be verified as required by Neb. Rev. Stat. § 4-108. |
|  |  | * + 1. Bidder is a GENERAL PARTNERSHIP (in which case, no Letter of Good Standing/Certificate of Good Standing is required). |
|  |  | * + 1. Bidder is a FOREIGN or DOMESTIC CORPORATION or BUSINESS and a copy of current Letter of Good Standing/Certificate of Good Standing from the Nebraska Secretary of State is provided within bid submission documents. |
|  |  | * + 1. Bidder is a FOREIGN or DOMESTIC CORPORATION or BUSINESS and a copy of current Letter of Good Standing/Certificate of Good Standing from the Nebraska Secretary of State will be provided in a timely manner upon request prior to award. |

# Form A Bidder Contact Sheet

Invitation To Bid Number 5987 OF

Form A should be completed and submitted with each response to this ITB. This is intended to provide the State with information on the Bidder’s name and address, and the specific person(s) who are responsible for preparation of the Bidder’s response.

|  |  |
| --- | --- |
| Preparation of ITB Contact Information | |
| Bidder Name: |  |
| Bidder Address: |  |
| Contact Person & Title: |  |
| E-mail Address: |  |
| Telephone Number (Office): |  |
| Telephone Number (Cellular): |  |
| Fax Number: |  |

Each Bidder shall also designate a specific contact person who will be responsible for responding to the State if any clarifications of the Bidder’s response should become necessary.

|  |  |
| --- | --- |
| Communication with the State Contact Information | |
| Bidder Name: |  |
| Bidder Address: |  |
| Contact Person & Title: |  |
| E-mail Address: |  |
| Telephone Number (Office): |  |
| Telephone Number (Cellular): |  |
| Fax Number: |  |