## Generator Info Sheet
ATTACHMENT A - GENERATOR INFORMATION SHEET
RFP 6794 Z1
Location | KVA | Year | Enclosure (Y/N) | Make | Model | Serial # | Fuel Type | Number of ATS | Amperage Rating of ATS | Amperage Rating of ATS | Amperage Rating of ATS | Amperage Rating of ATS | Amperage Rating of ATS | Amperage Rating of ATS | Amperage Rating of ATS | Amperage Rating of ATS | JAHCO and/or CMS regulations required? Y/N | Annual Load Bank Test required? Y/N | Load-bank built-in and on site? Y/N
Lincoln Campus Locations
State Office Building, 301 Centennial Mall South, Lincoln, NE 68509 | 356.25 | 1977 | Indoors | CAT | D343 | 62B13916 | #2 Red | 7 | 150 | 100 | 300 | 60 | 300 | 100 | 60 |  | N | N | N
1501 M Street, Lincoln, NE 68508 | 62.5 | 2009 | Y | Kohler | 50REDZJC | 2264806 | #2 Red | 1 | 200 | [7 empty] | N | Y | N
OCIO 501 S. 14th Street, Lincoln, NE 68508 | 2000 | 2019 | Y | CAT | 3516 | LY500136 | #2 Red | 1 | 2000 | [7 empty] | N | Y | Y
2311 N. 60th Street, Lincoln, NE 68507 | 43.75 | 2000 | Y | Generac | 20A 029425 | 2058112 | Natural Gas | 1 | 200 | [7 empty] | Y | Y | N
State Laboratory 3701 S. 14th Street, Lincoln, NE 68502 | 125 | 2005 | Y | Onan | GGHH-5703205 | A050739643 | Natural Gas | 2 | 400 | 400 | [6 empty] | N | N | N
Lincoln Regional
Lincoln Regional Center 801 W. Prospector Pl. #3, Lincoln, NE 68522 | 300w | 2021 | Y | CAT | D300GC | CHTDOD300HRE300216 | Diesel | 2 | 600 | 260 | [6 empty] | Y | Y | N
Lincoln Regional Center 801 W. Prospector Pl. #5, Lincoln, NE 68522 | 625 | 2004 | Y | CAT | 3456 | CCB01064 | #2 Red | 4 | 800 | 600 | 225 | 150 |  |  |  |  | Y | Y | N
Lincoln Regional Center 801 W. Propsector Pl. #10, Lincoln, NE 68522 | 500kw | 2020 | Y | CAT | D500GC | CATCD500TRK500120 | Diesel | 2 | 600 | 225 | [6 empty] | Y | Y | N
Lincoln Regional Center 801 W. Prospector Pl. #11, Lincoln, NE 68522 | 143.75 | 1985 | Indoors | Onan | 251221 | E850761997 | Natural Gas | 1 | 400 | [7 empty] | Y | Y | N
Lincoln Regional Center 801 W. Prospector Pl. #14, Lincoln, NE 68522 | 750 | 2005 | Y | CAT | 3412 | 9EP03551 | #2 Red | 3 | 800 | 800 | 80 | [5 empty] | Y | Y | N
West Region
Law Enforcement Training Center 3600 Academy Rd., Grand Island, NE 68801 | 1500kw | 2004 | Y | Cummins | 1500DFLE | E040649425 | Diesel | 1 | 1600 | [7 empty] | N | N | Y
Troop C Headquarters Building 3431 Old Potash Hwy., Grand Island, NE 68803 | 100 | 1972 | Indoors | CAT | D330 | 4B5657 | #2 Red | 1 | 400 | [7 empty] | N | N | N
State Office Building 200 South Silber, North Platte, NE 69101 | 375 | 2016 | Y | CAT | C9 | S9P01303 | #2 Red | 1 | 1600 | [7 empty] | N | N | N
Troop D Headquarters Building 300 W. South River Rd., North Platte, NE 69101 | 375 | 2016 | Y | CAT | C9 | S9P01303 | #2 Red | 1 | 200 | [7 empty] | N | N | N
Troop E State Patrol, 4500 Avenue I, Scottsbluff, NE 69361 | 131 | 1979 | Y | CAT | S-R4 | AB18663 | Diesel | 1 | 800 | [7 empty] | N | N | N
Hastings Regional Center, Hastings Lift Station 4200 W 2nd Street, Hastings, NE 68901 | 25 | 1970 | N | Onan | 70 OEN | F860827833 | Natural Gas | 1 | 200 | [7 empty] | Y | Y | N
Hastings Regional Center, Hastings Administration 4200 W 2nd Street, Hastings, NE 68901 | 50 | 1985 | Y | CAT | C9 | 9CR02686 | Diesel | 1 | 1000 | [7 empty] | Y | Y | Y
Hastings Regional Center, Hastings Program Building 4200 W 2nd Street, Hastings, NE 68901 | 475 | 2003 | Y | Onan | 500DFEK | J030552382 | Diesel | 1 | 1600 | [7 empty] | Y | Y | Y
Gomez--Kearney Youth Rehab & Treatment Center, 2802 30th Avenue, Kearney, NE 68845 | 150 | 2007 | Y | Onan | 150GGlb | A070010059 | Natural Gas | 1 | 1000 | [7 empty] | Y | Y | N
Bryant /Creighton--Kearney Youth Rehab & Treatment Center, 2802 30th Avenue, Kearney, NE 68845 | 100 | 2007 | Y | Onan | 100GGHH | A070010062 | Natural Gas | 1 | 400 | [7 empty] | Y | Y | N
Lincolmn /Washington--Kearney Youth Rehab & Treatment Center, 2802 30th Avenue, Kearney, NE 68845 | 100 | 2007 | Y | Onan | 100GGHH | A070010063 | Natural Gas | 1 | 400 | [7 empty] | Y | Y | N
Boiler House--Kearney Youth Rehab & Treatment Center, 2802 30th Avenue, Kearney, NE 68845 | 100 | 2007 | Y | Onan | 100GGHH | A070010056 | Natural Gas | 1 | 400 | [7 empty] | Y | Y | N
DicKson Hall--Kearney Youth Rehab & Treatment Center, 2802 30th Avenue, Kearney, NE 68845 | 60 | 2007 | Y | Onan | 60GGHE | A070010485 | Natural Gas | 1 | 225 | [7 empty] | Y | Y | N
Morton--Kearney Youth Rehab & Treatment Center, 2802 30th Avenue, Kearney, NE 68845 | 125 | 2011 | Y | Onan | 125DSGAB | C110202901 | Diesel | 2 | 125 | 600 | [6 empty] | Y | Y | Y
Norfolk Locations
Troop B Headquarters Building, 1401 Eisenhower Ave. , Norfolk, NE 68701 | 43KW | 2020 | Y | Cummins | C60D6 | B200736544 | Diesel | 1 | 400 | [7 empty] | N | N | N
Norfolk Regional Center, 1700 N. Victory Road, Norfolk, NE 68701 | 700 kW | 2009 | Y | CAT | SR4B-700kW | AFN03693 | Diesel | 8 | 80 | 225 | 400 | 400 | 600 | 600 | 600 | 600 | Y | Y | Y
Omaha Locations
Troop A State Patrol, 4411 S. 108th, Omaha, NE 68127 | 131 | 1970 | Y | CAT | 3304/SR4 | 4B7642/44B5301 | Diesel | 1 | 400 | [7 empty] | N | N | N
Omaha State Office Building, 1313 Farnam St., Omaha, NE 68102 | 225 | 1979 | Y | CAT | 3306/SR4 | 66D34636/46BH3611 | Diesel | 1 | 400 | [7 empty] | N | N | N
Omaha Parking Garage (Park II) 1313 Harney St., Omaha, NE 68102 | 6.0kw | 1988 | Y | Onan | 6.0DJB | J880168255 | Diesel | 1 | 100 | [7 empty] | N | N | N
Beatrice State Developmental Center, 3000 Lincoln Blvd., Beatrice, NE (Building Division)
Building 4, D Building, 941 Sheridan Drive, Beatrice, NE 68310 | 30kw | 2016 | Y | Generac | 19003790300 | 9494778 | Natural Gas | 1 | 1600 | [7 empty] | Y | Y | Y
Building 5, State Building, 3104 State Avenue, Beatrice, NE 68310 | 230kw | 2021 | Y | CAT | DG175GC | CATDG230CKJ800107 | Natural Gas | 1 | 800 | [7 empty] | Y | Y | Y
Building 15 Administration, 843 Wallman Drive, Beatrice, NE 68310 | 45kw | 2016 | Y | Generac | 19003950400 | 9494779 | Natural Gas | 2 | 100 | 100 | [6 empty] | Y | Y | Y
Buildings 21a, 21b, 21c, 3071 & 3070 State Ave, 3060 Peterson Blvd, Beatrice, NE 68310 (State Cottages) | 175kw | 2020 | Y | CAT | DG175GC | CATDG175KKJ600129 | Natural Gas | 1 | 600 | [7 empty] | Y | Y | Y
Buildings 21d, 21e,21f, 3056,3054 & 3052 Peterson Blvd, Beatrice, NE 68310 (Sheridan Cottages) | 175kw | 2020 | Y | CAT | DG175GC | CATDG175TKJ600130 | Natural Gas | 1 | 600 | [7 empty] | Y | Y | Y
Buildings 24g, 24h, 24j, 24k, 753, 743,723 & 715 Solar Drive, Beatrice, NE 68310 (Solar Cottages) | 175kw | 2020 | Y | CAT | DG175GC | CATDG175PKJ600131 | Natural Gas | 1 | 600 | [7 empty] | Y | Y | Y
Building 27, East Apartment, 667 31st Street, Beatrice, NE 68310 | 100kw | 2016 | Y | Generac | 19003860300 | 9497570 | Natural Gas | 1 | 800 | [7 empty] | Y | Y | Y
Building 28, South Apartment, 3020 Lake Street, Beatrice, NE 68310 | 100kw | 2016 | Y | Generac | 19003840200 | 9494773 | Natural Gas | 1 | 800 | [7 empty] | Y | Y | Y
Building 25, Power Plant, 3370 Goldenrod Drive, Beatrice, NE 68310 | 200kw | 2001 | N | Cummins | DGFC4962640 | G010261898 | Diesel | 1 | 800 | [7 empty] | Y | Y | Y
Department of Veterans' Affairs
Central Nebraska Veterans Home, 4510 E. 56th St. Kearney, NE 68847 | 1562 KVA | 2017 | Y | Cummins | DQGAA-1729383 | G170221847 | Diesel | 2 | 1600 | 300 | [6 empty] | N | N | Y
Central Nebraska Veterans Home, 4510 E. 56th St. Kearney, NE 68847 | 1125 KVA | 2017 | Y | Cummins | DQFAC-1729858 | G170218200 | Diesel | 2 | 1200 | 300 | [6 empty] | N | N | Y
Central Nebraska Veterans Home, 4510 E. 56th St. Kearney, NE 68847 | 1652 KVA | 2017 | Y | Cummins | DQGAA-1729379 | G170218201 | Diesel | 2 | 1600 | 300 | [6 empty] | N | N | Y
Norfolk Veterans Home, 600 E. Benjamin Avenue, Norfolk, NE 68701 | 1250KVA | 2015 | Y | Cat | 1000SC2 | 00C32HJAZ02862 | Diesel | 3 | 2000 | 800 | 150 | [5 empty] | N | N | Y
Eastern Nebraska Veterans Home, 12505 Harrison Tull Dr, Bellevue, NE 68123 | 1350 | 2007 | Y | Cummins | QST 30-G3 | 8060887410 | Diesel | 3 | 800 | 400 | 600 | [5 empty] | N | N | Y
Eastern Nebraska Veterans Home, 12505 Harrison Tull Dr, Bellevue, NE 68123 | 1125 | 2019 | Y | Cummins | DQFAC | G190599894 | Diesel | 2 | 600 | 600 | [6 empty] | N | N | Y
Western Nebraska Veterans Home, 1102 W. 42nd Street, Scottsbluff, NE 69361 | 500 kVA | 2000 | Y | Cummins | 400.00DFCE | C000084275 | Diesel | 2 | 1200 | 400 | [6 empty] | N | N | N
Department of Transportation
Department of Roads, 1500 Hwy 2, Lincoln, NE 68502 | 900 | 2006 | Y | Cummins | DFHC | 1050826805 | #2 Red | 1 | 2000 | [7 empty] | N | N | N
Department of Roads, 1500 Hwy 2, Lincoln, NE 68502 | 900 | 2006 | Y | Cummins | DFHC | 1050826804 | #2 Red | 1 | 2000 | [7 empty] | N | N | N
Department of Transportation - Operations
Department of Transportatin, 5001 S 14th ST, Lincoln, NE 68512 | 200 | 2017 | Y | Cummins | DSGAE | K160117735 | #2 Red | 1 | 800 | [7 empty] | N | N | N
Department of Transportation - District 2
4425 South 108th Street (HQ), Omaha, NE 68137 | 175 | 2006 | Y | Cummins | DGFB-5782186 | L060001206 | D1/D2 Blend | 1 | 800 | [7 empty] | N | N | N
4425 South 108th Street (SOC), Omaha, NE 68137 | 150 | 2006 | Y | Cummins | DGFA-5757632 | D060908582 | D1/D2 Blend | 1 | 800 | [7 empty] | N | N | N
15525 S 234th Street, Gretna, NE 68028 | 100 | 2008 | Y | GENERAC | 10282130200 | 2100132 | D1/D2 Blend | 1 | 800 | [7 empty] | N | N | N
Department of Transportation - District 5
140375 Rundell Road, Gering, NE 69341 | 505 | 2006 | Y | Kohler | TAD1641GE | 2106286 | Diesel | 1 | 800 | [7 empty] | N | N | N
840 W. Highway 20, Harrison, NE 69346 | 350 | 2004 | Y | Onan | DGDB | B040599776 | Diesel | 1 Manual | 100 | [7 empty] | N | N | N
Department of Transportation - District 7
101 South Street, Imperial, NE 69033 | 125 | 2008 | Y | Kohler | 100RE03JD | 2203054 | #1 Red | 1 | 600 | [7 empty] | N | N | N
38764 US Highway 6, McCook, NE 69001 | 194 | 2008 | Y | Kohler | 150RE02JD | 2203055 | #1 Red | 1 | 800 | [7 empty] | N | N | N
1013 West 4th Ave., Holdrege, NE 68949 | 156 | 2008 | Y | Cummins | QS87G3NR3 | 46952176 | #1 Red | 1 | 600 | [7 empty] | N | N | N
619 Auditorium Drive, McCook, NE 69001 | 121.4 | 2003 | Y | Generac | SG035 | 2071318 | Natural Gas | 1 | 200 | [7 empty] | N | N | N
Department of Transportation - District 8
82367 Rusho Dr., Taylor, NE 68879 | 133 | 2006 | Y | Cummins | 6CTA8.3-G2 | 46572792 | Diesel | 1 | 600 | [7 empty] | N | N | N
404 W Douglas St, O`Neill, NE 68763 | 100 | 2006 | Y | Cummins | 6BT5.9-G6 | 46596814 | Diesel | 1 | 400 | [7 empty] | N | N | N
736 E 4th, Ainsworth, NE 69210 | 44 | 2003 | Y | Gererac | SGO35 | 2072172 | Natural Gas | 1 | 400 | [7 empty] | N | N | N