## Sheet1
Nebraska Department of Veterans' Affairs Home Medical Equipment List
Attachment A
RFP 6798 Z1
Medical Equipment Inspections and Preventative Maintenance
Central Nebraska Veterans' Home
Description | Manufacturer | Model | Serial Num. | Location | IPM
Sterilizer/Autoclave, Tabletop | Scican Inc | Statim 1102 | 221142 | Dental | 0501-0335-0000
Therapy/Muscle Stimulator, Ultrasonic | Chattanooga Grp | Intelect Legend XT | T7349 | Hotel Gym | 1114-0016-0000
Sterilizer/Autoclave, Tabletop | Scican Inc | Statim 5000 | 131013A00070 | Dental | 0501-0335-0000
Pump, Feeding (Kangaroo ePump) | Covidien | ePump | C13038769 | Supply | 0916-0069-0001
Pump, Feeding (Kangaroo ePump) | Covidien | ePump | C13040534 | Supply | 0916-0069-0001
Pump, Feeding (Kangaroo ePump) | Covidien | ePump | C13040552 | Supply | 0916-0069-0001
Pump, Feeding (Kangaroo ePump) | Covidien | ePump | C13040524 | Supply | 0916-0069-0001
Pump, Feeding (Kangaroo ePump) | Covidien | ePump | C13040032 | Supply | 0916-0069-0001
Pump, Feeding (Kangaroo Joey) | Covidien | Kangaroo Joey | F1015435 | Supply | 0916-0069-0002
Pump, Feeding (Kangaroo Joey) | Covidien | Kangaroo Joey | F1015433 | Supply | 0916-0069-0002
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD453770 | Echo | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD453760 | Foxtrot | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD453759 | G Sensory RM | 0123-0042-0000
Pulse Oximeter | BCI | Spectro 2 | 4060666 | Pam's Office | 1419-0072-0000
Diathermy | Chattanooga Grp | Intelect SWD 100 | T2279 | Golf Gym | 1803-0000-0000
Therapy/Muscle Stimulator, Ultrasonic | Chattanooga Grp | Genisys | T2686 | Golf Gym | 1114-0016-0000
Pulse Oximeter | BCI | Spectro 2 | 4060668 | Pam's Office | 1419-0072-0000
Treadmill | Alter G | M320 | M300-0396 | Hotel Gym | 0410-3047-0000
Recumbent Cross Trainer | NuStep | T5 | T5104536 | Golf Gym | 1828-0000-0000
Pulse Oximeter | BCI | Spectro 2 | 4071183 | Bravo | 1419-0072-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100019321818 | Echo 1 | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100019361818 | Echo 3 | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100019311818 | Hotel Gym | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100019371818 | Delta 3 | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100019251818 | Delta 2 | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100019281818 | Delta | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100019421818 | Golf Gym | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100019241818 | Foxtrot | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100019291818 | Clinic | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100019261818 | Clinic | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100019401818 | Echo | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100019301818 | Delta 1 | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100019441818 | Bravo 3 | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100019351818 | Alpha 3 | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100019451818 | Alpha | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100019411818 | Alpha 1 | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100019331818 | Alpha 2 | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100019431818 | Bravo | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100082191218 | Charlie 1 | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100082171218 | Bravo 1 | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100082231218 | Bravo 1 | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100082201218 | Staff Development | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100001951418 | Foxtrot | 1231-0001-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD533729 | Clinic | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD527946 | Foxtrot | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD527934 | Alpha 301 | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD527912 | Alpha | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD527936 | Alpha | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD527943 | Alpha 206 | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD527942 | Bravo 1 | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD527937 | Bravo | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD527948 | Bravo 2 | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD527932 | H Sensory RM | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD527940 | Delta 2 | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD527933 | Delta 1 | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD527941 | Alpha 2 | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD527944 | Bravo | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD514322 | Bravo | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD527213 | Echo 3 | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD527947 | Charlie 3 | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD535766 | Bravo 3 | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD496585 | Echo | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD535502 | Echo 1 | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD527202 | Delta 3 | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD527219 | Delta | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD535518 | Alpha | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD535523 | Delta | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD535782 | Charlie 1 | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD535768 | Charlie 2 | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD535779 | Alpha 2 | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD535755 | Alpha 3 | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD535516 | Charlie | 0123-0042-0000
Suction Unit (Bi-Monthly) | DeVilbiss | 7305P-D | PD535776 | Echo 2 | 0123-0042-0000
Pulse Oximeter | BCI | 3301 | 4074 | Alpha | 1419-0072-0000
Centrifuge (Express 3) | Beckman Coulter | StatSpin Express 3 | 1810M50207780 | Lab | 0220-0087-0001
Centrifuge, Semiannual | McKesson | PowerSpin HXV | HV1807026 | Lab | 0220-0735-0000
Pulse Oximeter | BCI | Spectro 2 | 4060667 | Clinic | 1419-0072-0000
Pulse Oximeter | BCI | 3301 | 4078 | Clinic | 1419-0072-0000
Treadmill | Spirit | CT 800 | 8008451808005758 | Golf Gym | 0410-1179-0000
Pump, Feeding (Kangaroo ePump) | Covidien | ePump | C18210881 | Supply | 0916-0069-0001
Pump, Feeding (Kangaroo ePump) | Covidien | ePump | C18219719 | Supply | 0916-0069-0001
Pump, Feeding (Kangaroo ePump) | Covidien | ePump | C18219508 | Supply | 0916-0069-0001
Pump, Feeding (Kangaroo ePump) | Covidien | ePump | C18219503 | Supply | 0916-0069-0001
Pump, Feeding (Kangaroo ePump) | Covidien | ePump | C18219563 | Supply | 0916-0069-0001
Pump, Feeding (Kangaroo Joey) | Covidien | Kangaroo Joey | F18162978 | Supply | 0916-0069-0002
Pump, Feeding (Kangaroo Joey) | Covidien | Kangaroo Joey | F18155106 | Supply | 0916-0069-0002
Pump, Feeding (Kangaroo Joey) | Covidien | Kangaroo Joey | F18162989 | Supply | 0916-0069-0002
Treadmill | Alter G | M320 | M300-1492 | Golf Gym | 0410-3047-0000
Pulse Oximeter | BCI | 3301 | 4077 | Pam's Office | 1419-0072-0000
Pulse Oximeter | BCI | 3301 | 4084 | Pam's Office | 1419-0072-0000
Pulse Oximeter | BCI | 3301 | 4080 | Charlie | 1419-0072-0000
Pulse Oximeter | BCI | 3301 | 4083 | Delta | 1419-0072-0000
Pulse Oximeter | BCI | 3301 | 4079 | Foxtrot | 1419-0072-0000
Pulse Oximeter | BCI | 3301 | 4085 | Golf Gym | 1419-0072-0000
Pulse Oximeter | BCI | 3301 | 4086 | Hotel Gym | 1419-0072-0000
Upper Body Ergometer | HCI | Physio Trainer Pro | PYTPROOGQ511 | Hotel Gym | 1803-0000-0000
Upper Body Ergometer | HCI | Physio Trainer Pro | PYTPROOGQ504 | Hotel Gym | 1803-0000-0000
Recumbent Cross Trainer | NuStep | T5XR | T5117335 | Hotel Gym | 1828-0000-0000
Standing Frame | Hanning | SL95 | 877004 | Hotel Gym | 1803-0000-0000
Lower Body Ergometer | HCI | Physio Trainer Pro | PYTPROGQ544 | Hotel Gym | 1803-0000-0000
Lower Body Ergometer | HCI | Physio Trainer Pro | PYTPROGQ537 | Hotel Gym | 1803-0000-0000
Hot Pack/Cold Pack Unit | Chattanooga Grp | M-4 | T8095C | Hotel Gym | 1102-0016-0000
Lower Body Ergometer | HCI | Physio Trainer Pro | PYTPROGQ543 | Golf Gym | 1803-0000-0000
Lower Body Ergometer | HCI | Physio Trainer Pro | PYTPROGQ542 | Golf Gym | 1803-0000-0000
Upper Body Ergometer | HCI | Physio Trainer Pro | PYTPROOGQ509 | Golf Gym | 1803-0000-0000
Upper Body Ergometer | HCI | Physio Trainer Pro | PYTPROOGQ510 | Golf Gym | 1803-0000-0000
Recumbent Cross Trainer | NuStep | T5XR | T5117040 | Golf Gym | 1828-0000-0000
Standing Frame | Hanning | SL95 | 877027 | Golf Gym | 1803-0000-0000
Hot Pack/Cold Pack Unit | Chattanooga Grp | M-4 | T7828C | Golf Gym | 1102-0016-0000
Parallel Bars | Metron | 5514112E | BD2018070066 | Golf Gym | 1803-0000-0000
Parallel Bars | Metron | 5514112E | BD2018080012 | Hotel Gym | 1803-0000-0000
Pulse Oximeter | BCI | 3301 | 4081 | Charlie | 1419-0072-0000
Pulse Oximeter | BCI | 3301 | 4082 | Echo | 1419-0072-0000
Recumbent Cross Trainer | NuStep | T5 | T5120831 | Golf Gym | 1828-0000-0000
Recumbent Cross Trainer | NuStep | T5XR | T5120830 | Hotel Gym | 1828-0000-0000
PC Unit (Smart) | CareFusion | 8015 | 13392269 | Alpha | 0922-0189-0001
PC Unit (Smart) | CareFusion | 8015 | 13762150 | Alpha | 0922-0189-0001
Infusion Device (Smart) | CareFusion | 8100 | 12860502 | Alpha | 0907-0189-0001
Infusion Device (Smart) | CareFusion | 8100 | 12875380 | Alpha | 0907-0189-0001
Infusion Device (Smart) | CareFusion | 8100 | 12875658 | Alpha | 0907-0189-0001
Infusion Device (Smart) | CareFusion | 8100 | 12618862 | Alpha | 0907-0189-0001
Bladder Scanner (Prime Plus) | Verathon Medical | Prime Plus | C1518629 | Echo | 1236-0197-0001
Bladder Scanner (Prime Plus) | Verathon Medical | Prime Plus | C1518684 | Bravo | 1236-0197-0001
Bladder Scanner (Prime Plus) | Verathon Medical | Prime Plus | C1504555 | Clinic | 1236-0197-0001
Eastern Nebraska Veterans' Home
Description | Manufacturer | Model | Serial Num. | Location | IPM
Sterilizer/Autoclave, Tabletop | Pelton&Crane | Delta XL | 14780 | Med Dept | 0501-0000
Chair, Dental | Den-Tal-EZ | PL200 | 40710 | Med Dept | 1803-0000
Dental Operating Unit | KNIGHT-MEDICAL | Asepsis 21 | UK00701777 | Med Dept | 1803-0000
Lamp, Examination | Ritter | 152 | V449640 | Med Dept | 0506-0000
Lamp, Examination | Ritter | 152 | V449639 | Med Dept | 0506-0000
Table, Examination | RITTER-MIDWEST-(SYBRO | 223 | V448964 | Med Dept | 0507-0000
Table, Examination | RITTER-MIDWEST-(SYBRO | 223 | V448964 | Med Dept | 1803-0000
Table, Examination | RITTER-MIDWEST-(SYBRO | 223 | V448904 | Med Dept | 0507-0000
Table, Examination | RITTER-MIDWEST-(SYBRO | 223 | V448904 | Med Dept | 1803-0000
Freezer | Absocold | AFD502MW11R | 70300177 | Rehab | 0280-0000
Hot Pack/Cold Pack Unit | Chattanooga Grp | M-2 | 67221 | Rehab | 1102-0000
Treadmill | CutEye | EC-T220 | TM35P0506100054 | Rehab | 0410-0000
Warmer, Blanket | Enthermics | EX770 | 402561-000 | Ded Rm 113 | 1442-0000
Pump, Temperature | Gaymar | TP500 | G00D72 | Storage | 0107-0000
Pump, Temperature | Gaymar | TP500 | TP500G00E48 | Storage | 0107-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Spot | 201012831 | M.Dine Rm | 1231-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Spot | 201012848 | Med Dept | 1231-0000
Pump, Temperature (TP600/700) | Gaymar | TP650 | L111741 | Storage | 0107-0001
Warmer, Blanket | Enthermics | DC350 | 1433860-000 | Rehab | 1442-0000
Total Body Exerciser | Sungdo | SP1000 | 52A3249 | Rehab | 1803-0000
Recumbent Cross Trainer | NUSTEP-INC | T5 | T5102981 | Rehab | 1803-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Spot LXi | 20130402302 | 2nd DinRm | 1231-0000
Pump, Temperature (TP600/700) | Stryker | TP700 | TP700J31114 | Storage | 0107-0001
Pump, Temperature (TP600/700) | Stryker | TP700 | TP700J31128 | Storage | 0107-0001
Therapy/Muscle Stimulator, Ultrasonic | Chattanooga Grp | Genisys | T5513 | Rehab | 1114-0000
Diathermy | METTLER-INSTRUMENT-CO | Auto-Therm 390 | 715SW1254 | Rehab | 1803-0000
Defibrillator, AED | Cardiac Science | Powerheart G3 Pro | 4497137 | Finance Window | 1021-0000
Defibrillator, AED | Cardiac Science | Powerheart G3 Pro | 4497137 | Finance Window | 1818-0000
Defibrillator, AED | Cardiac Science | Powerheart G3 Pro | 4415843 | Dedication | 1021-0000
Defibrillator, AED | Cardiac Science | Powerheart G3 Pro | 4415843 | Dedication | 1818-0000
Defibrillator, AED | Cardiac Science | Powerheart G3 Pro | 4497136 | Service | 1021-0000
Defibrillator, AED | Cardiac Science | Powerheart G3 Pro | 4497136 | Service | 1818-0000
Bath, Paraffin | Parabath | 24050 | 2012-00158 | Rehab | 1105-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100091061318 | Service | 1231-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100091091318 | Service | 1231-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100091041318 | Motivation | 1231-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100091021318 | Motivation | 1231-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100091081318 | Dedication | 1231-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100091011318 | Allegiance | 1231-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100091031318 | Allegiance | 1231-0000
Pump, Feeding (Kangaroo ePump) | Covidien | ePump | 1166 | Service | 0916-0001
Pump, Feeding (Kangaroo Joey) | Covidien | Kangaroo Joey | F18144749 | Storage | 0916-0002
Pump, Feeding (Kangaroo ePump) | Covidien | ePump | C13046073 | Service | 0916-0001
Pump, Feeding (Kangaroo ePump) | Covidien | ePump | C18201777 | Storage | 0916-0001
Recumbent Cross Trainer | NUSTEP-INC | T5 | T5118467 | Rehab | 1803-0000
Recumbent Cross Trainer | NUSTEP-INC | T5 | T5118466 | Rehab | 1803-0000
Pump, Temperature (TP600/700) | Gaymar | TP700 | 2018009108189 | Storage | 0107-0001
Pump, Feeding (Kangaroo Joey) | Covidien | Kangaroo Joey | F12006757 | Service | 0916-0002
Warmer, Blanket | Blickman | 7921TG | K110504311 | Allegiance | 1442-0000
Pump, Feeding (Kangaroo ePump) | Covidien | ePump | C18201506 | Service | 0916-0001
Warmer, Blanket | Blickman | 7921TG | L111004941 | Serv Rm 117 | 1442-0000
Bladder Scanner | Direct Supply | ABS-1 | ABS1E0828 | Service | 1236-0000
Warmer, Blanket | Blickman | 7921TG | L111004940 | Mot Rm 120 | 1442-0000
Bladder Scanner | Direct Supply | ABS-1 | ABS1F0672 | Allegiance | 1236-0000
Bladder Scanner | Direct Supply | ABS-1 | ABS1F0673 | Service | 1236-0000
Ceiling Lamp |  |  |  | Dental Clinic | 0506-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Spot LXi | 20130402302 | 2nd DinRm | 1231-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100091031318 | Allegiance | 1231-0000
Norfolk Veterans' Home
Description | Manufacturer | Model | Serial Num. | Location | IPM
Suction Unit | Gomco | 792 | A-61062 | BC106 | 0108-0015-0000
Suction Unit | Schuco | 130 | 608809 | DE106 | 0108-0047-0000
Defibrillator, AED | Agilent | FR2 | 1000015762 | DE106 | 1021-0071-0000
Defibrillator, AED | Agilent | FR2 | 1000015762 | DE106 | 1818-0000-0000
Suction Unit | Schuco | 5711-130 | 985149 | FG106 | 0108-0047-0000
Scale, Wheelchair - 660 lbs | Scale-Tronix | 6006 | 6-5185 | E112 | 1815-0000-0000
Defibrillator, AED | Agilent | FR2 | 1000015764 | FG106 | 1021-0071-0000
Defibrillator, AED | Agilent | FR2 | 1000015764 | FG106 | 1818-0000-0000
Infusion Device | Abbott | Plum XL | 1255137 | C115 | 0907-0002-0000
Infusion Device | Abbott | Plum XL | 12893999 | Pod D | 0907-0002-0000
Infusion Device | Abbott | Plum XL | 12543685 | B105 | 0907-0002-0000
Hot Pack/Cold Pack Unit | Chattanooga Grp | M-2 | 53595 | Rehab | 1102-0016-0000
Bath, Paraffin | Dynatronics | Para-Care | 13939 | Rehab | 1105-0064-0000
Suction Unit | Schuco | 132 | 1191139 | FG106 | 0108-0047-0000
Infusion Device | Abbott | Plum XL | 12561533 | G125 | 0907-0002-0000
Infusion Device | Abbott | Plum XL | 12555798 | B105 | 0907-0002-0000
Suction Unit | Schuco | 130 | 16240 | DE106 | 0108-0047-0000
Patient Lift/Hoist | EZ Way Inc | 898 | 44087 | PT | 1106-0129-0000
Patient Lift/Hoist | EZ Way Inc | 898 | 44086 | Pod D | 1106-0129-0000
Scale, Patient - 600 lbs | Detecto | 758C | E03107-0247 | F112 | 1815-0000-0000
Pump, Feeding (Kangaroo ePump) | Tycos | ePump | C0719037 | F104 | 0916-0086-0001
Pump, Feeding (Kangaroo ePump) | Tycos | ePump | C0719061 | F104 | 0916-0086-0001
Patient Lift/Hoist | EZ Way Inc | S400PN | 200091 | Pod F | 1106-0129-0000
Patient Lift/Hoist | EZ Way Inc | S400PN | 200338 | Pod D | 1106-0129-0000
Patient Lift w/Scale (Maxi Move) | Arjo | Maxi Move | KMC-13431 | Pod F | 1117-0122-0002
Hot Pack/Cold Pack Unit | Woods | C07REC | 40216945JQ | Rehab | 1102-0991-0000
Whirlpool | Penner | 360010-1W | 8123016201 | D112A | 1111-0294-0000
Patient Lift w/Scale | Penner | 383510-X | 8121816501 | D112 | 1117-0294-0000
Patient Lift/Hoist (Sara 3000) | Arjo | Sara 3000 | P0151393 | Pod E | 1106-0122-0001
Patient Lift/Hoist (Sara 3000) | Arjo | Sara 3000 | P0165921 | Pod D | 1106-0122-0001
Patient Lift/Hoist (Sara 3000) | Arjo | Sara 3000 | P0151395 | Pod F | 1106-0122-0001
Scale, Patient - 600 lbs | Detecto | 758C | E10109-0028 | D112 | 1815-0000-0000
Scale, Patient | HealthOMeter | Unknown | 368 | B112 | 1815-0000-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | 42MTB | 201305346 | Pod B | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | 42MTB | 201305709 | Pod C | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | 42MTB | 201305767 | Pod E | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | 42MTB | 201305347 | Pod C | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | 42MTB | 201305805 | Unit F | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | 42MTB | 201305509 | Pod G | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | 42MTB | 201304564 | Supply | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | 42MTB | 201305606 | Pod D | 1231-0001-0000
Therapy/Muscle Stimulator, Ultrasonic | Chattanooga Grp | Intelect Transport | T4291 | Rehab | 1114-0016-0000
Whirlpool | Penner | 360010-1W | 9133409801 | E112 | 1111-0294-0000
Patient Lift w/Scale | Penner | 383510-X | 9132020401 | E112 | 1117-0294-0000
Patient Lift (Maxi Move) | Arjo | Maxi Move | 300025528 | Pod D | 1117-0122-0001
Patient Lift/Hoist (Sara 3000) | Arjo | Sara 3000 | P0208901 | Pod D | 1106-0122-0001
Patient Lift (Maxi Move) | Arjo | Maxi Move | 300026492 | Pod G | 1117-0122-0001
Exam Chair, Ophthalmic/Dental | Chairmen | CM | N/A | Clinic | 0508-2863-0000
Dental Operating Unit | Biotec | N7120 | 261700 | Clinic | 1901-2862-0000
Patient Lift w/Scale | Penner | 383510-X | 8142208101 | F112 | 1117-0294-0000
Whirlpool | Penner | 360010-1W | 8143785801 | F112 | 1111-0294-0000
Patient Lift (Maxi Move) | Arjo | Maxi Move | 300056594 | Pod F | 1117-0122-0001
Patient Lift/Hoist (Sara 3000) | Arjo | Sara 3000 | P0299858 | Pod G | 1106-0122-0001
Patient Lift/Hoist (Sara 3000) | Arjo | Sara 3000 | P0283152 | Pod F | 1106-0122-0001
Patient Lift/Hoist (Sara 3000) | Arjo | Sara 3000 | P0312368 | Pod G | 1106-0122-0001
Patient Lift/Hoist (Sara 3000) | Arjo | Sara 3000 | P0317895 | Pod F | 1106-0122-0001
Patient Lift/Hoist (Sara 3000) | Arjo | Sara 3000 | P0283154 | Pod E | 1106-0122-0001
Whirlpool | Penner | 360010-1W | 6154058501 | G117 | 1111-0294-0000
Patient Lift w/Scale | Penner | 383510-X | 61523622201 | G117 | 1117-0294-0000
Patient Lift (Maxi Move) | Arjo | Maxi Move | 300107301 | Pod D | 1117-0122-0001
Patient Lift/Hoist (Sara Plus) | Arjo | Sara Plus | P0375168 | PT | 1106-0122-0002
Whirlpool | Penner | 360010-1W | 8164498301 | C112 | 1111-0294-0000
Patient Lift w/Scale | Penner | PSC20 | 5849 | C112 | 1117-0294-0000
Patient Lift (Maxi Move) | Arjo | Maxi Move | 300220099 | Pod D | 1117-0122-0001
Whirlpool | Penner | 360010-1W | 1184935701 | B112 | 1111-0294-0000
Patient Lift w/Scale | Penner | 383510-X | 1182798401 | B112 | 1117-0294-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100022750418 | Pod B | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100022640418 | Pod C | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100022770418 | Pod D | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100022670418 | Pod E | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100022650418 | Pod F | 1231-0001-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | Connex Spot Monitor | 100022710418 | Pod G | 1231-0001-0000
Dental X-ray Unit (Nomad Pro 2) | Aribex | Nomad Pro 2 | 25212 | Clinic | 1618-1686-0000
Dental X-ray Unit (Nomad Pro 2) | Aribex | Nomad Pro 2 | 25212 | Clinic | 1903-1686-0001
Patient Lift/Hoist | EZ Way Inc | S500PN | 220662 | Pod C | 1106-0129-0000
Patient Lift/Hoist | EZ Way Inc | L500PN | 130594 | Pod C | 1106-0129-0000
Treadmill | Biodex | 945-285 | 9806563 | PT | 0410-0148-0000
Defibrillator, AED | Physio Control | Lifepak CR Plus | 48449267 | Activity Room | 1021-0014-0000
Defibrillator, AED | Physio Control | Lifepak CR Plus | 48449267 | Activity Room | 1818-0000-0000
Patient Lift w/Scale | Medcare | 400013 | 1217FS1072 |  | 1117-0972-0000
Patient Lift w/Scale | Medcare | 400013 | A20190417275517 |  | 1117-0972-0000
Patient Lift/Hoist (Sara 3000) | Arjo Inc | SARA-FLEX | 300477347 | Nursing | 1106-0122-0001
Patient Lift/Hoist (Sara 3000) | Arjo Inc | SARA-FLEX | 300477355 | Nursing | 1106-0122-0001
Patient Lift w/Scale (Maxi Move) | Arjo Inc | Maxi Move | 300484947 | Nursing | 1117-0122-0002
Patient Lift w/Scale (Maxi Move) | Arjo Inc | Maxi Move |  | Nursing | 1117-0122-0002
Defibrillator, AED | Philips Medical Systems | HeartStart FRx | B22A-01921 | BC106 | 1021-0008-0000
Defibrillator, AED | Philips Medical Systems | HeartStart FRx | B22A-01922 | DE106 | 1021-0008-0000
Western Nebraska Veterans' Home
Description | Manufacturer | Model | Serial Num. | Location | IPM
Exam Chair, Ophthalmic/Dental | Royal | Signet | 3167116 | Exam Rm 2 | 0508-0000
Suction Unit | Aeros | 752000 | PAY0158 | NursingICFI Supp | 0108-0000
Hyfrecator (7-797, Hyfrecator Plus) | Conmed | 7-797 | 97MGH110 | Exam Rm 1 | 0505-0002
Vital signs monitor | Welch Allyn | Suretemp | 12107210610480 |  | 1231-0000
Hot Pack/Cold Pack Unit | Chattanooga Grp | SS-2 | 11587 | PT | 1102-0000
Monitor, NIBP/Multi-Parameter | Welch Allyn | 53NTP | JA009443 | Exam Rm 2 | 1231-0000
Treadmill | Vision Fitness | T97005 | N/A | PT | 0410-0000
Therapy, Ultrasonic (Multi-Head) | Chattanooga Grp | Intelect Transport | 21187 | PT | 1116-0000
Table, Examination | Midmark | 222 | N/A | Exam Rm 1 | 0507-0000
Table, Examination | Midmark | 222 | V337339 | Exam Rm 2 | 0507-0000
ECG Unit | Welch Allyn | CP 200 | 20022309 | Exam Rm 1 | 0403-0000
Bladder Scanner (Prime Plus) | Verathon | Prime Plus | C1501532 | Nursing | 1236-0002
Monitor, NIBP/Multi-Parameter | Welch Allyn | Spot Vital Signs | 201405465 | Nursing Bravery | 1231-0000
Pulse Oximeter | CMI | PC-66H | 968 | Nursing | 1419-0000
Oxygen Concentrator | Invacare Corp. | PERFECTO2 | N/A | Nursing | 0711-0000
Oxygen Concentrator | Devilbiss Health Care | 525DS | B233170523DS | Nursing | 0711-0000
Oxygen Concentrator | Devilbiss Health Care | 525DS | B223170338DS | Nursing | 1234-0000
Monitor, NIBP | MDPRO | MDpro | 261436-M26615520009 | Nursing | 0711-0000
Monitor, NIBP | MDPRO | MDpro | 261436-M22615520007 | Nursing | 0711-0000
Oxygen Concentrator | Respironics Inc. | EverFlo | 12611790 | Nursing | 0711-0000
Oxygen Concentrator | Respironics Inc. | EverFlo | 1042092 | Nursing | 0711-0000
Oxygen Concentrator | Respironics Inc. | EverFlo | 1042083 | Nursing | 0711-0000
Oxygen Concentrator | Respironics Inc. | EverFlo | 1261748 | Nursing | 0711-0000
Oxygen Concentrator | Respironics Inc. | EverFlo | 1261788 | Nursing | 0711-0000
Oxygen Concentrator | Respironics Inc. | EverFlo | 618569 | Nursing | 0711-0000
Oxygen Concentrator | Respironics Inc. | EverFlo | 1284678 | Nursing | 0711-0000
Oxygen Concentrator | Respironics Inc. | EverFlo | 1042027 | Nursing | 0711-0000
Oxygen Concentrator | Respironics Inc. | EverFlo | 1042117 | Nursing | 0711-0000
Oxygen Concentrator | Respironics Inc. | EverFlo | 690900 | Nursing | 0711-0000
Oxygen Concentrator | Respironics Inc. | EverFlo | 1284681 | Nursing | 0711-0000
Oxygen Concentrator | Respironics Inc. | EverFlo | 700101 | Nursing | 0711-0000
Oxygen Concentrator | Respironics Inc. | EverFlo | 700112 | Nursing | 0711-0000